الملحق (ب) للعطاء رقم م ش ع 12/56/8/2026 شراء ( مستهلكات كهرباء القلب )

المواصفات الفنية و الكميات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

1

20_10_5035

CARDIOVASCULAR CATHETERIZATION DISPOSABLES Directional Introducer Sheath with hemostasis valve and side port,with dilator and 145 cm guide wire dilator size7.5,guide wire 0.32,curve SL 0,1,2,sheath length 62cm,sheath french 8.5

54

Each

2

20_10_5040

CARDIOVASCULAR CATHETERIZATION DISPOSABLES Agilis nxt deflectable introducer, 8.5 fr, 71 cm Agilis nxt deflectable introducer, 8.5 fr, 71 cm

10

Each

3

20_10_5041

CARDIOVASCULAR CATHETERIZATION DISPOSABLES Agilis Epicardial introducer,40 cm Agilis Epicardial introducer,40 cm

2

Each

4

20_10_720

CARDIOVASCULAR CATHETERIZATION DISPOSABLES DISPOSABLE PERCUTANEOUS ENTERY THIN WALL NEEDLES-ONE PART brockenbrough transseptal needle set curved needle adult size Guage 18 length 71cm

60

Each

Page 1 of 6

القيادة العامه للقوات المسلحة الاردنية-الجيش العربي

مديرية المشتريات الدفاعية

لجنة الشراء المركزية

Item No

Stock No

Stock Name

Quantity

Unit

5

20_10_722

CARDIOVASCULAR CATHETERIZATION DISPOSABLES SINGLE CHAMBER PACEMAKER WITH ACTIVE ENDOCARDIAL VENTICULAR LEAD AND 7F ITRODUCER SHEETH(MRI  compitable-device and lead),(latest and/or prelatest model)

70

Each

6

20_10_723

CARDIOVASCULAR CATHETERIZATION DISPOSABLES DUAL CHAMBER PACEMAKER WITH ACTIVE BIPOLAR ENDOCARDIAL ATRIAL LEAD,52cm length,AND ACTIVE BIPOLAR ENDOCARDIAL VENTICULAR LEAD 58cm length with two introducer 7f sheath (MRI compitable-device and lead)(latest and/or prelatest model)and analyzing cable (1 for every 12 if reusable) and (1 for each if disposable)

80

Each

7

20_10_7346

CARDIOVASCULAR CATHETERIZATION DISPOSABLES Cardiac Resychronized Therapy With Defibrillator (CRT-D)With Atrial and Ventricular sigle coil lead  And Coronary Sinus Lead With All Delivery System and subselectors(MRI compitable-device and lead)(latest and/or prelatest model)

75

Each

8

20_10_73470

CARDIOVASCULAR CATHETERIZATION DISPOSABLES Lead extraction kit: - Mechanical dilator rotary sheath - Lead locking stylet(device) 13Fr

4

Each

9

20_10_7349

CARDIOVASCULAR CATHETERIZATION DISPOSABLES Extraction kit consist of :rotator sheath dilator and locking stylet used to extract old leads to whatever reason

2

Each

10

20_10_7351

Subcutaneous ICD MRI Compatible

1

Each

Page 2 of 6

الملحق (ب) للعطاء رقم م ش ع 12/56/8/2026

الملحق (ب) للعطاء رقم م ش ع 12/56/8/2026

Item No

Stock No

Stock Name

Quantity

Unit

11

20_10_9020

CORONARY ANGIOGRAPHY CATHETERS Diagnostic Electrophysiology 4FR Catheter QUADRIPOLAR (5-5-5 , 2-5-2) With Connector CABLE

6

Each

12

20_10_913

CORONARY ANGIOGRAPHY CATHETERS Ensite X batch

120

Each

13

20_10_91611

Contact force ablation catheter Contact force ablation cath

120

Each

14

20_10_91612

Grid High Density Mapping Catheter  Grid High Density Mapping Catheter

30

Each

15

20_10_9170

CORONARY ANGIOGRAPHY CATHETERS Steerable 4FR Decapolar catheter 2-8-2-8-2-8-2-8 mm and/or 2-5-2-5-2-5-2-5 mm electrode spacing with connector cable

6

Each

16

20_10_9176

Left bundle pacing kit consist of ( delivery sheeth,MRI compatable lead, slitter , with or without cap )

40

Each

Page 3 of 6

الملحق (ب) للعطاء رقم م ش ع 12/56/8/2026

شروط خاصــــــــــــــــــة

1-Original catalogs and three (3) Samples of the quoted items must be submitted along
with the offers for EVALUATION and PURCHASE and for RECIEPT purposes of items
showing the same serial No. Stock No. as per our tender documents specifications.
______________________________________________________________
2-Delivery/shipment in two equal consignments (5-6) months apart, except for item no
(10) to be delivered within one week after recieving a written request from the medical
supply department at QAHI(Queen Alia Heart Institute) center .
______________________________________________________________
3-Goods must be dispatch under the same storage conditions that comply with their
nature, & Storage Conditions Must Be Clearly Indicated on Packages as Well as in the
Relevant Documents.
______________________________________________________________
4-Description of good , expiry date , lot number as well as manufacturing date must be
mentioned clearly on the inner & outer packs.
______________________________________________________________
5-All parcels, packages and relative documents to be marked: -DRMS TENDER NO.
P100-2026-E GHQ JORDAN ARMED FORCES AMMAN -JORDAN.
______________________________________________________________
6- All the outer and inner packages to be printed, stamped or labelled with the following
"SOLD TO DRMS” WITH IRREMOVABLE INK.
______________________________________________________________
7-All goods should be freshly prepared on dispatch/delivered & should have at least
2/3 of its shelf life upon receipt. Any item carrying less than 2/3 of its shelf upon receipt
should be accompanied with a confirmation that you accept to replace any remaining
unused quantities at your expenses after the expiry date. Said confirmation is subject
to the approval of the director of the Royal Medical Services and will incur a fine. which
will be decided later by DRMS according to the loss that this discrepancy with terms of
the tender has caused.
______________________________________________________________
8-The quality of items should be according to accepted international standards, i.e
(FDA, CE, U.S. PHARMACOPOEIA, EUROPEAN PHARMACOPOEIA, B.P, T.U.V. OR
EQ. Standard Certificates) MUST be accompanied with the offers.
______________________________________________________________
9-The Supplier or his local agent must furnish the RMS with a guarantee stamped and
legalized by the notary public equals to 115% of the total value of the goods valid for
(2 years) after acceptance of goods.

Page 4 of 6

الملحق (ب) للعطاء رقم م ش ع 12/56/8/2026

__
10-Pricing must include services of sale, shipment, transportation, delivery from port to
Main Medical Stores.
______________________________________________________________
11-Custom clearance of goods shall be the responsibility of the Jordanian Armed
Forces (JAF), however, suppliers shall bear all costs incurred by handling charges and
any demurrage charges or extra expenses incurred by the port's corporation or QAIA
(including expenses caused by delay in presenting the necessary shipment documents
for either clearing or transporting the goods to the required location mentioned in the
final order, delivery note issuing charges, unloading charges, local shipping
charges,etc.).The supplier is also responsible for providing of all relevant shipping
documents, together with the delivery order(s).
______________________________________________________________
12-For offers submitted in Jordanian Dinars, payment will be either by wire transfer or
by cheque to be paid after receiving DOCUMENTS FROM MAIN MEDICAL
STORES;Any other way of payment will not accepted and the offers will be rejected by
the purchasing committee.
______________________________________________________________
13-Bidders must submit their reservations/queries regarding tender specifications
and/or special terms within the first half of the tender closing period starting from the
tender announcement date. Reservations/queries submitted after the end of this period
shall be rejected.
______________________________________________________________
14-Offers submitted by vendors with previous complaints or unsolved issues will be
excluded from the current tender.
______________________________________________________________
15- RMS has the right to increase the awarded items by 35% with the same prices and
terms and conditions of the contract upon request & approval of awarded party .
______________________________________________________________
16- In case of any worldwide problem or recall of any awarded item OR malfunction not
related to implatation procedure or patient characterstic .the company is obliged to
replace any remaning quantities with equivalent or better materials otherwise DRMS
has the right to buy these materials from another sources and impose you the
differences of prices and any penalities according to the rules and regulations of
DRMS.
______________________________________________________________
17-After arrival to jordan DRMS is not responsible for any handling charges for goods
(like charges for issuing delivery order for incoming shipment unloading charges,local
shipping agents charges).
______________________________________________________________
18-Any additional ( F.O.C ) quantities offered by the bidders will be taken into
consideration when calculating the unit price of the required item.
______________________________________________________________

19-The estimated price for any (F.O.C) goods should be stated.

Page 5 of 6

Page 6 of 6