الملحق (ب) للعطاء رقم م ش ع 12/52/4/2026

المواصفات الفنية و الكميات المطلوبة و الشروط الخاصة

القيادة العامه للقوات المسلحة الاردنية-الجيش العربي

مديرية المشتريات الدفاعية

لجنة الشراء المركزية

| Item No | Stock No | Stock Name | Quantity | Unit |
| --- | --- | --- | --- | --- |
| 1 | 17_3_01_010 | Bags, Transfer, For Single Use Volume 300ml | 2800 | Each |
| 2 | 17_3_01_012 | Blood Administration Set, With Needle/Set. | 150000 | Each |
| 3 | 17_3_01_017 | Quadruple blood bags CPD SAGM :capacity 450 or 500 ml, with 100ml of optimal additive solution | 40000 | Each |
| 4 | 17_3_01_0172 | Quadruple blood bags CPD-SAGM with lecucyte and platelete filter | 4000 | Each |
| 5 | 17_3_01_018 | Blood Bag CPD-A 450ml Single | 4000 | Each |
| 6 | 17_3_01_0212 | Triple blood bags with CPD-SAGM | 65000 | Each |
| 7 | 17_3_01_026 | Filter For Leukocyte For 100 % Removal of WBC | 2000 | Each |

الملحق (ب) للعطاء رقم م ش ع 12/52/4/2026

المواصفات الفنية و الكميات المطلوبة و الشروط الخاصة

شروط خاصــــــــــــة

1- Number of shipments will be decided by purchasing committee according to the respective minimum guaranteed shelf life upon delivery/dispatch to be provided in the original offers to establish delivery schedule accordingly. The DRMS with this respect reserves the right to reject any item not in compliance with this term and impose the correspondent fines.

2-Dispatched/Delivered good must show Description of goods , expiry date  ,Batch No., origin of goods ,manufacturing date and  any other necessary information on the inner and outer packs. Where manufacturing date is not applicable then it should be provided on relative documents.

3-Goods should be dispatched/delivered under the same storage conditions that comply with their nature, storage conditions must be mentioned clearly on all relative documents and all packages.

4-All packages to be stamped or labelled with the following "Sold to RMS" Tender  P36-2025-1. " by Non -removable ink.

5-For offers submitted in Jordanian dinars payment will be either by wire transfer or by cheque to be paid after receiving DOCUMENTS FROM MAIN MEDICAL STORES ,any other way of payment will not be accepted and the offers will be rejected by the purchase committee.

6-Goods should be previously evaluated and approved in DRMS or purchased by "central procurement branch " or by " directorate of defense procurement " ,for the previously evaluated & approved items the approve certificate and the previous legalized purchases orders should be provided along with the offers.

الملحق (ب) للعطاء رقم م ش ع 12/52/4/2026

المواصفات الفنية و الكميات المطلوبة و الشروط الخاصة

7-Bidders must submit their reservation /queries regarding tender specificareqtions and/or special term within the first half of the tender closing period starting from the tender announcement date . Reservation /queries submitted after the end of this period shall be rejected.

8-All goods should retain at least the 2/3 of its shelf life upon receipt. Any item not complying with this term upon receipt should be accompanied with a confirmation that you accept to replace any remaining unused quantities at your expenses after the expiry date. Said confirmation is subject to the approval of the director of the Royal Medical Services and will incur a fine, which will be decided later by DRMS according to the loss that this discrepancy with terms of the tender has caused.

9-All items must have FDA , TUV , or CE approval .

10- offers submitted by vendors with previously complaints or unsolved issues will be excluded from the current tender.

11- The supplier or his local agents must furnish RMS a guarantee stamped and legalized by the notary public to 115% of the goods valid for 1 year after acceptance of each consignment.

12-Pricing must include services of sale ,shipment ,transportation,delivery from port to site or Main Medical Stores.

الملحق (ب) للعطاء رقم م ش ع 12/52/4/2026

المواصفات الفنية و الكميات المطلوبة و الشروط الخاصة

- Custom clearance of goods shall be the responsibility of the Jordanian Armed Forces (JAF), however, suppliers shall bear all costs incurred by handling charges and any demurrage charges or extra expenses incurred by the port's corporation or QAIA (including expenses caused by delay in presenting the necessary shipment documents for either clearing or transporting the goods to the required location mentioned in the final order, delivery note issuing charges, unloading charges, local shipping charges, etc. ) .The supplier is also responsible for providing of all relevant shipping documents ,together with the delivery order(s).

- Any additional (Free of charge) quantities offered by the bidders will be taken intoconsideration when calculating the unit price of the required item.

15-The estimated price for any (FOC) goods should be stated.