Item No

Stock No

Stock Name

Quantity

Unit

1

20_10_535

CARDIOVASCULAR CATHETERIZATION DISPOSABLES Drug Eluting Stent  Cobalt Or Platinum Chromium Alloy with durable polymer or biodegradable polymer-stent (2-5mm), length(8-48mm)

12000

Each

القيادة العامة للقوات المسلحة الاردنية-الجيش العربي

مديرية المشتريات الدفاعية

لجنة الشراء المركزية

الشروط الخاصــــــــــــة

1- All goods are to be freshly prepared on dispatch/delivered  & should have  at least
2/3 its shelf life upon receipt . Any item carrying less than 2/3 of its shelf life upon
receipt should be accompained with a confirmation that you accept to replace any
remaining unused quantities at your expenses after the expiry date. Said confirmation
is subject to the approval of the director of the Royal Medical Services and will incur a
fine ,which will be decided later by DRMS accoding to the loss that this discrepancy
with terms of the tender has caused.


2- Dispatached/ Delivered goods must show Description of goods ,expiry date ,lot
number , storage condition , manufacturing date, origin of goods and any other
necessary information must be mentioned clearly on the inner  & outer  packs where
manufaturing date is not applicable then it should be provided on relative documents.


3- Item  should be AMERICAN  FDA and CE /MDR approved


4- Pricing must include services of sale, shipment, transportation, and delivery From.
port  to  MAIN MEDICAL  STORES


5-Goods must be previously evaluated and approved by DRMS or purchased by
'CENTRAL PROCUREMENT BRANCH" OR BY "DIRECTORATE OF DEFENCE
PROCURMENT".


6- Delivery : In THREE   equal consignments :
 first  consignment should be determined by purchase committee according to available
stock , 2ND & 3RD consignments should be delivered within ( 2 months) from written
request by DRMS .  sizes and lengths of the stents of  consignments  will be decided
according to QAHI Cath lab, needs UPON written request

7-Custom clearance of goods shall be the responsibility of the Jordanian armed  forces
(JAF)however, suppliers shall bear all costs incurred by handling  charges  and any demurrage charges or extra expenses incurred by the ports  corporation (including
expenses caused by delay in presenting the necessary documents  for either clearing
or transporting the goods to the required location mentioned in  the final order ,delivery
note issuing charges, unloading charges, local shipping charges etc.).the supplier is
also responsible for providing of all relevant shipping  documents ,together with the
delivery  order(s).


8- After arrival to Jordan DRMS is not responsible for any handling charges for goods
(like charges for issuing delivery order for incoming shipment unloading charges, local
shipping agents charges


9- All parcels, packages &any relative documents to me marked:
D.R.M.S Tender NO P100-2026-STENTS   G.H.Q Jordan Armed Forces  Amman- or Jordanian Armed Forces


10- In case of any worldwide problem or recall of any awarded item. the company is
obliged to replace any remaing quantities with equivalent or better materials otherwise
DRMS has the right to buy these materials from another sources and impose you the
differences of prices and any penalties according to the rules and  regulations of
DRMS


11- DRMS have the right to exchange any size of the awarded items with any other
size through the local agent, such exchange should be effective within(ONE MONTH)
after receipt of our written request any delay will impose penalties as per GHQ/RMS
regulations.


12- The latest and /OR the IMMEDIATE prior generation of the latest Stent should Be
Provided By Each Company And Would Be Identified According To The Corresponding
Date Of The American FDA  Certificate For The Stents That Are American  FDA
Approved and the purchase committee has the right to choose which generation and
it,s
quantity according to RMS needs.
13- Goods should be delivered under the same storage conditions that comply with
their nature, storage conditions must be mentioned clearly on all documents.


14- Prices offered for all items should be less than the Jordanian market price.

15- For offers submitted in Jordanian dinars payment will be either by wire transfer or
by cheque to be paid after  receiving documents from main medical stores ; Any other
way of payment will not be accepted and the offers will be rejected by the purchase
committee.


16-The purchase committee has the right to choose between stents
companies without exceeding ( 70%-80%) of lowest price and (20%-
30%) of second lowest price  or any other specially required stent that  match the
technical needs and requirements .


17-Bidders must submit their reservations/queries regarding tender specifications
and/or special terms within the first half of the tender closing period starting from the
tender announcement date. Reservations/queries submitted after the end of this period
shall be rejected.

18.The supplier or his local agent must furnish RMS with a guarantee stamped and
legalized by the notary public equals to 115% of the total value of goods valid for (two
years) after acceptance of goods.

19. offers submitted by vendors with previously complaints or unsolved issues will be
excluded from the current tender .