46/

Item No

Stock No

Stock Name

Quantity

Unit

1

09_6_00_001

Anti CCP (Automated approved methods).

14400

Test

2

09_6_00_003

Kapp (Automated approved methods).

1050

Test

3

09_6_00_004

Lambda (Automated approved methods).

1050

Test

4

09_6_00_005

Transferrin Level (Automated approved methods).

1000

Test

5

09_6_00_006

CRP (Automated approved methods).

233500

Test

6

09_6_00_007

RF (Automated approved methods).

40000

Test

7

09_6_00_018

Anti Streptolysin O Detection Kit (ASOT),(Automated approved methods).

18000

Test

8

09_6_00_019

IgE  Level (Automated approved methods).

7200

Test

9

09_6_00_020

Thyroid Peroxidase Detection Kit (Automated approved methods).

10200

Test

10

09_6_00_021

Anti Thyroglobulin Antibody (TG),(Automated approved methods).

10200

Test

11

09_6_00_022

Anti Cytomegalovirus Antibody IgM (Automated approved methods).

5400

Test

12

09_6_00_023

Anti Cytomegalovirus Antibody IgG (Automated approved methods).

5400

Test

Page 1 of 8

الملحق (ب) لدعوة العطاء رقم م ش 12/46/55/2025

كشف اللوازم المطلوبة و المواصفات الفنية و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

13

09_6_00_024

Anti Rubella  Antibody IgM (Automated approved methods).

1500

Test

14

09_6_00_025

Anti Rubella  Antibody IgG (Automated approved methods).

1500

Test

15

09_6_00_026

Anti Toxoplasma  Antibody IgM (Automated approved methods).

1500

Test

16

09_6_00_027

Anti Toxoplasma  Antibody IgG (Automated approved methods).

1500

Test

17

09_6_00_029

Haptoglobulin (Automated approved methods).

600

Test

18

09_6_01_001

Brucella Ab Kit to detect Brucella Melitensis   by tube agglutination method.

300

Test

19

09_6_01_002

ASL KIT, Latex Slide Method

12000

Test

20

09_6_01_004

Brucella Ab Kit to detect Brucella Abortus  by the tube agglutination method.

300

Test

21

09_6_01_008

CRP Kit,Latex slide method

36800

Test

22

09_6_01_016

Reumatoid Factor (RF) Kit, Latex slide method

20000

Test

23

09_6_03_012

CMV IgM ELISA Kit.

384

Test

24

09_6_03_016

Early Pregnancy Kit,Ideal sensitivity 50 IU hCG/L in urine

40000

Test

25

09_6_03_058

Rubella Ab Kit, for IgM by ELISA.

192

Test

26

09_6_03_059

Rubbella Ab Kit, for IgG by ELISA

192

Test

27

09_6_03_060

Toxoplasma-IgM-Ab. By ELISA,

192

Test

28

09_6_03_065

Herpes Simplex Virus  Type I- IgM  (ELISA Method)

1248

Test

29

09_6_03_066

Hepres Simplex Virus (HSV) Kit - IgM , for Type II - Ab by ELISA

96

Test

30

09_6_03_088

Anti-CCP Antibodies by ELISA

960

Test

Page 2 of 8

الملحق (ب) لدعوة العطاء رقم م ش 12/46/2025

كشف اللوازم المطلوبة و المواصفات الفنية و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

31

09_6_05_025

TPHA- Treponema Pallidum by hemagglutination technique - Complete Kit

200

Test

32

09_6_06_044

Cytomegalovirus IgG-Ab kit by Elisa or by IF

384

Test

33

09_6_06_052

Herpes Simplex Virus Type1 IgG (ELISA Method)

192

Test

34

09_6_06_054

Herpes Simplex Virus Kit (HSV) IgG For Type II-Ab By ELISA

96

Test

35

09_6_06_066

Toxoplasma IgG By ELISA

192

Test

36

09_6_11_002

C1 Esterase Inhibitor Level

1152

Test

37

09_6_11_024

Angiotensin Converting Enzyme Comlete Kit to include all necessary reagents ,controls and calibratary

1000

Test

38

09_6_11_025

IgG1 subclass  kit for any manual or automated methods to include all necessary reagents ,control, calibrator)

1000

Test

39

09_6_11_0251

IgG2 subclass  kit for any manual or automated methods to include all necessary reagents ,control, calibrator)

1000

Test

40

09_6_11_0252

IgG3 subclass  kit for any manual or automated methods to include all necessary reagents ,control, calibrator)

1000

Test

41

09_6_11_0253

IgG4 subclass  kit for any manual or automated methods to include all necessary reagents ,control, calibrator)

1000

Test

42

09_6_43_056

Herpes Simplex virus Type 1 IgG (Elecsys HSV-1 IgG )(Cobas e801/e402)

1500

Test

43

09_6_43_057

Anti Mullerian Hormone (Elecsys AMH))  (Cobas e801/e402)

7000

Test

44

09_6_44_008

C3,  (Cobas c503/c303)

7200

Test

45

09_6_44_009

C4,  (Cobas c503/c303)

7200

Test

46

09_6_44_010

IGA Gen.2,  (Cobas c503/c303)

9600

Test

Page 3 of 8

الملحق (ب) لدعوة العطاء رقم م ش 12/46/2025

كشف اللوازم المطلوبة و المواصفات الفنية و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

47

09_6_44_011

IGG Gen.2,  (Cobas c503/c303)

9600

Test

48

09_6_44_012

IGM Gen.2,  (Cobas c503/c303)

9600

Test

49

09_6_44_013

AAT Gen.2,  (Cobas c503/c303)

600

Test

50

09_6_44_014

Ceruloplasmin  (CERU),  (Cobas c503/c303)

1000

Test

Page 4 of 8

الملحق (ب) لدعوة العطاء رقم م ش 12/46/2025

كشف اللوازم المطلوبة و المواصفات الفنية و الشروط الخاصة

العطــــــــــــاء شروط

شروط خاصــــــــــــة

1-Number of shipments will be decided by purchasing committee according to the
respective minimum guaranteed shelf life upon delivery/dispatch to be provided in the
original offers to establish delivery schedule accordingly .The DRMS with this respect
reserves the right to reject any item not in compliance with this term and impose the
correspondent fines.


2-Dispatched/Delivered good must show Description of goods , expiry date  ,Batch No.,origin of goods , and  any other necessary information on the inner and outer packs.


3- goods must be dispatched/delivered under the same storage conditions that comply
with their nature, storage conditions must be mentioned clearly on all relative
documents and all packages.


4-All packages to be stamped or labelled with the following "Sold to RMS" Tender  P37-2025-R" By non-removable ink.


5-Any Products derived or containing materials of human origin should be supplied with a certificate and/or official document from the maunfacturer stating that the products are devoid of blood borne infectious agents :HbsAg, HIV, HCV, ect. Items belonging to this category to be specified in the original offer.


6- Goods should be previously evaluated and approved in DRMS or purchased by
"central procurement branch " or by " directorate of defence procurement ",for the
previously evaluated & approved items the approve certificate and the previous
legalized purchases orders sholud be provided along with the offers.


7-The DRMS reserves the right to purchase goods in respect to their kit size (tests/kit)
which will correlate with technical needs of the specific department.

Page 5 of 8

الملحق (ب) لدعوة العطاء رقم م ش 12/46/2025

كشف اللوازم المطلوبة و المواصفات الفنية و الشروط الخاصة

8-Offers must include a full warranty including spare parts and labour for aperioud of
minimum of 24 months from the date of first shipment delivery for all the existing
machine.(ANNEX A). The warranty must be accompanied by a bank guarantee equal to 5% of the total estimated value of the existing machines valid for two years.


9-If at any time during the warranty period the machines becomes in operative due to a technical fault  the machines must then be repaired by the supplier/local agent within a period of (14) days from written notification otherwise the supplier must replace the machines with a new identical functioning one and will endure a penalty determined by the royal medical services for each day of the down time of the system . in case the machines was replaced by a new one , the warranty period mentioned in (8) above will start from the installation and commissioning date of the new one .


10-Any additional requirements for test performance  including consumables ,electrodes, full quality control ,daily calibration Lamps, reaction cells
sets, sample probe substrate, calibrator, control, sample cups , sample cuvettes,
cuvettes probe  wash, cleaning solutions ,maintenance kit and any other necessary
requirements for the system must be mentioned clearly and to be supplied in sufficient amount as free of charge according to the number of tests ,and the company must provide us with prices list of theses free of charge according to the number of tests, and the company must provide us with prices list of these free material.


11-Acopy of (CE or FDA certificated)is to be submitted and should be certificated by
JFDA(Jordan food & drug administration).


12- Custom clearance of goods shall be the responsibility of the Jordanian Armed
Forces (JAF), however, suppliers shall bear all costs incurred by handling charges and any demurrage charges or extra expenses incurred by the port's corporation or QAIA (including expenses caused by delay in presenting the necessary shipment documents for either clearing or transporting the goods to the required location mentioned in the final order, delivery note issuing charges, unloading charges, local shipping charges,etc. ) .The supplier is also responsible for providing of all relevant shipping documents ,together with the delivery order(s).

13- Pricing must include services of sale ,shipment,transportation,delivery from port to site or Main Medical Stores.

Page 6 of 8

الملحق (ب) لدعوة العطاء رقم م ش 12/46/2025

كشف اللوازم المطلوبة و المواصفات الفنية و الشروط الخاصة

14-For offers submitted in Jordanian dinars payment will be either by wire transfer or
by cheque to be paid after reciving DOCUMENTS FROM MAIN MEDICAL STORE ,any other way of payment will not be accepted and the offers will be rejected by the
purchase committee.

15-All goods should retain at least the MSL specified in final order. Any item not
complying with this term upon receipt should be accompanied with a confirmation that
you accept to replace any remaining unused quantities at your expenses after the
expiry date. Said confirmation is subject to the approval of the director of the Royal
Medical Services and will incur a fine, which will be decided later by DRMS according
to the loss that this discrepancy with terms of the tender has caused.


16-All necessary reagents for ELIZA technique kits (96 well plate, controls, calibrations, sulfuric acid, or stop solution) should be packed within the kit (complete kit) as whole unit in the country of origin.


17-Bidders must submit their reservation /queries regarding tender specificareqtions
and/or special term within the first half of the tender closing period starting from the
tender announcement date . Reservation /queries submitted after the end of this period shall be rejected.


18-Tests including Rubella (IgM , IgG), Toxoplasma ( IgM , IgG), Cytomegalo virus       (IgM , IgG), Herpes simplex virus Type 1( IgM , IgG), Herpes simplex virus Type 2        ( IgM ,IgG ), must be supplied from the same source.


19-The supplier or his local agents must furnish RMS a guarantee stamped and
legalized by the notary puplic to 115% of the goods valid for 1 year after acceptance of goods.


20- For items No.(38,39,40,41 ) IgG Subclass, the company must provide us with (4)
multi head casets to fit the instruments (cobas C303).


21-offers submitted by vendors with previously complaints or unsolved issues will be
excluded from the current tender.

Page 7 of 8

الملحق (ب) لدعوة العطاء رقم م ش 12/46/2025

كشف اللوازم المطلوبة و المواصفات الفنية و الشروط الخاصة

الملحق (ب) لدعوة العطاء رقم م ش 12/46/2025

كشف اللوازم المطلوبة و المواصفات الفنية و الشروط الخاصة

22-If any of the awarded items become expired due to technical fault of the machines, the items must then be replaced by the supplier/local agent within the period specified in our written request ,considering the quantity we have available .


23- Any additional (Free of charge) quantities offered by the bidders will be taken into
consideration when calculating the unit price of the required item.


24-The estimated price for any (FOC)goods should be stated.

Page 8 of 8