Item No

Stock No

Stock Name

Quantity

Unit

1

14_01411

Gown, Non-Sterile, Disposable Surgical Green or Blue,
Long sleeves. Waist tie. Fabric (non woven) SMS.
Length: (from neckline to bottom) 130-140 cm.
Minimum density: 35 gsm (g*m2)
size: Medium

56000

Each

2

14_01412

Gown, Non-Sterile, Disposable Surgical Green or Blue,
Long sleeves. Waist tie. Fabric (non woven) SMS.
Length: (from neckline to bottom) 130-140 cm.
Minimum density: 35 gsm (g*m2)
size: Large.

168000

Each

3

14_01413

Gown, Non-Sterile, Disposable Surgical Green or Blue,
Long sleeves. Waist tie. Fabric (non woven) SMS.
Length: (from neckline to bottom) 130-140 cm.
Minimum density: 35 gsm (g*m2)
size: X-large.

56000

Each

القيادة العامة للقوات المسلحة الاردنية-الجيش العربي

مديرية المشتريات الدفاعية

لجنة الشراء المركزية

الشروط الخاصــــــــــــة

1-Goods must be dispatched/ delivered under the same storage conditions that comply
with their nature; storage conditions must be mentioned clearly on all packages and relative documents.

2-The quality of the items should be according to accepted international standards, i.e.
(FDA, CE, or equivalent standard), accompanied with quality certificates. For locally manufactured goods: bidder should submit a valid (GMP) certificate issued from JFDA.
the certificate should mention (surgical gown) clearly.

3-The delivered goods must be stamped, labeled or printed “sold to DRMS” Tender No.
P15-2024-3, with irremovable ink.

4-All packages, parcels and related documents to be stamped or labeled with the
following:
DRMS/TENDER
 P15-2024 -3
GHQ, JORDAN ARMED FORCES
AMMAN – JORDAN

5-All goods are to be freshly prepared on dispatch/ delivery & should have at least 2/3
of its shelf life upon receipt. Any item carrying less than 2/3 of its shelf upon receipt
should be accompanied with a confirmation that you accept to replace any remaining
unused quantities at your expenses after the expiry date. Said confirmation is subject
to the approval of the director of the Royal Medical Services and will incur a fine, which
will be decided later by DRMS according to the loss that this discrepancy with terms of
the tender has caused.

6-Storage conditions as well as description of goods, lot no., size, expiry date and
manufacturing date must be clearly indicated on all packages (inner and outer) and
relative documents. If the manufacturing date is not applicable it must be provided on a
separate document.

7-Samples of the quoted items must be submitted along with the offers for purchase and receipt purposes, showing the same serial no./ item no. as per our tender documents specifications. RMS with this respect reserves the right to reject offers not in compliance with this term.

8-Delivery must be in two equal shipments (5-6) months apart.

9-Custom clearance of goods shall be the responsibility of the Jordan Armed Forces
(JAF); however, suppliers shall bear all costs incurred by handling charges and any
demurrage or extra expenses incurred by the port's corporation or QAIA (including
expenses caused by delay in presenting the necessary shipment documents for either
clearing or transporting the goods to the required location mentioned in the final order,
delivery note issuing charges, unloading charges, local shipping charges etc.). The
supplier is also responsible for providing of all relevant shipping documents, together
with the delivery order(s).

10-For offers submitted in Jordanian Dinar, payment will be either by wire transfer or by
bank check to be paid after receiving the goods. Any other way of payment will be
rejected by the purchasing committee.

11-After arrival to main medical stores, goods unloading will be the responsibility of the
local agent.

12-Bidders must submit their reservation/queries regarding tender specifications and/or
special terms within the first half of the tender closing period starting from the tender
announcement date, any reservation/queries submitted after the end of this period
shall be rejected

13-The estimated price for any (F.O.C) goods should be stated in the relative sheet.

13-The supplier or his local agent must furnish RMS with a guarantee stamped and
legalized by the notary public equals to 115% of the total value of goods valid for (two
years) after acceptance of goods.

14-After arrival to Jordan, DRMS is not responsible for any handling charges for goods
(like charges for issuing delivery order for incoming shipment, unloading charges and
local shipping agent's charges).