Item No

Stock No

Stock Name

Quantity

Unit

1

09_60_01_0212

SPERM WASH MEDIUM WITH HUMAN SERUM ALBUMIN (HSA)

13000

Ml

2

09_60_01_028

Paraffin Oil , Embryo tested

23000

Ml

3

09_60_01_040

Percoll - Cell Culture tested (10-20) ml

600

Ml

4

09_60_01_041

Pure caption 80% lower phase (10-20)ml

600

Ml

5

09_60_01_082

Medi-Cult Sperm Freezing Medium 10ML

900

Ml

6

09_60_01_083

Rapid Vitrification for cleavage stage /kit

100

Ml

7

09_60_01_084

Rapid warming for cleavage stage /kit

100

Ml

8

09_60_01_086

(cumulase media) recomponent human hyaluronidase ,denodation media for removal of the cumulus complex

70

Ml

9

09_60_01_091

Handling media

6000

Ml

10

09_60_01_093

IVF equilibrium media

2000

Ml

Page 1 of 7

الملحق (ب) للعطاء رقم م ش ع 12/50/65/2025

المواصفات الفنية و الكميات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

11

09_60_01_094

CAT NO.10128
G-1 PLUS
UNIT SIZE:30ML
FOR CULTURE OF EMBRYOS FROM THE PRONUCLEATE STAGE TO DAY 2 OR 3DAYS.
BICARBONATE BUFFERED MEDIUM CONTAINING HYALURONAN,CONTAINS HUMAN SERUM ALBUMEN,READY TO USE 30 ML.
FOR USE AFTER PRE-EQUILIBRATION AT +37?C AND 6% CO

1000

Ml

12

09_60_01_095

Extened embryo culture medium

500

Ml

13

17_60_01_002

Wide  mouth sterile  disposable  plastic   specimen  container  with  label   and  screw   cap

4500

Each

14

17_60_01_010

Sterile  disposable  serological   pipettes   1.0ml

2800

Each

15

17_60_01_016

Disposable  tips  for  use  with automatic  pipettes: 5-200

4000

Each

16

17_60_01_020

Bacteriological  petridish

2000

Each

17

17_60_01_022

Disposable embryo transfer catheter

1000

Each

18

17_60_01_0221

Disposable embryo transfer catheter

1000

Each

19

17_60_01_023

Soft Path Catheter 6.5

500

Each

20

17_60_01_028

Cell Culture  Dish with Center well

7400

Each

21

17_60_01_032

Culture tube Round  bottom ,graduated, 6 ml , Sterile,individually wrapped:featuring a 2- position cap,leave loose for gas exchange or push down tight to seal.

1000

Each

22

17_60_01_036

Tips size (145-155 um)

3600

Each

Page 2 of 7

الملحق (ب) للعطاء رقم م ش ع 12/50/65/2025

المواصفات الفنية و الكميات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

23

17_60_01_0361

Replacement bores- sequencing pipette tips (170 micro m)

2000

Each

24

17_60_01_0363

Tips size (270-320 um)

2500

Each

25

17_60_01_041

HANDLING PIPETTE 1MM

1000

Each

26

17_60_01_052

Disposable sterile 1cc syringes (Insulin)

2500

Each

27

17_60_01_058

Strerile  pipet  tips( 5_200)ml Indivisually wrapped

7000

Each

28

17_60_01_080

Sterile Plastic pipette  trousfer (narrow lip)

10000

Each

29

17_60_01_084

ICSI  Needle

1500

Each

30

17_60_01_086

Holding  Pipette

1300

Each

31

17_60_01_108

Multidish For Use in cell cultures/raised well rims,non-toxic,non-pyrogenic,4well round wellflat bottom

2000

Each

32

17_60_01_1081

Multi welldish

200

Each

33

17_60_01_111

NUNC CRYOFLEX FOR NUNC CRYOLINE

500

Each

34

17_60_01_114

Double lumen 16G ( 30-35) cm

100

Each

35

17_60_01_1141

CIV-Flex Probe Transducer Cover 8.9x60.96 L With Ultrrasonic Sterile Gel

1000

Each

36

17_60_01_119

NON- TOXIC

50

Each

37

17_60_01_122

TC DISH 90 X 17 VENTS NUNCLON D SI

10000

Each

Page 3 of 7

الملحق (ب) للعطاء رقم م ش ع 12/50/65/2025

المواصفات الفنية و الكميات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

38

17_60_01_125

Cat.No.353108
BD Falcon Cell Culture Flasks 25(CMXCM)
Packing : 100Ea/Bx.
origin :  USA &/OR EEU &/OR MEXICO &/OR ENGLAND manufactured by Falcon "Becton Dickinson & OR " FALCON" CORNING LIFE SCIENCES
delivery : in Four equal  Consignments (5-6) Months Apa

8400

Each

39

17_60_01_128

Grip head for eppendorf micromanipulator supplemented with oo- rings

4

Each

40

17_60_01_129

VOC gas line filter for Co2 and mixed gas incubator

4

Each

41

17_60_01_130

vitrification carrier for storage of oocytes,

800

Each

42

17_60_02_001

UVC Module +ballast  ,230 V

3

Each

43

17_60_02_002

SAFESENS SV2 SENSOR (BAG OF 10 PCS)

3

Each

44

17_60_02_003

VOC/Hepa filter for Miri or Miri TL

6

Each

45

17_60_02_004

SET OF IN-LINE FILTER ,2 PCS INTERNAL +2 PSC EXTERNAL

6

Each

46

17_60_02_005

02 SENSOR

3

Each

Page 4 of 7

الملحق (ب) للعطاء رقم م ش ع 12/50/65/2025

المواصفات الفنية و الكميات و الشروط الخاصة

شروط العطاء

شروط خاصة

1-Dispatched/Delivered good must show Description of goods , expiry date  ,Batch No.,origin of goods ,manufacturing date and  any other necessary information on the inner and outer packs. Where manufacturing date is not applicable then it should be provided on relative documents ,Items (13-46) expiry date must be  not less than four years from manufacturing data .

2-Goods should be dispatched/delivered under the same storage conditions that
comply with their nature, including the whole IVF media to be handed with Documented Temperature (2-8)° C at the time of Delivery to the Lab .

3-All packages to be stamped or labelled with the following "Sold to RMS" Tender  P36-2026-IVF. " by Non -removable ink.

4-For offers submitted in Jordanian dinars payment will be either by wire transfer or by cheque to be paid after reciving DOCUMENTS FROM MAIN MEDICAL STORES ,any other way of payment will not be accepted and the offers will be rejected by the purchase committee.

5-Goods should be previously evaluated and approved in DRMS or purchased by
"central procurement branch " or by " directorate of defence procurement " ,for the
previously evaluated & approved items the approve certificate and the previous
legalized purchases orders sholud be provided along with the offers.

6-Bidders must submit their reservation /queries regarding tender specificareqtions
and/or special term within the first half of the tender closing period starting from the
tender announcement date . Reservation /queries submitted after the end of this period shall be rejected.

Page 5 of 7

الملحق (ب) للعطاء رقم م ش ع 12/50/65/2025

المواصفات الفنية و الكميات و الشروط الخاصة

الملحق (ب) للعطاء رقم م ش ع 12/50/65/2025

المواصفات الفنية و الكميات و الشروط الخاصة

7-Goods must be freshly prepared on dispatch/Delivery and should retain at  least 2/3 RDS of its validity upon dispatch /delivery ,for items carrying an expiary date ,the DRMS with this respect reserves the right to reject any item not in cpmpliance with the term and impose the correspondent fines as per GHQ/military procurement laws ,any item carrying less than 2/3 of its shelf upon receipt should be accompained with a confirmation that you accept to replace any remaining unused quantities at your expiry date said confirmation is subject to the approval of the director of the royal medical services and will incur afine which will be Decided later by DRMS according to the loss that this discrepancy with trems of the tender has caused , item with no expected shelf life must be clearly   All goods should retain at least the MSL specified in final order. Any item not complying with this term upon receipt should be accompanied with a confirmation that you accept to replace any remaining unused quantities at your expenses  expiry date, Said confirmation is subject to the approval of the director of the Royal Medical Services and will incur a fine, which will be decided later by DRMS according to the loss that this discrepancy with terms of the tender has caused,item ,item with no expected shelf life ,must be clearly inicated .

8-All itemes must have FDA , TUV , or CE approval .

9-All Products derived or containing materials of human origin should be supplied with a certificate and/ or official document from the manufacturer stating that the products are devoid of blood borne infectious agents :HbsAg, HIV, HCV, etc . items belonging to this category to be specified in the original offer.

10- offers submitted by vendors with previously complaints or unsolved issues will be excluded from the current tender.

11- The supplier or his local agents must furnish RMS a guarantee stamped and
legalized by the notary puplic to 115% of the goods valid for 1 year after acceptance of each consignment.

12- Any additional (Free of charge) quantities offered by the bidders will be taken  into consideration when calculating the unit price of the required item.

Page 6 of 7

الملحق (ب) للعطاء رقم م ش ع 12/50/65/2025

المواصفات الفنية و الكميات و الشروط الخاصة

13-The estimated price for any (FOC) goods should be stated.

14-Items (1-12)to be delivered within one week from the  DRMS written request        and delivered to  KHMC ,prince Hashem hospital (Zarqa), prince rashid hospital (Irbid)

15-Items (13-46) delivery : in four consignment every consignment to be delivered within three weeks from written request from DRMS to Main Medical Stores


16-Pricing must be in Jordanian Dinars include delivery to site or Main Medical
Stores.


17- أن تقوم الشركة المحال عليها المواد أرقام (6,7) بالالتزام بالتدريب الداخلي (3) مرات لمرتبات فنيي مختبرات أطفال الانابيب في الخدمات الطبية الملكية على طريقة تجميد الأجنة.

Page 7 of 7