Item No

Stock No

Stock Name

Quantity

Unit

1

09_6_08_0461

RPMI 1640 Medium,with glutamine Sterile in 500 ml Bottles

30000

Ml

2

09_6_08_048

Rabbit Complement, 5ml Vial. Should Be of Low Cytotoxicity Suitable for Histocompatibility Testing.t,

150

Ml

3

09_6_10_058

Micro SSP High Resolution HLA  Class II DNA Typing Tray - DQA1/B1 SSO

150

Test

4

09_6_28_003

LMX Sheath Fluid (20 X), (1 Liter), Reagent For SSO DNA Typing For Lunminex (Xmap Technology)

8

Box

5

09_6_28_017

LAB  Type SSO HLA A Locus (20 test/kit),  Reagent For SSO DNA Typing For Lunminex (Xmap Technology), High Resolution Kit.

1200

Test

6

09_6_28_019

LAB  Type SSO HLA B Locus,(20 test/kit)  Reagent For SSO DNA Typing For Lunminex (Xmap Technology), High Resolution Kit.

2200

Test

7

09_6_28_021

LAB  Type SSO HLA DRB1, (20Test/Kit)  Reagent For SSO DNA Typing For Lunminex (Xmap Technology), High Resolution Kit.

1200

Test

8

09_6_28_028

LAB type SSO HLA C Locus (20test/kit),Reagent for SSO DNA Typing for Lunminex (XMap technology), High resolution kit.

1200

Test

Page 1 of 5

الملحق (ب) للعطاء رقم م ش ع 12/51/1/2026

المواصفات الفنية و الكميات و الشروط الخاصة

القيادة العامه للقوات المسلحة الاردنية-الجيش العربي

مديرية المشتريات الدفاعية

لجنة الشراء المركزية

Item No

Stock No

Stock Name

Quantity

Unit

9

09_6_28_032

screening for HLA Antigens kit for solid organ transplantation ,Reagent for SSO lUMINEX (XMap technology)

384

Test

10

09_6_28_035

DSA :Detection of donor specific antibody clasds 1 (single antigen )kit for kidney transplantation  for reagent for SSO Luminex (XMap technology)

48

Test

11

09_6_28_036

DSA :Detection of donor specific antibody clasds 2 (single antigen )kit for kidney transplantation  for reagent for SSO Luminex (XMap technology)

48

Test

Page 2 of 5

الملحق (ب) للعطاء رقم م ش ع 12/51/1/2026

المواصفات الفنية و الكميات و الشروط الخاصة

الملحق (ب) للعطاء رقم م ش ع 12/51/1/2026

المواصفات الفنية و الكميات و الشروط الخاصة

شروط خاصــــــــــــة

1-Number of shipments will be decided by purchasing committee according to the
respective minimum guaranteed shelf life upon delivery/dispatch to be provided in the original offers to establish delivery schedule accordingly .The DRMS with this respect reserves the right to reject any item not in compliance with this term and impose the correspondent fines.

2-Dispatched/Delivered good must show Description of goods , expiry date must be clearly indicated on all package and relative documents ,Batch No., Storage conditions,stamped "Sold to RMS" ,and  any other necessary information on the inner and outerpacks. Where manufacturing date is not applicable then it should be provided on relative documents.

3- goods must be dispatched/delivered under the same storage conditions that comply with their nature,storge condition must be mentioned clearly on all relative documents and all packages.

4-offers to include all kit size configurations from Manufacturer.

5-All packages to be stamped or labelled with the following "Sold to RMS" Tender  P37-2026-35" by Non -removable ink.

6-Any Products derived or containing materials of human origin should be supplied with a certificate and/or official document from the maunfacturer stating that the products are devoid of blood borne infectious agents :HbsAg, HIV, HCV, ect. Items belonging to this category to be specified in the original offer.

7-For offers submitted in Jordanian dinars payment will be either by wire transfer or by cheque to be paid after reciving DOCUMENTS FROM MAIN MEDICAL STORES ,any other way of payment will not be accepted and the offers will be rejected by the

purchase committee.

8-Goods should be previously evaluated and approved in DRMS or purchased by
"central procurement branch " or by " directorate of defence procurement " ,for the
previously evaluated & approved items the approve certificate and the previous
legalized purchases orders sholud be provided along with the offers.

Page 3 of 5

الملحق (ب) للعطاء رقم م ش ع 12/51/1/2026

المواصفات الفنية و الكميات و الشروط الخاصة

9-Bidders must submit their reservation /queries regarding tender specificareqtions and/or special term within the first half of the tender closing period starting from the tender announcement date . Reservation /queries submitted after the end of this period shall be rejected.

10-All goods should retain at least the MSL specified in final order. Any item not
complying with this term upon receipt should be accompanied with a confirmation that you accept to replace any remaining unused quantities at your expenses after the expiry date. Said confirmation is subject to the approval of the director of the Royal Medical Services and will incur a fine, which will be decided later by DRMS according to the loss that this discrepancy with terms of the tender has caused.

11-Acopy of (CE or FDA certificated)is to be submitted and should be certificated by JFDA(Jordan food & drug administration).

12-The company must provide us with updated soft ware as a free of charge to include the new nomenclature for analysis and interpretation of HLA results and to train the personnel on using the reagents and the soft ware.

13-All items to be delivered to Princess Iman Research Center-KHMC.

14-The supplier or his local agents must furnish RMS a guarantee stamped and
legalized by the notary puplic to 115% of the goods valid for 1 year after acceptance of
goods.

15-Each company must provide DRMS with F.O.C items which mentioned in Annex (A)
in a sufficient quantity.

16-Each company must provide the following maintenance and maintenance service kit
as F.O.C:
a) A monthly visit for preventive maintenance and general check for the instruments in
Princess Iman Research Center-KHMC.
 b) Replacement of - 12 month preventive maintenance service kit - for each
instruments.
 c) On site emergency breakdown service, including laser alignment if needed.
 d) Calibration &Verification kit performance are included once needed for all types of instruments (Luminex xMAP and Luminex FLEXMAP 3D).

Page 4 of 5

الملحق (ب) للعطاء رقم م ش ع 12/51/1/2026

المواصفات الفنية و الكميات و الشروط الخاصة

17-A) a Full warranty including spare parts and labour for aperiod of 12 months from the delivery of the first consignment, the warranaty must be accompanied by abank guarantee equal 5% of the value for the equipments mentioned in Annex(B).
 B) If any time during the warranty period the item become inoperative due to technical fault the item must then be repaired by the supplier/ local agent within a period of fourteen  days  from written notification, and if the failure continues more than fourteen working days the inoperative device will be replaced by another identical functioning device until repairing the inoperative one ,the replacing device should not be withdrawn until the old device is returned and is in full operation.

18-If any of the awarded items become expired due to technical fault of the
machines,the items must then be replaced by the supplier/local agent within the period specified in our written request,consididering the quantity we have available.

19-Offers submitted by vendors with previously complaints or unsolved issues will be excluded from the current tender.

20-Any additional (free of charge)quantites offered by the bidders will be taken into
consideration when calculating the unit price of the required item.

21-The estimated price for any (FOC)goods should be stated.

22-Pricing must be in Jordanian Dinars including delivery to site .

Page 5 of 5