|  |  |  |
| --- | --- | --- |
| QTY | Description | Item  no |
| 800 | Mirror Handle  Stainless steel single end | 1 |
| 200 | Mirror Head Large  Single sided has a single reflective surface | 2 |
| 800 | Mirror Head Medium  Single sided has a single reflective surface | 3 |
| 500 | Explorer Double ended  Stainless steel autoclavable | 4 |
| 400 | Explorer Double ended  Stainless steel autoclavable | 5 |
| 1100 | Tweezer  Stainless steel autoclavable | 6 |
| 100 | Excavator S  Stainless steel autoclavable | 7 |
| 50 | Excavator M  Stainless steel autoclavable | 8 |
| 350 | Excavator L  Stainless steel autoclavable | 9 |
| 100 | Metal Spatula  Single end | 10 |
| 150 | Glass Slab  Size 75\*50\*15 | 11 |
| 50 | Alginate mixing spatula  autoclavable | 12 |
| 50 | Rubber Bowl  Flexible rubber different sizes | 13 |
| 30 | Metal Brush  Cleaning stainless steel dental instrument | 14 |
| 100 | Cotton Dispenser  For dental use | 15 |
| 200 | Bur Holder  Metal and plastic | 16 |
| 50 | Glass Dappen Dish  Glass | 17 |
| 50 | Metal Dappen Dish  Metal | 18 |
| 50 | Endo Ruler  autoclavable | 19 |
| 400 | Anaesthesia Syringe  Stainless steel autoclavable dental | 20 |
| 100 | Ca(OH)2 Applicator  double end Stainless steel autoclavable | 21 |
| 100 | Amalgam Carrier  Stainless steel autoclavable | 22 |
| 100 | Amalgam Carrier  Stainless steel autoclavable | 23 |
| 100 | Matrix band retainer Ivory  Stainless steel autoclavable | 24 |
| 100 | Amalgam Condenser  Stainless steel autoclavable size large | 25 |
| 50 | Amalgam Condenser  Stainless steel autoclavable medium | 26 |
| 50 | Amalgam Condenser  Stainless steel autoclavable medium | 27 |
| 100 | Amalgam Burnisher egg  Stainless steel autoclavable egg end | 28 |
| 50 | Amalgam Burnisher Narrow  Stainless steel autoclavable narrow blunt end | 29 |
| 150 | Amalgam Carver  double end Stainless steel autoclavable | 30 |
| 25 | Composite Applicator  Crafted of exotic stainless steel spring wire | 31 |
| 25 | Composite Applicator  Crafted of exotic stainless steel spring wire | 32 |
| 100 | Endo Explorer  Single end with a long tip with a sharp point | 33 |
| 25 | Rubber Dam Punch  Stainless steel autoclavable | 34 |
| 25 | Rubber Dam Frame  Stainless steel autoclavable | 35 |
| 50 | Endo Plugger  Stainless steel autoclavable size 0 | 36 |
| 50 | Endo Plugger 3-4  Stainless steel autoclavable size 3-4 | 37 |
| 30 | MTA Plugger  Stainless steel autoclavable | 38 |
| 75 | Perio Probe WHO  Stainless steel autoclavable | 39 |
| 30 | Naber Perio Naber Probe  Stainless steel autoclavable | 40 |
| 50 | Sickle Scaler  Stainless steel autoclavable curved | 41 |
| 50 | Hoes  Stainless steel autoclavable | 42 |
| 50 | Chisel Scaler  Stainless steel autoclavable | 43 |
| 50 | Periodontal File  Stainless steel autoclavable | 44 |
| 30 | Curette surgical  double end Stainless steel autoclavable | 45 |
| 50 | perio Knife Kirkland  Kirkland | 46 |
| 50 | perio Knife Goldman & Fox  Goldman & Fox | 47 |
| 20 | Tweezer Crane-Kaplan  Upper right lower left | 48 |
| 20 | Tweezer Crane-Kaplan  Upper left lower right | 49 |
| 20 | Scissors  Stainless steel autoclavable straight | 50 |
| 75 | Periosteal Elevator  Stainless steel autoclavable | 52 |
| 100 | Needle Holder  dental Stainless steel autoclavable | 53 |
| 100 | Dental Casteroviego  dental Stainless steel autoclavable | 54 |
| 10 | Bone Filter  dental Stainless steel autoclavable | 55 |
| 10 | Bone Crusher  Stainless steel autoclavable | 56 |
| 150 | Wax Knife  autoclavable | 57 |
| 200 | Lecron Carver  sharp | 58 |
| 100 | Plaster Knife  autoclavable | 59 |
| 100 | Plaster Spatula  autoclavable | 60 |
| 100 | Caliber Wanson Metal  Metal Stainless steel autoclavable | 61 |
| 200 | Dental Flask  Durable metalframed flask constructed in sections | 62 |
| 50 | Flask Compressor  Highly durable all –brass flask clamp double | 63 |
| 100 | Articulator Simple  Plain line articulator consists of simple hinge joint | 64 |
| 50 | Bridge Remover Manual  Manual Stainless steel autoclavable | 65 |
| 50 | Bridge Remover semi  Semi manual Stainless steel autoclavable | 66 |
| 20 | Lab. Crown Holder  Dental laboratory crown holder | 67 |
| 100 | Forceps UA  Stainless steel autoclavable forceps for anterior upper teeth | 68 |
| 150 | Forceps LA  Stainless steel autoclavable forceps for anterior lower teeth | 69 |
| 150 | Forceps UP  Stainless steel autoclavable forceps for upper premolars teeth(universal) | 70 |
| 150 | Forceps LP  Stainless steel autoclavable forceps for lower premolars teeth(universal) | 71 |
| 100 | Forceps URM  Stainless steel autoclavable forceps for upper right molars teeth | 72 |
| 100 | Forceps ULM  Stainless steel autoclavable forceps for upper left molars teeth | 73 |
| 100 | Forceps LM  Stainless steel autoclavable forceps for lower molars teeth(universal) | 74 |
| 70 | Forceps U 3rd  Stainless steel autoclavable forceps for upper 3rd molars teeth (universal)bayonat | 75 |
| 100 | Forceps UA Root  Stainless steel autoclavable forceps for upper anterior roots | 76 |
| 25 | Forceps LA Root  Stainless steel autoclavable forceps for lower anterior and premolars roots | 78 |
| 25 | Forceps U 3rd Root  forceps for upper 3rd molars roots | 79 |
| 25 | Forceps L 3rd Root  Stainless steel autoclavable forceps for lower 3rd molars root | 80 |
| 150 | Straight Elevator Coupland  Stainless steel autoclavable Coupland size 1,2,3 | 81 |
| 40 | Root Curve Elevator Right  Stainless steel autoclavable Root Curve E Right | 82 |
| 125 | Warwick James Elevator Right  Stainless steel autoclavable Warwick James Elevator Right | 83 |
| 100 | Warwick James Elevator Left  Stainless steel autoclavable Warwick James Elevator left | 84 |
| 50 | Warwick James Elevator Straight  Stainless steel autoclavable Warwick James Elevator straight | 86 |
| 100 | Cryer Regulator Elevator  Stainless steel autoclavable Cryer Regulator Elevator | 87 |
| 50 | Freer Elevator  Stainless steel autoclavable Freer Elevator | 88 |
| 10 | Apex Retriever  Stainless steel autoclavable | 89 |
| 20 | Blade Handle  Stainless steel autoclavable | 90 |
| 10 | Scissors  Long surgical scissor curved | 91 |
| 10 | Scissors  Long surgical scissor straight | 92 |
| 10 | Long Needle Holder  Stainless steel autoclavable Long Needle Holder | 93 |
| 10 | Hemostat  Dental long hemostatic and ligature straight and curve | 94 |
| 25 | Forceps Upp Ant  Stainless steel autoclavable forceps for upper anterior primary teeth | 98 |
| 50 | Forceps Low Ant  Stainless steel autoclavable forceps for lower anterior primary teeth | 99 |
| 30 | Forceps Low Post  Stainless steel autoclavable forceps for lower posterior primary teeth | 100 |
| 25 | Forceps Upp Ant root  Stainless steel autoclavable forceps for upper anterior primary roots | 101 |
| 25 | Forceps Upp Post root  Stainless steel autoclavable forceps for upper posterior primary roots | 102 |
| 25 | Forceps Low Post root  Stainless steel autoclavable forceps for lower posterior primary roots | 103 |
| 50 | Mouth Probe/M  METAL autoclavable | 104 |
| 50 | Mouth Probe/R  RUBBER autoclavable | 105 |
| 50 | Finger Protector  METAL or rubber autoclavable | 106 |
| 40 | Band Pusher Mershon  Used for positioning and adapting metal bands on teeth | 107 |
| 40 | Band Seater Plastic  Plastic autoclavable Used for positioning and adapting wire and metal bands on teeth | 108 |
| 20 | Molar Band Seater  autoclavable Used for positioning and adapting metal bands on teeth | 109 |
| 20 | Band Seater Large Tin  With large surface tin inlay | 110 |
| 60 | Band Remover Plier  Autoclavableposterior band remover | 111 |
| 20 | Reynolds Plier  Used to bend metal strips and wire | 112 |
| 100 | Bracket Positioning Tweezer  Stainless steel autoclavable | 113 |
| 40 | Buccal Tube Tweezer  Stainless steel autoclavable | 114 |
| 20 | Bracket Hight Gauge  Slot 022 | 115 |
| 20 | Bracket Reomver Plier  Stainless steel autoclavable | 117 |
| 60 | Ligature Director Tucker  Stainless steel autoclavable | 118 |
| 60 | Ligature Forceps Straight  Straight(MATHIEU) | 119 |
| 120 | Plier for Elastics Straight  Stainless steel autoclavable | 120 |
| 20 | Seperating Plier  Stainless steel autoclavable | 121 |
| 20 | Plier HOW straight  PLIER WITH ROUND AND SERRATED TIPS | 122 |
| 20 | Plier HOW Curved  PLIER WITH ROUND AND SERRATED TIPS 45 degree ANGLED | 123 |
| 40 | Plier Weingart  Utility PLIER WITH ROUND AND SERRATED TIPS | 124 |
| 40 | Plier Weingart Angle  Utility PLIER WITH ROUND AND SERRATED TIP | 125 |
| 60 | Pin and ligature Cutter  Max 0.5 mm used to cut metal strips or wire used in orthodontic work | 126 |
| 80 | Hard wire Cutter  Max 0.7 mm used to cut metal strips or wire used in orthodontic work | 127 |
| 80 | Hard wire Cutter  Max 1.0 mm used to cut metal strips or wire used in orthodontic work | 128 |
| 80 | Hard wire Cutter  Max 1.2 mm used to cut metal strips or wire used in orthodontic work | 129 |
| 120 | Distal End Cutter  Max 0.55 \*0.64 mm used to cut wire as close as possible to the buccal tube used in orthodontic work | 130 |
| 80 | Distal End Cutter long  Max 0.55 \*0.64 mm used to cut wire as close as possible to the buccal tube used in orthodontic work(long) | 131 |
| 20 | Adams Plier Medium  Max 0.7 mm used to bend metal strips or wire used in orthodontic work | 132 |
| 20 | Bird Peaks Plier  Max 0.7 mm used to bend metal strips or wire 4 grooves to form precisr loops used in orthodontic work | 133 |
| 20 | 3Prong Plier  Max 0.4 mm used to bend metal strips or wire used in orthodontic work | 134 |
| 20 | Aderer Long Plier  Max 0.6 mm used to bend metal strips or wire used in orthodontic work 3 jaw plier | 135 |
| 20 | Plier Crimpable  used to bend metal strips or wire used in orthodontic work | 136 |
| 20 | Plier De La Rosa  Max 0.5 mm used to bend metal strips or wire used in orthodontic work | 137 |
| 20 | Jarabak Plier  Max 0.7 mm used to bend metal strips or wire used in orthodontic work | 138 |
| 20 | Nance Plier  Max 0.7 mm used to bend metal strips or wire used in orthodontic work four step tips (3,4,5,6) | 139 |
| 20 | Round Tip Short Plier  Max 0.7 mm used to bend metal strips or wire used in orthodontic work 2 round beaks short | 140 |
| 20 | Round Tip Long Plier  Max 0.6 mm used to bend metal strips or wire used in orthodontic work 2 round beaks long | 141 |
| 40 | Tweed Plier  Max wire thickness:F 0.56\*0.7 mm 22\*28 | 142 |
| 20 | Tweed Loop Plier  Max wire thickness0.5mm ,hard | 143 |
| 20 | Orthodontic Torquing Plier 0.022''  Stainless steel autoclavable | 144 |
| 20 | Tension and compression gauge  Measuring range :25-500g | 145 |
| 20 | Ruler (Munchner)  Stainless steel with 1|2 mm increments .length 15 cm | 146 |

|  |
| --- |
|  |
| **Special Terms for Surgical Instruments**   1. ffers not complying with any of the special terms or the technical specifications will be considered as non-conforming. |
| 1. Any vendor providing FORGED documents will be disqualified from the current tender and any future RMS tenders or purchase orders. |
| 1. Bidder must provide a copy of the certificates of the following standards formally endorsed by the chamber of commerce of the manufacturing origin with the technical offer: |
| 1. EN ISO 13485:2012   Standard to measure the quality of medical equipment, medical instruments and medical technology |
| 1. ISO 9001:2008   Specifies requirements for a quality management system |
| 1. ISO 7153-1:1991   This second edition cancels and replaces the first edition (ISO 7153-1:1983): it has been extended to include dental instruments |
| 1. [ISO 7151:1988](http://www.iso.org/iso/home/store/catalogue_tc/catalogue_detail.htm?csnumber=13745&commid=53648)   Specification of basic requirements for as well physical characteristics as workmanship, of the steel grades used and heat treatment of component parts, excluding rivets, screws |
| 1. [ISO 7740:1985](http://www.iso.org/iso/home/store/catalogue_tc/catalogue_detail.htm?csnumber=14579&commid=53648)   Lays down the dimensions of two sizes of fitting features for detachable scalpel blades and the handles with which they are used. |
| 1. [ISO 7741:1986](http://www.iso.org/iso/home/store/catalogue_tc/catalogue_detail.htm?csnumber=14580&commid=53648)   This standard deals with materials, heat treatment and hardness of component parts, corrosion resistance, workmanship and cutting ability of scissors and shears used in the surgery and defines the test methods.   1. [ISO 13402:1995](http://www.iso.org/iso/home/store/catalogue_tc/catalogue_detail.htm?csnumber=21241)   Describes test methods to determine the resistance of stainless steel surgical and dental hand instruments against autoclaving, corrosion and thermal exposure. |
| 1. EN ISO 14001: 2004   ISO 14001 sets out the criteria for an [Environmental Management System](http://en.wikipedia.org/wiki/Environmental_Management_System) (EMS). |
| 1. 2007/47/EC   Is intended to [harmonize](http://en.wikipedia.org/wiki/Harmonisation_of_law) the laws relating to medical devices within the [European Union](http://en.wikipedia.org/wiki/European_Union). |
| 1. **Bidder must submit samples with the technical offer from each brand that was submitted in the offer to be assessed and /or evaluated by RMS.**  * Offers which do not include such samples will be considered non-conforming. * Offers which fail the evaluation/assessment process will be excluded from the tender. * Samples will be returned to the Bidder at the end of the evaluation/assessment process except for samples from Bidders winning the final award where they will be the property of RMS and will be kept as a reference for the receiving committee. |
| 1. Required certificates: 2. For instruments of USA origin, a copy of a certificate of FDA approval must be submitted with the technical offer. 3. For instruments of other origins, a copy of either a CE certificate (MDD)/TÜV OR a certificate of FDA approval must be submitted with the technical offer. 4. Where applicable, a copy of declaration of conformity certificate is accepted. 5. With each offer , bidders must provide a formally endorsed document issued by the manufacturer stating that the bidder is the sole certified agent/ distributor for the offerd item . 6. In all of the above cases (except D) certificates must be formally endorsed by JFDA. |
| 1. Country of origin:   The origin and the manufacturing plant for each set must be one of the following countries:  USA, UK, Sweden, Switzerland, Germany, France, Austria & Czech Republic.   * All offered items must be approved for sale in the same country of origin (an original and officially endorsed free-sale certificate from an authorized body must be included in the offer ). |
| 1. All items should be engraved or etched with manufacturing origin, company logo and code number. |
| 1. Each instrument set will be awarded as a whole set. |
| 1. Bidders must submit their reservations/queries regarding tender specifications and/or special terms within the first third of the tender closing period starting from the tender announcement date. Reservations/queries submitted after the end of this period will be rejected. |
| 1. The supplier must furnish DRMS with a guarantee letter stamped and legalized by the Notary Public equals to (115%) of the total value of the awarded equipment valid for twelve months from the date of final acceptance of the equipment by DRMS which shall cover rusting, manufacturing defects, wear and tear and corrosion. |
| 1. Offers must include clear original catalogues for all offered items. Images and part numbers of offered items must be provided, highlighted and outlined clearly. |
| 1. Offers must include fully detailed information as a soft copy (either Microsoft office or Microsoft excel format) in addition to a hard copy, mentioning the exact model/catalogue number and country of origin of the offered item(s), full description/specifications. |
|  |
| 1. Any accessories and consumable items necessary for the proper operation of surgical sets must be included in the offer. Bidder will bear any responsibility resulting from the awarding of insufficient items or sub-items. |
| 1. Pricing must include services of sale, shipment, transportation, delivery from port to site or to Main Medical Stores and warranty. |
| 1. Custom clearance of goods shall be the responsibility of the Jordanian Armed Forces (JAF), however, suppliers shall bear all costs incurred by handling charges and any demurrage charges or extra expenses incurred by the port’s corporation (including expenses caused by delay in presenting the necessary shipment documents for either clearing or transporting the goods to the required location mentioned in the final order, delivery note issuing charges, unloading charges, local shipping charges etc.). The supplier is also responsible for providing of all relevant shipping documents, together with the delivery order(s). |
| 1. DRMS has the right to increase or decrease the awarded quantities by a percentage not exceeding 30% after the final order notification with the same prices, terms and conditions of the original contract upon DRMS request and approval of the awarded party. |
|  |