الملحق ب للعطاء رقم م ش ع 12/2/13/2026 شراء (Surgical staplers and Disposables)

المواصفات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

1

13_12_0522

Tissue Tacker 5mm Disposable

1254

Each

2

13_12_120

Thraco Port Single Use Trocar With Condudtion Sleeves 5.5mm

102

Each

3

13_12_124

Thraco Port Single Use Trocar With Condudtion Sleeves 10.5mm

340

Each

4

13_12_128

Thraco Port Single Use Trocar With Condudtion Sleeves 11.5mm

155

Each

5

13_12_241

Linear Staplers With Knife Disposable, reloadable stapler with knife, size (55-60mm), 4.8 mm staple length, green color..tissue thickness or equivalent

152

Each

6

13_12_242

Linear Staplers With Knife Disposable.Reloadable Stapler with knife,    Size(75-80mm),3.8mm Staple Length, blue Color.. tissue thickness or equivalent

567

Each

7

13_12_243

Linear Staplers With Knife Disposable.Reloadable Stapler with knife,    Size(75-80mm),4.8mm Staple Length, green  Color.. tissue thickness or equivalent

325

Each

8

13_12_244

Linear Staplers With Knife Disposable.Reloadable Stapler with knife,    Size(90-100mm),3.8mm Staple Length, blue  Color.. tissue thickness or equivalent

338

Each

القيادة العامه للقوات المسلحة الاردنية-الجيش العربي

مديرية المشتريات الدفاعية

Page 1 of 7

لجنة الشراء المركزية

الملحق ب للعطاء رقم م ش ع 12/2/13/2026 شراء (Surgical staplers and Disposables)

المواصفات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

9

13_12_245

Linear Staplers With Knife Disposable.Reloadable Stapler with knife,    Size(90-100mm),4.8mm Staple Length, green   Color.. tissue thickness or equivalent

140

Each

10

13_12_252

Disposable Loading Unit for Linear Staplers With Knife Size(55-60mm),4.8mm staple Length,green Color..tissue thickness or equivalent

572

Each

11

13_12_253

Disp.Load.Unit for Linear Stap.With Knife Size(75-80mm),3.8mm Length,blue Color.tissue thickness or equivalent

1533

Each

12

13_12_260

Disposable Loading Unit for Linear Staplers With Knife Size(75-80mm),4.8mm staple Length,green Color..tissue thickness or equivalent

768

Each

13

13_12_261

Disposable Loading Unit for Linear Staplers With Knife Size(90-100mm),3.8mm staple Length,blue Color..tissue thickness or equivalent

1078

Each

14

13_12_262

Disposable Loading Unit for Linear Staplers With Knife Size(90-100mm),4.8mm staple Length,green Color..tissue thickness or equivalent

754

Each

15

13_12_266

Curved Stapling Instrument With Knife Size 40mm,4.8mm Staple Length,green Color..tissue thickness or equivalent

48

Each

16

13_12_273

Circular staplers with knife ,disposable curved circular staplers with knife, size (31mm). tissue thickness or equivalent

200

Each

17

13_12_305

Disp.Load.Unit for Laproscopic Linear Staplers.Handle,.Articulating.Size 30mm,2.5mm staple  Length White Color..tissue thickness or equivalent

125

Each

18

13_12_307

Disp.Load.Unit for Laproscopic Linear Stap.Hand.Artic.Size 45mm,2.5mm Length White Color.. tissue thickness or equivelant

680

Each

Page 2 of 7

Item No

Stock No

Stock Name

Quantity

Unit

19

13_12_308

disposable loading unit  for laproscopic linear staplers handle , articulating  size: 45 mm , 3.5 mm staple  length , blue  color..tissue thickness or equivalent

1093

Each

20

13_12_309

Disposable Loading Unit for Laproscopic Linear Staplers Handle Articulating Size 45mm,4.8mm Staple Length green Color..tissue thickness or equivalent

425

Each

21

13_12_310

Disposable Loading Unit for Laproscopic Linear Staplers Handle Articulating Size 60mm,2.5mm Staple Length white Color..tissue thickness or equivalent

1917

Each

22

13_12_311

Disposable Loading Unit for Laproscopic Linear Staplers Handle, Articulating Size 60mm,3.5mm Staple Length Blue Color..tissue thickness or equivalent

4935

Each

23

13_12_312

Disposable Loading Unit for Laproscopic Linear Staplers Handle ,Articulating Size 60mm,4.8mm Staple Length green Color..tissue thickness or equivalent

2761

Each

24

13_12_313

Laproscopic Disp.Clip Applier 5mm,Medium-Large size.

68

Each

25

13_12_315

Laproscopic Disp.Clip Applier 10mm,Medium-Large Size

2832

Each

26

13_12_316

Laproscopic Disp.Clip Applier 10mm,Large size.

522

Each

27

13_12_320

Disposable Clip Applier for Open Surgery Size Small

627

Each

28

13_12_321

Disposable Clip Applier for Open Surgery Size Medium

1238

Each

29

13_12_322

Disposable Clip Applier for Open Surgery Size Large

380

Each

30

13_12_330

Laproscopic Surgical Trocars With Converters Size 5mm

3540

Each

31

13_12_332

Laproscopic Surgical Trocars With Converters Size 12mm

3978

Each

الملحق ب للعطاء رقم م ش ع 12/2/13/2026 شراء (Surgical staplers and Disposables)

Page 3 of 7

المواصفات و الشروط الخاصة

الملحق ب للعطاء رقم م ش ع 12/2/13/2026 شراء (Surgical staplers and Disposables)

المواصفات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

32

13_12_335

Laproscopic surgical trocars, bladeless optical trocar with fixation cannula Size 12mm.

460

Each

33

13_12_336

Laproscopic surgical trocars, bladeless optical trocar with fixation cannula Size 5mm.

270

Each

34

13_12_343

Disposable loading units for laproscopic staplers with different hights Endo linear stapler loading unit curved tip size 60mm with different hights of staples (2-2.5-3) in the same loading unite for vascular/medium tissue  or equivalent

168

Each

35

13_12_344

Disposable loading units for laproscopic staplers with different hights Endo linear stapler loading unit curved tip size 30mm with different hights of staples (2-2.5-3) in the same loading unite for vascular/medium tissue  ,articulating or equivalent

28

Each

36

13_12_345

Disposable loading units for laproscopic staplers with different hights Endo linear stapler loading unit curved tip size 45mm with different hights of staples (2-2.5-3) in the same loading unite for vascular/medium tissue  ,articulating or equivalent

30

Each

37

13_12_3502

Surgisleeve Small Wound Protector (2.5-6 cm)

368

Each

38

13_12_3503

SURGISLEEVE medium wound protector (5-9 cm)

132

Each

Page 4 of 7

شروط العطـــــــــــــــــــاء

شروط خاصـــــــــــــــــة

1- All goods are to be freshly prepared on dispatch/delivered & should have at least 2/3
its shelf life upon receipt. Any item carrying less than 2/3 of its shelf life upon receipt
should be accompanied with a confirmation that you accept to replace any remaining
unused quantities at your expenses after the expiry date. Said confirmation is subject
to the approval of the director of the Royal Medical Services and will incur a fine, which
will be decided later by DRMS according to the loss that this discrepancy with terms of
the tender has caused.

2- Dispatched/ Delivered goods must show description of goods, expiry date, lot
number, storage condition, manufacturing date, origin of goods and any other
necessary information must be mentioned clearly on the inner & outer packs where
manufacturing date is not applicable then it should be provided on relative documents.

3- The estimated price for any (F.O.C) goods should be stated.

4- Custom clearance of goods shall be the responsibility of the Jordanian armed forces
(JAF) however, suppliers shall bear all costs incurred by handling charges and any
demurrage charges or extra expenses incurred by the ports corporation (including
expenses caused by delay in presenting the necessary documents for either clearing
or transporting the goods to the required location mentioned in the final order, delivery
note issuing charges, unloading charges, local shipping charges etc.) The supplier is
also responsible for providing of all relevant shipping documents, together with the
delivery order(s).

5- After arrival to Jordan DRMS is not responsible for any handling charges for goods
(like charges for issuing delivery order for incoming shipment unloading charges, local
shipping agent’s charges.

6- All parcels, packages any relative documents to be marked: DRMS tender no P44-
2026-STAPLERS GHQ Jordan Armed Forces Amman-Jordan for Jordanian Armed
Forces.

7- Goods must be dispatched/ delivered under the same storage conditions that
comply with their nature, storage conditions must be mentioned clearly on all packages
and relative documents.

8- For offers submitted in Jordanian dinars’ payment will be either by wire transfer or by

Page 5 of 7

الملحق ب للعطاء رقم م ش ع 12/2/13/2026 شراء (Surgical staplers and Disposables)

المواصفات و الشروط الخاصة

الملحق ب للعطاء رقم م ش ع 12/2/13/2026 شراء (Surgical staplers and Disposables)

المواصفات و الشروط الخاصة

cheque to be paid after receiving documents from main medical stores; any other way
of payment will not be accepted and the offers will be rejected by the purchase
committee.

9- Bidders must submit their reservations/queries regarding tender specifications
and/or special terms within the first half of the tender closing period starting from the
tender announcement date. Reservations/queries submitted after the end of this period
shall be rejected.

10- The supplier or his local agent must furnish RMS with a guarantee stamped and
legalized by the notary public equals to 115% of the total value of goods valid for (two
year) after acceptance of goods.

11- “Sold to DRMS” should be printed or stamped or labelled on all outer and inner
individual packs by irremovable ink.

12-All items to be delivered/ shipped in two consignments ( 8-9 months) apart.

13- The quality of items should be according to accepted international standards i.e.
(FDA, EC, us. Pharmacopoeia, European pharmacopoeia, B.P or equivalent
standards), accompanied with quality certificates.

14- Original catalogs and three samples of each of the quoted items must be submitted
 along with the offers for purchase, and receipt purposes showing the same serial
no./item no. as per our tender documents specifications. RMS with this respect
 reserves the right to reject any offer not in compliance with this term.

15- Pricing must include services of sale, shipment, transportation, and delivery from.
Port to MAIN MEDICAL STORES.

16- In case of any worldwide problem or recall of any awarded item or malfunction not
related to implantation procedure or patient characteristic. The company is obliged to
replace any remains quantities with equivalent or better materials otherwise DRMS has
the right to buy these materials from another sources and impose you the differences
of prices and any penalties according to the rules and regulations of DRMS.

17- Offers submitted by vendors with previously complaints or unsolved issues will be
excluded from the current tender.

18- Goods should be previously evaluated and approved inDRMS or purchased by
 "central procurement branch " or by " directorate of defenseprocurement " , for the
 previously evaluated & approved items the approve certificateand the previous
 legalized purchases orders should be provided along with the offers.

Page 6 of 7

19-Any additional (free of charge) quantities offered by the bidders will be taken into
considration when calculating the unit price of the required item.

20- For the loading units requisted, each company should provide DRMS with number
of handles on FOC basis taking intocosiderations the acceptable number of loading
units that could be fired with each handle.

الملحق ب للعطاء رقم م ش ع 12/2/13/2026 شراء (Surgical staplers and Disposables)

المواصفات و الشروط الخاصة

Page 7 of 7