	الملحق (ب) لدعوة العطاء رقم م ش ع5/66/67/2025

	Annex 9: Surgical Instruments



A: Wards

	Item A-1
	Dressing Set
	Qty. (22)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Dressing scissor 14 cm 
	1
	
	

	2
	Bandage scissor 16 cm 
	1
	
	

	3
	Forceps 16 cm , toothed
	1
	
	

	4
	Forceps 16 cm , non-toothed
	1
	
	

	5
	Clamp 16 cm
	1
	
	

	6
	Handle knife #3
	1
	
	

	7
	Kidney dish 20 cm
	1
	
	

	8
	Gallipot 150 ml 
	1
	
	


B:  Trauma 
	Item B-1
	Major Trauma set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Abdominal retractor 
	1
	
	

	2
	Kidney dish
	1
	
	

	3
	Sponge 
	1
	
	

	4
	Needle holder 
	3
	
	

	5
	Babcock 
	4
	
	

	6
	Allis 
	4
	
	

	7
	Right angle 
	3
	
	

	8
	9 inch clamp
	3
	
	

	9
	7 inch clamp
	4
	
	

	10
	5 inch clamp
	6
	
	

	11
	Intestinal clamp 
	3
	
	

	12
	Scissor tissue 
	3
	
	

	13
	Scissor stitch 
	2
	
	

	14
	Towel clip 
	5
	
	

	15
	Kocher 
	3
	
	

	16
	Tooth forceps 
	2
	
	

	17
	Non tooth forceps 
	6
	
	

	18
	Russian forceps 
	1
	
	

	19
	Vascular clamp 
	5
	
	

	20
	Stansky clamp 
	2
	
	

	21
	Bulldog clamp 
	2
	
	

	22
	Pots scissor  
	3
	
	

	23
	vein retractor 
	1
	
	

	24
	Handle knife 
	2
	
	

	25
	Self-retractor 
	2
	
	

	26
	Malleable retractor  
	2
	
	

	27
	Morass retractor 
	3
	
	

	28
	Pelvis retractor 
	1
	
	

	29
	Kocher retractor “catspaw” 
	2
	
	

	30
	Far above  
	3
	
	

	31
	Lange beck reactor 
	3
	
	

	32
	Diver retractor 
	2
	
	

	33
	Younker suction 
	1
	
	

	34
	Poole suction 
	1
	
	


	Item B-2
	Minor Vascular Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Self-retractor 
	3
	
	

	2
	5 inch clamp
	2
	
	

	3
	Needle holder 
	2
	
	

	4
	Tissue scissor 
	1
	
	

	5
	Stich scissor 
	1
	
	

	6
	Butts scissor 
	1
	
	

	7
	Right angle 
	2
	
	

	8
	Towel clip 
	4
	
	

	9
	Farabuf retractor 
	2
	
	

	10
	Langen peck retractor 
	2
	
	

	11
	Vine retractor 
	1
	
	

	12
	Catspaw retractor 
	2
	
	

	13
	Maniple retractor 
	1
	
	

	14
	Handle knife 
	1
	
	

	15
	Forceps tooth 
	2
	
	

	16
	Forceps non tooth 
	4
	
	

	17
	Tip suction 
	1
	
	

	18
	Kidney dish  
	1
	
	

	19
	Sponge clamp
	1
	
	

	20
	Bulldog clamp 
	1
	
	

	21
	Debakey vascular clamp 
	10
	
	


	Item B-3
	Major Thoractomy Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Finochetto rip speeder  / extra blade 
	3
	
	

	2
	Kidney dish 
	1
	
	

	3
	Babcock 
	2
	
	

	4
	Lung forceps 
	6
	
	

	5
	Sponge 
	1
	
	

	6
	Scapular 
	2
	
	

	7
	Lung retractor 
	2
	
	

	8
	Rip approximate   
	1
	
	

	9
	Twister  
	1
	
	

	10
	Pone cuter 
	1
	
	

	11
	Wire cuter 
	1
	
	

	12
	Pone rongeur 
	2
	
	

	13
	Periosteal 
	1
	
	

	14
	Osteotome 
	1
	
	

	15
	Seldin
	1
	
	

	16
	Curette 
	1
	
	

	17
	Pots scissor  
	1
	
	

	18
	bulldog
	1
	
	

	19
	Vein retractor 
	1
	
	

	20
	9 inch clamp
	4
	
	

	21
	7 inch clamp
	3
	
	

	22
	5 inch clamp
	4
	
	

	23
	Right angle 
	2
	
	

	24
	Allis 
	2
	
	

	25
	Tooth forceps 
	2
	
	

	26
	Non tooth forceps 
	3
	
	

	27
	Handle knife 
	2
	
	

	28
	Needle holder 
	3
	
	

	29
	Scissor stich 
	1
	
	

	30
	Scissor stich 
	2
	
	

	31
	Lange peck retractor 
	2
	
	

	32
	Firebug retractor 
	2
	
	

	33
	Kocher clamp
	1
	
	

	34
	Morass retractor 
	1
	
	

	35
	Vascular clamp 
	2
	
	

	36
	Stansky clamp 
	1
	
	

	37
	Towel  clip 
	4
	
	

	38
	Younker suction 
	1
	
	


	Item B-4
	Laparotomy Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Kidney dish 
	1
	
	

	2
	Needle holder 
	4
	
	

	3
	Kocher 
	5
	
	

	4
	Handle knife 
	2
	
	

	5
	Towel clip 
	4
	
	

	6
	Far above reactor 
	3
	
	

	7
	Deaver retractor  
	1
	
	

	8
	Malleable retractor 
	1
	
	

	9
	9+7+5 inch 
	16
	
	

	10
	Bab cock 
	4
	
	

	11
	Sponge clamp
	2
	
	

	12
	Right angle clamp 
	3
	
	

	13
	Langen beck retractor 
	3
	
	

	14
	Morris retractor
	3
	
	

	15
	Tooth forceps 
	2
	
	

	16
	Non Tooth forceps 
	4
	
	

	17
	Yonker suction 
	1
	
	

	18
	Tissue scissor 
	2
	
	

	19
	Stich scissor 
	2
	
	

	20
	Rack retractor 
	1
	
	

	21
	Allis clamp
	5
	
	

	22
	Potts scissor 
	1
	
	

	23
	Doyen retractor
	1
	
	

	24
	Vine retractor 
	1
	
	

	25
	Abdominal sucker  
	1
	
	

	26
	Abdominal self-retractor 
	1
	
	

	27
	st mark's pelvic retractor
	1
	
	

	28
	Intestinal clamp
	4
	
	

	29
	Stone forceps clamp 
	1
	
	


	Item B-5
	Craniotomy Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Handle knife 10
	3
	
	

	2
	Kidney dish 
	2
	
	

	3
	Tooth forceps short, long, fine
	4
	
	

	4
	Tissue forceps
	1
	
	

	5
	Non tooth forceps and dura forceps 
	2
	
	

	6
	Brain cannula 
	1
	
	

	7
	Bone never
	2
	
	

	8
	dissector
	1
	
	

	9
	Rack letrader 
	1
	
	

	10
	Bayonet forceps
	1
	
	

	11
	Scissor  Dissecting 
	1
	
	

	12
	Scissor  Dural 
	2
	
	

	13
	Scissor  stich 
	1
	
	

	14
	Bon nipplar big 
	2
	
	

	15
	Laksel 
	2
	
	

	16
	Laksel small 
	1
	
	

	17
	Suction 
	4
	
	

	18
	5 inch clamp 
	5
	
	

	19
	3 inch clamp
	3
	
	

	20
	Curved clamp 
	9
	
	

	21
	Towel clip 
	6
	
	

	22
	Needle holder fine , short , long
	4
	
	

	23
	Pituitary 
	1
	
	

	24
	Curate 
	2
	
	

	25
	Sponge holder
	1
	
	

	26
	Instrument holder
	2
	
	

	27
	Hi jack 
	1
	
	

	28
	Self-retaining straight big / small
	4
	
	

	29
	Self-retaining curved
	1
	
	

	30
	Self-retaining 
	1
	
	

	31
	Periosteal 
	2
	
	

	32
	Freire elevator 
	2
	
	

	33
	Brain spatula 
	3
	
	

	34
	Sharp hack 
	1
	
	

	35
	Plant hack 
	1
	
	

	36
	Curved clamp holder 
	10
	
	


	Item B-6
	E.N.T Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Nasal speculum
	3
	
	

	2
	TINIHANKLE
	3
	
	

	3
	FORCEPS 
	2
	
	

	4
	FRIAER
	1
	
	

	5
	SUCTION
	1
	
	


	Item B-7
	Major Vascular Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Self-retractor 
	2
	
	

	2
	Abdominal retractor self 
	1
	
	

	3
	Babcock 
	4
	
	

	4
	7 inch clamp
	3
	
	

	5
	Mosquito clamp 
	3
	
	

	6
	Needle holder 
	3
	
	

	7
	Lung forceps clamp 
	4
	
	

	8
	Tissue scissor 
	3
	
	

	9
	Stich scissor 
	1
	
	

	10
	Butts scissor 
	2
	
	

	11
	Right angle 
	3
	
	

	12
	Towel clip 
	5
	
	

	13
	Farabuf retractor 
	3
	
	

	14
	Langen peck retractor 
	2
	
	

	15
	Vine retractor 
	1
	
	

	16
	Morris retractor 
	3
	
	

	17
	Devers retractor 
	3
	
	

	18
	Handle knife 
	2
	
	

	19
	Forceps tooth 
	2
	
	

	20
	Forceps non tooth 
	4
	
	

	21
	Younker suction 
	1
	
	

	22
	Abd suction 
	1
	
	

	23
	Kidney dish  
	1
	
	

	24
	Bulldog clamp 
	1
	
	

	25
	Sponge clamp 
	1
	
	

	26
	Handle for geglii saw wire 
	2
	
	

	27
	Wire saw geglii saw 
	1
	
	

	28
	Debakey vascular clamp 
	18
	
	


	Item B-8
	Orthopedic Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Towel clip 
	4
	
	

	2
	Kidney dish
	1
	
	

	3
	Vascular clamp 
	2
	
	

	4
	Bulldog clamp
	1
	
	

	5
	Right angle 
	2
	
	

	6
	Handle knife 
	2
	
	

	7
	Tooth forceps 
	2
	
	

	8
	Non tooth forceps 
	4
	
	

	9
	Allis
	2
	
	

	10
	5 inch clamp 
	4
	
	

	11
	7 inch clamp
	4
	
	

	12
	9 inch clamp 
	1
	
	

	13
	Doyen forceps 
	1
	
	

	14
	Osteotome 
	2
	
	

	15
	Files 
	2
	
	

	16
	Wire cuter 
	1
	
	

	17
	Jammer 240g
	1
	
	

	18
	Seldin 
	1
	
	

	19
	Bone curette 
	3
	
	

	20
	Raspatories
	2
	
	

	21
	Handle for geglii saw wire 
	2
	
	

	22
	Wire saw geglii saw 
	1
	
	

	23
	Flat plier 
	1
	
	

	24
	Trach ‘ skin hock ‘
	1
	
	

	25
	Handle with Jacobs chuck 
	1
	
	

	26
	Key for chuck 
	1
	
	

	27
	Bone rongeur 
	1
	
	

	28
	Periosteal elevator  
	3
	
	

	29
	Bone cutter 
	2
	
	

	30
	Cobb spinal gouge 
	2
	
	

	31
	Farabuf retractor 
	2
	
	

	32
	Younker suction
	1
	
	


C: Neuro-Spine
	Item C-1
	Miscellaneous Neurosurgical Instruments
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Dissecting scissor, different sizes and angles
	4
	
	

	2
	Supercut scissor
	4
	
	

	3
	Durotip scissor
	4
	
	

	4
	Surgical scissor
	4
	
	

	5
	Dissecting forceps, different sizes
	4
	
	

	6
	Bionet forceps, different sizes and angles
	4
	
	

	7
	Tissue forceps
	4
	
	

	8
	Needle holder
	4
	
	

	9
	Duro grip needle holder
	4
	
	

	10
	Towel Clamp
	4
	
	

	11
	Handle knives, size 10 & 15, different lengths
	4
	
	

	12
	Kerrison bone, different sizes
	4
	
	

	13
	Rongeurs (pituitary), all sizes and angles
	4
	
	

	14
	Bone nipplar, different sizes
	4
	
	

	15
	Watson-Cheyne
	4
	
	

	16
	Macdonald
	4
	
	

	17
	Curettes, different sizes and angles
	4
	
	

	18
	Curettes for micro discectomy, different sizes and angles
	4
	
	

	19
	Gelea hooks
	4
	
	

	20
	Self retaining retractor, different sizes and angles
	4
	
	

	21
	Forceps for grasping tissue, different sizes
	4
	
	

	22
	Sharp hooks and micro vessel knives, different sizes
	4
	
	

	23
	Blount hooks, different sizes
	4
	
	

	24
	Suction tips, different sizes
	4
	
	

	25
	5in artery clamp curved
	4
	
	

	26
	7in artery clamp curved
	4
	
	

	27
	Mosquito artery clamp
	4
	
	

	28
	Kocher artery clamp
	4
	
	

	29
	Sponge forceps
	4
	
	

	30
	Fryer elevator
	4
	
	

	31
	Posterior and Chiseles, all sizes
	4
	
	

	32
	Hummer & Cutter
	4
	
	

	33
	Kidney Dish
	4
	
	

	34
	Gali Pot
	4
	
	

	35
	Root Retractor
	4
	
	

	36
	Cervical marker needle
	4
	
	

	37
	Jamshidi bone medical needle
	4
	
	

	38
	Gelpi Retractor
	4
	
	


	Item C-2
	Cervical Interbody Fusion Set
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	Item C-3
	Posterior Stabilization Thoracic and Lumbar Spinal System
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	Item C-4
	Posterior Stabilization Cervical Spinal System
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	Item C-5
	Instruments for Anterior Cervical Plating
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	Item C-6
	Retractors for Cervical Spine
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	Item C-7
	Retractors for Lumbar Spine
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	Item C-8
	T-Lumbar Interbody Fusion Set
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	Item C-9
	B-Lumbar Interbody Fusion
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	Item C-10
	Micro Instruments
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Forceps 
	4
	
	

	2
	Needle holder
	4
	
	

	3
	Sharp hooks
	4
	
	

	4
	Blunt hooks
	4
	
	

	5
	Micro scissors, different sizes and angles
	4
	
	


	Item C-11
	Tube Set for Spine Surgery
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	Item C-12
	Cervical Cage Set
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


D: ENT

	Item D-1
	Fess Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Back Bitar
	3
	
	

	2
	Turbinate Scissor
	2
	
	

	3
	Telyhankle Forceps
	7
	
	

	4
	Towel clip
	4
	
	

	5
	Trucut Forceps
	1
	
	

	6
	Mushroom Forceps
	1
	
	

	7
	Tells
	1
	
	

	8
	Curette
	3
	
	

	9
	Sickle Knife
	1
	
	

	10
	Friar
	2
	
	

	11
	Kidney Dish
	3
	
	

	12
	Tip suction
	4
	
	

	13
	High Jak
	2
	
	

	14
	Friar   suction 
	1
	
	

	15
	Curette suction 
	1
	
	

	16
	Seeker
	1
	
	

	17
	Nasal Speculum 
	4
	
	

	18
	Septal Scissor 
	1
	
	

	19
	Hummer
	1
	
	

	20
	Lux Forceps
	1
	
	

	21
	Helis
	1
	
	

	22
	Handle Knife
	1
	
	

	23
	Tooth Forceps
	1
	
	

	24
	Non-Tooth Forceps
	2
	
	

	25
	Chisel  Box
	1
	
	

	26
	Sharp Scissor
	1
	
	

	27
	Needle Holder
	1
	
	

	28
	Mosquitos
	2
	
	

	29
	Curved Suction 
	4
	
	

	30
	Bionet Forceps
	1
	
	

	31
	High jak 
	3
	
	

	32
	Suction frair
	1
	
	

	33
	Stich Scissor
	1
	
	


	Item D-2
	Gromet Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Ear Speculum
	6
	
	

	2
	Crocodile
	2
	
	

	3
	Maringotom
	1
	
	

	4
	Micro Dissector
	1
	
	

	5
	Micro Needle
	1
	
	

	6
	Towel clips
	1
	
	

	7
	5 inch Clamp
	1
	
	

	8
	Suction Cannula
	2
	
	

	9
	Tissue scissors 
	1
	
	


	Item D-3
	Head and Neck Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Kidney dish
	3
	
	

	2
	Needle holder
	4
	
	

	3
	Handle knife
	2
	
	

	4
	Towel clip
	5
	
	

	5
	Far above retractor
	3
	
	

	6
	Periostum Elevator
	2
	
	

	7
	Bab cock
	3
	
	

	8
	Right angle clamp
	2
	
	

	9
	Vein   Retractor
	2
	
	

	10
	Langenbeck  Re tractor
	2
	
	

	11
	Tooth forceps
	3
	
	

	12
	Non-tooth for
	5
	
	

	13
	5inch clamp
	4
	
	

	14
	Tracheal Dilator
	1
	
	

	15
	Tip suction
	2
	
	

	16
	Tissue scissors 
	4
	
	

	17
	Sponge Forceps
	1
	
	

	18
	Rack Retractor
	3
	
	

	19
	Skin Hook
	3
	
	

	20
	7 inch
	2
	
	

	21
	Small Retractor
	3
	
	

	22
	Allis
	2
	
	

	23
	Self-Retaining
	2
	
	

	24
	Friar
	1
	
	

	25
	Probe
	1
	
	

	26
	Cocker
	2
	
	

	27
	Mosquitos Curved +Straight
	7
	
	

	28
	Stich Scissor
	1
	
	

	29
	Sharp Scissor
	1
	
	


	Item D-4
	Mouth Gag Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Mouth Gag Holder
	1
	
	

	2
	Mouth Gag Plate
	9
	
	


	Item D-5
	OTO Plasty Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Friar Dissector
	1
	
	

	2
	Kidney dish
	3
	
	

	3
	Needle holder
	2
	
	

	4
	Ear spatula
	1
	
	

	5
	Handle knife
	2
	
	

	6
	Towel clip
	4
	
	

	7
	Far above retractor
	5
	
	

	8
	Bab cock
	2
	
	

	9
	Sponge Forceps
	1
	
	

	10
	Right angle clamp
	2
	
	

	11
	Vein tractor
	1
	
	

	12
	Small Retractor
	2
	
	

	13
	Tooth forceps
	2
	
	

	14
	Non-tooth for
	4
	
	

	15
	5inch clamp
	8
	
	

	16
	Double Skin hook
	2
	
	

	17
	Tissue scissors
	2
	
	

	18
	Allis
	2
	
	

	19
	Sharp scissors
	1
	
	

	20
	Suction tip
	4
	
	

	21
	Self-retractor
	1
	
	

	22
	Tracheal retractor
	1
	
	


	Item D-6
	Rinoplasty Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Dissector
	3
	
	

	2
	Kidney dish
	3
	
	

	3
	Needle holder
	2
	
	

	4
	Osteotomy Angle
	2
	
	

	5
	Handle knife
	2
	
	

	6
	Towel clips
	4
	
	

	7
	Osteotomy Double

Graded
	2
	
	

	8
	Straight Osteotomy
	5
	
	

	9
	Bone Lever
	2
	
	

	10
	Sponge Forceps
	1
	
	

	11
	Small Retractor
	3
	
	

	12
	Dorsal Retractor
	1
	
	

	13
	Skin Hooke
	6
	
	

	14
	Tooth forceps
	2
	
	

	15
	Non-tooth for
	3
	
	

	16
	5inch clamp
	3
	
	

	17
	Telyhankl
	1
	
	

	18
	Tip suction
	3
	
	

	19
	Rasp
	6
	
	

	20
	Tissue scissors 
	1
	
	

	21
	Tiles
	1
	
	

	22
	Luces  (Lux )
	1
	
	

	23
	Ash Forceps
	1
	
	

	24
	Bone Nobler
	2
	
	

	25
	Nasal speculum
	4
	
	

	26
	Humor
	1
	
	

	27
	Sharp Scissor
	4
	
	

	28
	Bionet Scissor
	1
	
	

	29
	Septo scissor
	1
	
	

	30
	Stich Scissor
	1
	
	

	31
	Cage  Osteotomy 
	1
	
	

	32
	Cartridge  Forceps
	2
	
	


	Item D-7
	SMR Set
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Nasal Speculum
	5
	
	

	2
	Kidney dish
	1
	
	

	3
	Needle holder
	1
	
	

	4
	Double Action
	1
	
	

	5
	Handle knife
	1
	
	

	6
	Towel clips
	3
	
	

	7
	Hells
	1
	
	

	8
	Speculum Scissor
	1
	
	

	9
	Telis
	1
	
	

	10
	Telyhankle
	1
	
	

	11
	Humor
	1
	
	

	12
	Checkbox
	1
	
	

	13
	Friar
	1
	
	

	14
	Lux Forceps
	1
	
	

	15
	Tooth forceps
	1
	
	

	16
	Non-tooth for
	2
	
	

	17
	Tip suction
	2
	
	

	18
	Tissue scissors 
	1
	
	

	19
	Stich Scissor
	1
	
	

	20
	Sharp Scissor
	1
	
	

	21
	Mosquitos 
	2
	
	

	22
	Ash Forceps
	1
	
	

	23
	Bionet Forceps
	1
	
	

	24
	Cartridge  Forceps
	1
	
	

	25
	Curved Suction
	1
	
	


	Item D-8
	Tracheostomy Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Kidney dish
	1
	
	

	2
	Needle holder
	2
	
	

	3
	Handle knife
	1
	
	

	4
	Towel clip
	5
	
	

	5
	Far above retractor
	2
	
	

	6
	Periostum Elevator
	1
	
	

	7
	Bab cock
	2
	
	

	8
	Right angle clamp
	2
	
	

	9
	Vein   Retractor
	1
	
	

	10
	Langenbeck  Re tractor
	2
	
	

	11
	Tooth forceps
	2
	
	

	12
	Non-tooth for
	3
	
	

	13
	5inch clamp
	3
	
	

	14
	Tip suction
	2
	
	

	15
	Tissue scissors 
	2
	
	

	16
	Sponge Forceps
	1
	
	

	17
	Rack Retractor
	2
	
	

	18
	Skin Hook
	3
	
	

	19
	7 inch
	1
	
	

	20
	Small Retractor
	3
	
	

	21
	Allis
	2
	
	

	22
	Self-Retaining
	2
	
	

	23
	Friar
	1
	
	

	24
	Probe
	1
	
	

	25
	Mosquitos Curved +Straight
	5
	
	

	26
	Stich Scissor
	1
	
	

	27
	Sharp Scissor
	1
	
	


	Item D-9
	AsTs Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Kidney dish
	1
	
	

	2
	Needle holder
	1
	
	

	3
	Stand
	2
	
	

	4
	Adenoid Curette
	6
	
	

	5
	Towel clip
	2
	
	

	6
	Friar
	1
	
	

	7
	7 inch Clamp
	1
	
	

	8
	Negus Clamp
	1
	
	

	9
	Tonsil Holder
	1
	
	

	10
	Dissector Retractor
	1
	
	

	11
	Non-tooth forceps
	1
	
	

	12
	Yonkers suction
	1
	
	

	13
	Tissue scissors 
	1
	
	


	Item D-10
	Tympano Plasty Set
	Qty. (3 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Ear Speculum
	7
	
	

	2
	Kidney dish
	3
	
	

	3
	Needle holder
	1
	
	

	4
	End Oral Speculum
	1
	
	

	5
	Handle knife
	1
	
	

	6
	Towel clips
	4
	
	

	7
	High Jack
	1
	
	

	8
	Small Retractor
	2
	
	

	9
	Double Hock
	1
	
	

	10
	Seeker
	1
	
	

	11
	Periostum Elevator
	1
	
	

	12
	Sponge Forceps
	1
	
	

	13
	Compressor Clamp
	1
	
	

	14
	Friar
	1
	
	

	15
	 Self returning
	5
	
	

	16
	Tooth forceps
	1
	
	

	17
	Non-tooth for
	3
	
	

	18
	5inch clamp
	3
	
	

	19
	Tip suction
	4
	
	

	20
	Tissue scissors 
	2
	
	

	21
	Sharp scissors
	2
	
	

	22
	Single Hock
	1
	
	

	23
	Far Above
	1
	
	

	24
	Langenbeck
	1
	
	

	25
	Stich Scissor
	1
	
	


	Item D-11
	Direct Laryngoscope Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Laryngoscope
	10
	
	

	2
	Laryngeal Scissor
	5
	
	

	3
	Cup Forceps
	14
	
	

	4
	Towel clip
	4
	
	

	5
	Laryngeal Retractor
	7
	
	

	6
	Stand
	1
	
	

	7
	Tip Light
	2
	
	

	8
	Stich Scissor
	1
	
	

	9
	Small Receiver
	1
	
	

	10
	5inch clamp
	2
	
	

	11
	Tip suction
	2
	
	

	12
	Skin knife
	1
	
	


	Item D-12
	Micro instrument Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Hartmann Ear Speculum Set (various sizes)
	5
	
	

	2
	Farrior Ear Speculum
	3
	
	

	3
	Alligator Forceps (Straight)
	2
	
	

	4
	Alligator Forceps (Curved)
	2
	
	

	5
	House Micro Ear Scissors (Straight)
	1
	
	

	6
	House Micro Ear Scissors (Curved)
	1
	
	

	7
	Bellucci Micro Ear Scissors (Straight)
	1
	
	

	8
	Bellucci Micro Ear Scissors (Curved)
	1
	
	

	9
	Rosen Pick (Various Angles)
	2
	
	

	10
	House Pick
	2
	
	

	11
	Lempert Elevator
	1
	
	

	12
	Cawthorne Dissector
	1
	
	

	13
	Micro Suction Tube (0.5 mm to 2 mm tips)
	5
	
	

	14
	Suction Irrigator Handle
	1
	
	

	15
	Straight Micro Forceps
	2
	
	

	16
	Curved Micro Forceps
	2
	
	

	17
	Tying Forceps (Straight, 7” or 18 cm)
	2
	
	

	18
	Tying Forceps (Angled)
	2
	
	

	19
	Ear Microscope Instrument Stand
	1
	
	

	20
	Round Knife (Micro)
	1
	
	

	21
	Sickel Knife
	1
	
	

	22
	Rosen Knife
	1
	
	

	23
	Canal Elevator
	1
	
	

	24
	Myringotomy Knife
	1
	
	

	25
	Micro Needle Holder (with Lock)
	1
	
	

	26
	Micro Hook (Right and Left)
	1
	
	

	27
	Otologic Measuring Ruler
	1
	
	


E: Maxillofacial
	Item E-1
	Maxillofacial Instruments, Operation Theatres
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Forceps for anterior upper teeth
	2
	
	

	2
	Forceps for anterior for lower teeth
	2
	
	

	3
	Forceps for Upper Premolar(Universal)
	2
	
	

	4
	Forceps for Lower Premolar(Universal)
	2
	
	

	5
	Forceps for Upper Right  Molar
	2
	
	

	6
	Forceps for Upper Left  Molar
	2
	
	

	7
	Forceps for Lower Molar(Universal)
	2
	
	

	8
	Forceps for Upper 3rd Molar(Universal) Bayonat
	2
	
	

	9
	Forceps for Lower 3rd Molar(Universal)
	2
	
	

	10
	Cryer Forceps for Upper(Anterior, Premolar, Root)
	2
	
	

	11
	Cryer Forceps for Lower(Anterior, Premolar, Root)
	2
	
	

	12
	Forceps for Upper Anterior Root
	2
	
	

	13
	Forceps for Lower Anterior & Premolar Root
	2
	
	

	14
	Forceps for Upper Posterior Root
	2
	
	

	15
	Forceps for Lower Posterior Root
	2
	
	

	16
	Forceps for Upper 3rd Molar Root
	2
	
	

	17
	Forceps for Lower 3rd Molar Root
	2
	
	

	18
	Straight Elevator  Size 1,2,3
	2
	
	

	19
	Straight Elevator Coupland’s Size 1,2,3
	2
	
	

	20
	Warwick James elevator Right
	2
	
	

	21
	Warwick James elevator Left
	2
	
	

	22
	Cryer Regular Elevator
	2
	
	

	23
	Freer Elevator
	2
	
	

	24
	Bone Rongeur
	2
	
	

	25
	Bone Chisel
	2
	
	

	26
	Surgical Wire Cutter
	2
	
	

	27
	Metal Cheek Retractor
	2
	
	

	28
	Variable Retracter
	2
	
	

	29
	2 KocherLangen pick Retractor
	2
	
	

	30
	3 Malleable Retractor
	2
	
	

	31
	Mitchel Trimer
	2
	
	

	32
	Dental Blade Handle
	2
	
	

	33
	Long Surgical  Scissor curve
	2
	
	

	34
	Long Surgical  Scissor straight
	2
	
	

	35
	Dental Surgical Mallet (Hammer) 200 gm
	2
	
	

	36
	Dental Surgical Mallet (Hammer) 300 gm
	2
	
	

	37
	Surgical Hardwire Cutter Max 2.2mm
	2
	
	

	38
	Long Needle Holder
	2
	
	


	Item E-2
	Thyroid Instrument Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	DE BAKEY ATRAUMA FCPS 1,5 MM            
	2
	
	

	2
	DE BAKEY ATRAUMA FCPS 1,5 MM            
	2
	
	

	3
	ZENKER RETRACTOR  35X 8MM               
	1
	
	

	4
	ZENKER RETRACTOR  60X12MM               
	1
	
	

	5
	ZENKER RETRACTOR  75X12MM               
	1
	
	

	6
	HEISS HAEMOST FORCEPS FIG 2             
	1
	
	

	7
	HEISS HAEMOST FORCEPS FIG 3             
	1
	
	

	8
	BABY-ADSON HAEM FORCEPS                 
	1
	
	

	9
	BABY-MIXTER HAEM FORCEPS                
	1
	
	

	10
	OCHSNER HAEM FCPS 1X2 T STR             
	8
	
	

	11
	MICRO-MOSQUITO HAEM FCPS CVD            
	8
	
	

	12
	TC METZENBAUM-FINO SCISSORS BL-BL CVD   
	1
	
	

	13
	TC METZENBAUM-FINO SCISSORS BL-BL CVD   
	1
	
	

	14
	TC METZENBAUM-FINO SCISSORS BL-BL CVD   
	1
	
	

	15
	KOENIG LIGAT.CONDUCT. 19,5CM       
     
	1
	
	

	16
	KOENIG LIGAT.CONDUCT. 19,5CM            
	1
	
	

	17
	DESCHAMPS LIGAT.NEEDLE BLUNT            
	1
	
	

	18
	DESCHAMPS LIGATURE NEEDLE BL            
	1
	
	

	19
	LIGATURE NEEDLE FLEXIBLE                
	1
	
	

	20
	YASARGIL SUCTION TUBE 2 MM              
	1
	
	

	21
	YASARGIL SUCTION TUBE 2.5MM             
	1
	
	

	22
	GUIDE NEEDLE LANC.TP CHAR 8             
	1
	
	

	23
	CONTAINER 300X300X110
	1
	
	

	24
	PERFORATED TRAY  260X260X50 MM
	1
	
	

	25
	IDENT.LABEL WITH TEXT WITHOUT HOLE
	1
	
	

	26
	FRAME, COLOUR CODED RED
	1
	
	


	Item E-3
	Minor Basic Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	GROSS-MAIER DRESS FCPS W RAT            
	4
	
	

	2
	GROSS-MAIER DRESS FCPS W RAT            
	2
	
	

	3
	ALLIS FORCEPS 5/6 TEETH, 6"             
	2
	
	

	4
	BACKHAUS TOWEL FORCEPS                  
	6
	
	

	5
	TOWEL FORCEPS W CLIP                    
	1
	
	

	6
	SCALPEL HANDLE NO 3                     
	1
	
	

	7
	SCALPEL HANDLE NO 4                     
	1
	
	

	8
	KLING-EX BLADE REMOVER                  
	2
	
	

	9
	DRESSING FORCEPS                        
	3
	
	

	10
	DRESSING FORCEPS                        
	2
	
	

	11
	TISSUE FORCEPS 1X2 T                    
	3
	
	

	12
	TISSUE FORCEPS 1X2 T                    
	2
	
	

	13
	TAYLOR DRESS FCPS W SCRAPER             
	1
	
	

	14
	METZENB-NELSON SCS BL-BL CVD            
	2
	
	

	15
	METZENB-NELSON SCS BL-BL CVD            
	1
	
	

	16
	STANDARD SCISSORS BL-SH STR             
	1
	
	

	17
	TC LIGATURE SCISSORS CURVED 17 CM SERRAT
	1
	
	

	18
	IRIS SCISSORS CURVED                    
	1
	
	

	19
	STRABISMUS SCISSORS CVD                 
	1
	
	

	20
	HALSTED-MOSQUITO FCPS  1X2 T            
	4
	
	

	21
	HALSTED-MOSQUITO FCPS  1X2 T            
	4
	
	

	22
	HALSTED-MOSQUITO FCPS CVD               
	4
	
	

	23
	ROCHESTER-PEAN HAEM FCPS STR            
	2
	
	

	24
	OVERHOLT-GEISSENDOERFER FCPS            
	2
	
	

	25
	MIKULICZ PERITONEAL CLAMP               
	4
	
	

	26
	KOCHER RETRACTOR BLUNT                  
	2
	
	

	27
	KOCHER RETRACTOR BLUNT                  
	2
	
	

	28
	CUSHING RETRACTOR 12MM 20 CM            
	2
	
	

	29
	ROUX RETRACTOR FIG. 1                   
	1
	
	

	30
	LANGENBECK RETRACTOR                    
	2
	
	

	31
	TC MAYO-HEGAR NEEDLEHOLDER              
	3
	
	

	32
	TC DE BAKEY NEEDLEHOLDER                
	1
	
	

	33
	DESCHAMPS LIGAT NEEDLE BLUNT            
	1
	
	

	34
	KOENIG LIGAT.CONDUCT. 19,5CM            
	1
	
	

	35
	DOYEN GROOVED DIRECT.14 CM              
	1
	
	

	36
	KRONECKER LIGAT NEEDLE                  
	1
	
	

	37
	PROBE 16 CM/6-1/4"                      
	1
	
	

	38
	GUIDE NEEDLE LANC.TP CHAR 8             
	1
	
	

	39
	GUIDE NEEDLE CVD CHARR 12               
	1
	
	

	40
	GROSS-MAIER DRESS FCPS W RAT            
	1
	
	

	41
	BOWL SATIN 0,3 LTR                      

	2
	
	

	42
	NEEDLE CASE PERFORATED         
         
	1
	
	

	43
	CONTAINER 300X300X140
	1
	
	

	44
	PERFORATED TRAY    260X260X50 MM
	1
	
	

	45
	IDENT.LABEL WITH TEXT WITHOUT HOLE
	1
	
	

	46
	FRAME, COLOUR CODED RED
	1
	
	


	Item E-4
	Orthognathic Surgical Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Bone Rongeur
	2
	
	

	2
	 Surgical Wire Cutter
	2
	
	

	3
	Mitchel Trimer
	2
	
	

	4
	Hajek Mallet 26MM 200G 22CM
	2
	
	

	5
	Obwegeser Blade Osteotome 8MM, 22CM
	2
	
	

	6
	Obwegeser Pterygold Osteotome 118MM,
	2
	
	

	7
	Lower Border Retractor
	2
	
	

	8
	Anterior Ramus Retractor
	2
	
	

	9
	ILLAC Crest Curette 7MM, 17CM With Stop.
	2
	
	

	10
	Obwegeser HM Wire Twister 12.5CM
	2
	
	

	11
	Obwegeser Wire Loop Forceps 15.5CM
	2
	
	

	12
	Dingmann Bone Hold Forceps 19CM
	2
	
	

	13
	Obwegeser illac Crest Retractor 22CM
	2
	
	

	14
	Weitlaner Wullstein Retractor SH 13CM
	2
	
	

	15
	Tobold Tongue Depressor 80MM, 25MM
	2
	
	

	16
	Hartmann Tongue Depressor 75MM, 23MM
	2
	
	

	17
	Lip And Cheek Retractor With Tongue
	2
	
	

	18
	Dingman Raspatory D/E 18CM
	2
	
	

	19
	Obwegeser Raspatory 6MM, 17.5CM
	1
	
	

	20
	Obwegeser Raspatory 7MM, 17.5CM
	1
	
	

	21
	Obwegeser Raspatory 9MM, 17.5CM
	1
	
	

	22
	Obwegeser Raspatory11MM, 17.5CM
	1
	
	

	23
	Obwegeser Mabdib Rim Retractor 17CM
	2
	
	

	24
	Obwegeser Retractor 22CM 70X13/23MM
	2
	
	

	25
	Obwegeser Nasal Spine Retractor 22CM
	2
	
	

	26
	Obwegeser Ramus Clamp 18CM Blade Left
	2
	
	

	27
	Obwegeser Ramus Clamp 18CM Blade Right.
	2
	
	

	28
	Bone Bow Spacer 19.5CM Sh.
	2
	
	

	29
	X-Ray Ruler 50CM
	2
	
	

	30
	Kretschmer Reference Pin 20MM P/10
	2
	
	

	31
	Kretschmer Fixation 16MM f 58.84.00
	1
	
	

	32
	Kretschmer Fixation 66MM f 58.84.00
	2
	
	

	33
	Mini Lambtte Osteotomes 13CM Set/7
	2
	
	

	34
	Mini Lambtte Osteotomes STR 10MM 24CM
	2
	
	

	35
	Smith Bone Spreader 23.5CM
	2
	
	

	36
	Rowe Reposition Forceps 23.5CM Left
	2
	
	

	37
	Rowe Reposition Forceps 23.5CM Right
	2
	
	

	38
	Tessier Maxillary Mobilizer Left.
	1
	
	

	39
	Tessier Maxillary Mobilizer Right
	1
	
	

	40
	Luniatschek Gauze Packer 18CM Sh.
	1
	
	

	41
	Steinhauser Bone Hold Forceps 13CM
	1
	
	

	42
	Steinhauser Bone Hold Forceps16.5CM
	1
	
	

	43
	Aufricht Nasal Retractor 18CM 45X7/10MM
	1
	
	

	44
	Walsham Universal Septum Forceps 23CM
	1
	
	

	45
	Obwegeser Maxilla Mobillizer 23CM 12MM
	1
	
	

	46
	Obwegeser Nasal Septum Osteotome 18.5CM
	1
	
	

	47
	Lip Retractor f Maxilla 21CM
	1
	
	

	48
	Obwegeser Soft Tissue Retractor UpTO 23CM
	1
	
	

	49
	Obwegeser Chin Retractor 16CM
	1
	
	


	Item E-5
	Cleft Lip and Palate Surgery Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Scalpel, Round Handle, 16cm
	1
	
	

	2
	Adson Forceps, 15cm, Serrated
	1
	
	

	3
	Adson Forceps, 15cm, 1x2 Teeth
	1
	
	

	4
	Iris Supercut Scissors, 11.5cm, Curved
	1
	
	

	5
	Iris Supercut Scissors, 11.5cm, Straight
	1
	
	

	6
	Ragnell Kilner Scissors, 13cm, Curved
	1
	
	

	7
	Supercut Plus Kelly T.C. Scissors, 16cm, Curved
	1
	
	

	8
	Metzenbaum T.C. Scissors, 18cm, Curved
	1
	
	

	9
	Crile Wood T.C. Needle Holder, 15cm
	1
	
	

	10
	Blocksma Cleft Palate Hook, 18cm, 3mm, 2 Prong
	1
	
	

	11
	Cleft Palate Raspatory, 14cm, #1 Left
	1
	
	

	12
	Cleft Palate Raspatory, 14cm, #2 Right
	1
	
	

	13
	Kahre Cleft Palate Raspatory, 17cm
	1
	
	

	14
	Mcindoe Cleft Palate Raspatory, 16.5cm
	1
	
	

	15
	Muco-Periosteal Retractor, 19cm
	1
	
	

	16
	Wang Cleft Palate Elevator, 15.5cm

	1
	
	

	17
	Wang Cleft Palate Elevator, 18cm, Right
	1
	
	

	18
	Wang Cleft Palate Elevator, 18cm, Left
	1
	
	

	19
	Wang Cleft Palate Elevator, 18cm, Right Angled
	1
	
	

	20
	Wang Cleft Palate Elevator, 18cm, Left Angled
	1
	
	

	21
	Castroviejo Caliper, 7cm, 20mm Measuring Range
	1
	
	

	22
	Dingman Mouth Gag, Complete Set With 3 Blades
	1
	
	

	23
	Stainless Steel Sterilizing Box
	1
	
	


F: Transplant
	Item F-1
	Donor Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Kidney Dish + Basin
	5
	
	

	2
	Handle Knife
	2
	
	

	3
	Sponge
	2
	
	

	4
	Needle Holder
	11
	
	

	5
	Cocker
	4
	
	

	6
	Towel Clip
	6
	
	

	7
	Mosquito
	12
	
	

	8
	5 Inch
	4
	
	

	9
	7 Inch+ 9 Inch
	5
	
	

	10
	Allis + Bab Cock
	6
	
	

	11
	Kelly
	6
	
	

	12
	Right Angle
	12
	
	

	13
	Tissue Scissor
	6
	
	

	14
	Stitch  Scissor
	2
	
	

	15
	Potts Scissor
	2
	
	

	16
	Vascular Clamp
	22
	
	

	17
	Liga Clip
	5
	
	

	18
	Hummer
	1
	
	

	19
	Far Above
	2
	
	

	20
	Deaver
	3
	
	

	21
	Malleable
	2
	
	

	22
	LangenBik
	2
	
	

	23
	Morris
	3
	
	

	24
	Vein Retractor
	2
	
	

	25
	Yonkers Suction 
	1
	
	

	26
	Tip  Suction
	2
	
	

	27
	ABD  Suction
	2
	
	

	28
	Tooth Forceps
	2
	
	

	29
	Non Tooth Forceps
	12
	
	

	30
	Bulldog
	2
	
	

	31
	Watson Chane
	2
	
	


	Item F-2
	Recipient Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Kidney Dish + Basin
	5
	
	

	2
	Handle Knife
	2
	
	

	3
	Sponge
	2
	
	

	4
	Needle Holder
	13
	
	

	5
	Cocker
	6
	
	

	6
	Towel Clip
	6
	
	

	7
	Mosquito
	18
	
	

	8
	5 Inch
	6
	
	

	9
	7 Inch
	3
	
	

	10
	9 Inch
	3
	
	

	11
	Allis
	5
	
	

	12
	Kelly
	8
	
	

	13
	Bab Cock
	6
	
	

	14
	Right Angle
	9
	
	

	15
	Tissue Scissor
	8
	
	

	16
	Stitch  Scissor

	2
	
	

	17
	Potts Scissor
	2
	
	

	18
	Vascular Clamp
	20
	
	

	19
	Liga Clip
	6
	
	

	20
	Hummer
	1
	
	

	21
	Far Above
	2
	
	

	22
	Deaver
	3
	
	

	23
	Malleable
	2
	
	

	24
	LangenBik
	2
	
	

	25
	Morris
	3
	
	

	26
	Vein Retractor
	2
	
	

	27
	Yonkers Suction 
	1
	
	

	28
	Tip  Suction
	2
	
	

	29
	ABD  Suction
	2
	
	

	30
	Tooth Forceps
	4
	
	

	31
	Non Tooth Forceps
	11
	
	

	32
	Bulldog
	3
	
	

	33
	Watson Chan
	2
	
	


	Item F-3
	Liver Retractor Set
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Stand Retractor
	2
	
	

	2
	Rode Joint
	1
	
	

	3
	Devers Retractor
	4
	
	

	4
	Morris Retractor
	7
	
	

	5
	Straight Connections
	5
	
	

	6
	Rack retractor
	1
	
	

	7
	stand connection
	3
	
	

	8
	Malleable  Retractor
	7
	
	


	Item F-4
	Micro Instrument set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Small Clips
	6
	
	

	2
	Tissue Scissors
	2
	
	

	3
	Stich Scissors 
	1
	
	

	4
	Potts Scissors
	2
	
	

	5
	Dilator ( Probe )
	5
	
	

	6
	Tooth Forceps
	1
	
	

	7
	Non Tooth Forceps
	6
	
	

	8
	Needle Holder
	2
	
	

	9
	Rt angle Forceps
	3
	
	

	10
	Gastro ( needle holder )
	2
	
	


	Item F-5
	Perfusion Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	kidney dish
	1
	
	

	2
	Mosquito clamp
	8
	
	

	3
	Needle holder
	2
	
	

	4
	Friar Dissector
	1
	
	

	5
	Small Retractor
	2
	
	

	6
	Towel clip
	3
	
	

	7
	Gastro Needle Holder
	1
	
	

	8
	Liga clip
	1
	
	

	9
	Right angle clamp
	2
	
	

	10
	Vein tractor
	2
	
	

	11
	Kelly clamp
	2
	
	

	12
	Non-tooth for
	3
	
	

	13
	5inch clamp
	2
	
	

	14
	Tissue scissors 
	2
	
	

	15
	Potts-scissor
	2
	
	

	16
	Bulldog
	1
	
	


	Item F-6
	Vascular Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Stansky clamp Different Size
	8
	
	

	2
	Carved Vascular Clamp
	12
	
	

	3
	Straight Vascular Clamp
	2
	
	

	4
	Clover Vascular Clamp
	3
	
	


G: Thoracic
	Item G-1
	Major Thoracic Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Basin+ Dowen
	3
	
	

	2
	Kidney dish
	1
	
	

	3
	Needle holder
	4
	
	

	4
	Kocher
	4
	
	

	5
	Handle knife
	2
	
	

	6
	Towel clip
	7
	
	

	7
	Far above retractor
	4
	
	

	8
	Deaver
	2
	
	

	9
	Malleable
	4
	
	

	10
	Bab cock
	4
	
	

	11
	Sponge
	3
	
	

	12
	Right angle clamp
	5
	
	

	13
	Morris tractor
	5
	
	

	14
	Vein tractor
	1
	
	

	15
	Small self-returning
	1
	
	

	16
	 Lung Forceps
	6
	
	

	17
	Straight 9 inch
	1
	
	

	18
	Tooth forceps
	3
	
	

	19
	Non-tooth for
	11
	
	

	20
	5inch clamp
	7
	
	

	21
	ABD suction
	1
	
	

	22
	7 inch clamp
	1
	
	

	23
	Yonkers suction
	3
	
	

	24
	Tissue scissors 
	5
	
	

	25
	Potts-scissor
	2
	
	

	26
	POL DOG
	1
	
	

	27
	RUSSIAN forceps
	2
	
	

	28
	VASCULAR CLAMP
	9
	
	

	29
	curette
	1
	
	

	30
	Straight 5inch clamp
	4
	
	

	31
	Allis
	3
	
	

	32
	LUNG RETRACTER
	2
	
	

	33
	FRIAR
	4
	
	

	34
	RIB APPROXIMATE
	2
	
	

	35
	BONE NIBBLER
	2
	
	

	36
	SCAPULA
	2
	
	

	37
	RIB SPREADER
	4
	
	

	38
	BONE CUTTER
	4
	
	


	Item G-2
	Minor Thoracic Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Scalpel handle with blades
	1
	
	

	2
	Skin and soft tissue retractors (Senn, Army-Navy)
	3
	
	

	3
	Rib Spreader (small Finochietto)
	1
	
	

	4
	Periosteal Elevator
	2
	
	

	5
	Rib Shears or Rib Cutter
	1
	
	

	6
	Rib Elevator / Hook
	2
	
	

	7
	Hemostatic Forceps (Pean, Kelly)
	4
	
	

	8
	Curved and straight Metzenbaum scissors
	2
	
	

	9
	Needle Holder (Mayo-Hegar)
	2
	
	

	10
	Tissue Forceps (Adson with teeth, Debakey)
	2
	
	

	11
	Suture Scissors
	1
	
	

	12
	Suction tip (Yankauer or Frazier)
	1
	
	

	13
	Long Allis or Babcock forceps
	2
	
	

	14
	Rongeurs (small) – optional
	1
	
	


	Item G-3
	Midsternotomy Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Basin+ down
	2
	
	

	2
	Kidney dish
	1
	
	

	3
	Needle holder
	6
	
	

	4
	Kocher
	9
	
	

	5
	Handle knife
	2
	
	

	6
	Towel clip
	5
	
	

	7
	Far above retractor
	2
	
	

	8
	Dever
	3
	
	

	9
	Mylable
	4
	
	

	10
	WIRE CUTTER
	1
	
	

	11
	Bab cock
	3
	
	

	12
	Sponge
	2
	
	

	13
	Right angle clamp
	7
	
	

	14
	Morris tractor
	2
	
	

	15
	Vein tractor
	1
	
	

	16
	Small self returning
	1
	
	

	17
	Langenbeck tractor
	1
	
	

	18
	FRIER
	2
	
	

	19
	Tooth forceps
	2
	
	

	20
	Non-tooth for
	5
	
	

	21
	5inch clamp
	9
	
	

	22
	Abd suction
	1
	
	

	23
	Tip suction
	1
	
	

	24
	Yencker suction
	1
	
	

	25
	Tissue scissors 
	6
	
	

	26
	twister
	1
	
	

	27
	Potts-scissor
	1
	
	

	28
	POL DOG
	1
	
	

	29
	RUSSIAN forceps
	1
	
	

	30
	VASCULAR CLAMP
	10
	
	

	31
	PERI OSTUM
	3
	
	

	32
	Straight 9inch
	1
	
	

	33
	 Sternal Retractor 
	2
	
	

	34
	Allis
	5
	
	

	35
	Handle saw
	2
	
	

	36
	saw
	1
	
	

	37
	Bone nippler
	2
	
	

	38
	Bone cutter
	5
	
	


	Item G-4
	V.A.M Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	A
	Video-Assisted Instruments (V)
	
	
	

	1
	Thoracoscope (Video scope)
	1
	
	

	2
	Trocar ports
	4
	
	

	3
	Endoscopic graspers
	3
	
	

	4
	Endoscopic scissors
	2
	
	

	5
	Endoscopic dissectors
	2
	
	

	6
	Lens for VAM (Lense VAM)
	2
	
	

	B
	Anastomosis Instruments (A)
	
	
	

	1
	Vascular clamps (BX Forceps)
	4
	
	

	2
	Needle holders
	2
	
	

	3
	Fine forceps
	3
	
	

	4
	Tissue scissors
	1
	
	

	5
	Ligating clips/staplers
	2
	
	

	C
	Mediastinal Instruments (M)
	
	
	

	1
	Rib spreaders
	1
	
	

	2
	Periosteal elevators
	2
	
	

	3
	Suction irrigation system
	4
	
	

	4
	Aspiration needles
	2
	
	

	5
	Lung retractors
	2
	
	

	6
	Metzenbaum scissors
	2
	
	

	7
	Hemostats
	5
	
	

	8
	Scalpel
	2
	
	

	9
	Dissector
	1
	
	


	Item G-5
	V.A.T Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Kidney dish
	2
	
	

	2
	Needle holder
	2
	
	

	3
	Kocher
	4
	
	

	4
	Handle knife
	2
	
	

	5
	Towel clip
	6
	
	

	6
	Far above retractor
	2
	
	

	7
	LUNG FORCEPS
	2
	
	

	8
	Bab cock
	3
	
	

	9
	Sponge
	4
	
	

	10
	Right angle clamp
	1
	
	

	11
	Small retractor
	2
	
	

	12
	Lange beck tractor
	2
	
	

	13
	Tooth forceps
	2
	
	

	14
	Non-tooth for
	4
	
	

	15
	5inch clamp
	5
	
	

	16
	Yonkers suction
	1
	
	

	17
	Tissue scissors 
	4
	
	

	18
	8 Inch clamp curved
	4
	
	

	19
	8 Inch clamp straight
	2
	
	

	20
	curret
	1
	
	

	21
	Self retin
	1
	
	

	22
	Rib retractor
	2
	
	

	23
	Vascular Clamp
	1
	
	

	24
	Stich scissor
	1
	
	

	25
	Suction irrigation straight 5mm
	1
	
	

	26
	Suction irrigation sit 5mm angulated 
	1
	
	

	27
	Suction irrigation sit 10mm angulated
	1
	
	

	28
	Plural abraders straight and angulated
	2
	
	

	29
	Bab cock angulated
	1
	
	

	30
	Lung forceps angulated
	1
	
	

	31
	Sponge holding forceps angulated
	1
	
	

	32
	Stansky  forceps angulated
	1
	
	

	33
	Left curved angulated
	1
	
	

	34
	Depaci forceps straight and angulated
	2
	
	

	35
	Bx. forceps angulated
	2
	
	

	36
	Knot pusher angulated
	1
	
	


	Item G-6
	Extended V.A.T Subxiphoid Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	30° Thoracoscope Camera
	1
	
	

	2
	5 mm Thoracoscopic Port
	2
	
	

	3
	10 mm Thoracoscopic Port
	1
	
	

	4
	Subxiphoid Retractor
	1
	
	

	5
	Wound Protector (e.g., Alexis O)
	1
	
	

	6
	Soft Tissue Spreader
	1
	
	

	7
	Endoscopic Maryland Dissector
	2
	
	

	8
	Endoscopic Right-Angle Dissector
	1
	
	

	9
	Endoscopic Scissors
	1
	
	

	10
	Hook Electrocautery
	1
	
	

	11
	Ultrasonic or Bipolar Energy Device (e.g., LigaSure)
	1
	
	

	12
	Endoscopic Babcock Forceps
	2
	
	

	13
	Endoscopic Lung Grasper
	1
	
	

	14
	Suction-Irrigation Device
	1
	
	

	15
	Endoscopic Clip Applier (M/L size)
	1
	
	

	16
	Vascular Endoscopic Stapler
	1
	
	

	17
	Stapler Cartridges (vascular/tissue)
	1
	
	

	18
	Endoscopic Needle Holder
	1
	
	

	19
	Endoscopic Needle Holder
	1
	
	

	20
	CO₂ Insufflation System
	1
	
	

	21
	Sternal Elevator/Lifting Device
	1
	
	

	22
	Rigid Endoscope (0° or 30°)
	1
	
	


	Item G-7
	Rigid Bronchoscopy Set (Adult)
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Bronchoscopes Different lengths and sizes as per need 45cm
	2
	
	

	2
	Bronchoscopes Different lengths and sizes as per need35cm
	2
	
	

	3
	Bronchoscopes Different lengths and sizes as per need 30c
	2
	
	

	4
	Suction Tubes Different lengths as you can see in the pi 45c
	2
	
	

	5
	Suction Tubes Different lengths as you can see in the pi30c
	2
	
	

	6
	Micro Serrated Forceps for Bronchoscopy 45cm Length
	2
	
	

	7
	Micro Grasper for Bronchoscopy 45cm Length
	2
	
	

	8
	Wooden Box Premium Quality
	1
	
	


	Item G-8
	Rigid Bronchoscopy Set (Paediatric)
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Sterilization Pan
	1
	
	

	2
	Laryngoscope Holder
	1
	
	

	3
	Pilling Pediatric Laryngoscope with Light Carrier
	1
	
	

	4
	Fiber Optic Cable
	2
	
	

	5
	Bronchoscope with Light Carrier
	1
	
	

	6
	3.5x20 Bronchoscope
	2
	
	

	7
	 2.5x20 Bronchoscope
	2
	
	

	8
	Light Carrier Adaptor
	2
	
	

	9
	Sealing Port Adaptor
	1
	
	

	10
	Sealing Port Window
	1
	
	

	11
	Breathing Circut Adaptor
	1
	
	

	12
	Alligator Grasper
	2
	
	

	13
	Biopsy Forcep
	4
	
	

	14
	Gray Port Seals
	2
	
	

	15
	Black Port Plug
	2
	
	


	Item G-9
	Rigid Esophagoscope Set with Dilator
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Esophagoscope 20cm
	1
	
	

	2
	Esophagoscope 25cm
	1
	
	

	3
	Esophagoscope 30cm
	1
	
	

	4
	Esophagoscope 35cm
	1
	
	

	5
	Esophagoscope 45cm
	1
	
	

	6
	Micro Cup Forceps For Esophagoscopy 50cm length
	2
	
	

	7
	Micro Forceps Graspers for Esophagoscopy 50cm Length
	3
	
	

	8
	3 Micro Suction Tubes For Esophagoscopy
	3
	
	

	9
	Universal Light Cord which can be used with all Famous Brands Light Source with compatible with Esophagoscopes
	1
	
	

	10
	Premium Quality Wooden Box packing for Esophagoscope Set
	1
	
	


	Item G-10
	Rib Fixation Set with Plate + Screw
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Reduction Forcep Double Large
	2
	
	

	2
	Reduction Forcep Curved
	2
	
	

	3
	Reduction Forcep Double Small
	2
	
	

	4
	Reduction Forcep Single
	2
	
	

	5
	Plate Insert Forcep
	2
	
	

	6
	Rib Plate Cutter
	2
	
	

	7
	Periosteal Elevator 9mm
	2
	
	

	8
	Periosteal Elevator 12mm
	2
	
	

	9
	Empty Container
	1
	
	

	10
	Rib plates 4 holes 45 mm
	8
	
	

	11
	Rib plates 5 holes 30 mm
	8
	
	

	12
	Rib plates 5 holes 45 mm
	8
	
	

	13
	Rib plates 5 holes 55 mm
	8
	
	

	14
	Rib plates 6 holes 30 mm
	8
	
	

	15
	Rib plates 4 holes 45 mm
	8
	
	

	16
	Rib plates 6 holes 55 mm
	8
	
	

	17
	Screw deferent size ( as case )
	2 cases 
	
	


	Item G-11
	Laparoscopic Nissen Fundoplication
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Laparoscopic Maryland Grasper
	1
	
	

	2
	Laparoscopic Curved Scissor
	2
	
	

	3
	Laparoscopic Bowel Grasper
	1
	
	

	4
	Laparoscopic Maxi Grasper
	1
	
	

	5
	Laparoscopic Claw Grasper
	1
	
	

	6
	Laparoscopic Babcock Grasper
	1
	
	

	7
	Laparoscopic Trocar Cannula (10mm & 5mm)
	5/5
	
	

	8
	Laparoscopic Bipolar Maryland Grasper
	1
	
	

	9
	Laparoscopic Needle Holder
	1
	
	

	10
	Laparoscopic Bipolar Cable
	1
	
	

	11
	Laparoscopic Monopolar Cable
	1
	
	

	12
	Laparoscopic Clip Applicator (10mm Long Rod)
	1
	
	

	13
	Laparoscopic Monopolar L Hook & Spatula
	1
	
	

	14
	Laparoscopic Ring Applicator
	1
	
	

	15
	Laparoscopic Myoma Screws (5mm & 10mm)
	5/5
	
	

	16
	Laparoscopic Safety Trocar (10mm)
	3
	
	

	17
	Laparoscopic Reducer Metal (10mm to 5mm)
	1/1
	
	

	18
	Laparoscopic 3 Fan Prong Retractor
	1
	
	

	19
	Laparoscopic Aspiration Needle
	2
	
	

	20
	Laparoscopic Veress Needle (100mm, 120mm, 140mm)
	1/1/1
	
	

	21
	Laparoscopic Suction Irrigation Cannula
	3
	
	

	22
	Laparoscopic Knot Pusher (5mm)
	3
	
	

	23
	Laparoscopic Spoon Forceps (10mm)
	2
	
	

	24
	Laparoscopic Claw Grasper (10mm)
	1
	
	

	25
	Laparoscopic Port Closure
	3
	
	

	26
	Laparoscopic Reducer Silicon Plastic
	2
	
	

	27
	Laparoscopic Trocar With Cannula (7mm)
	1
	
	

	28
	Laparoscopic Silicon Washer (5mm & 10mm)
	1/1
	
	


	Item G-12
	First Rib Resection Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Allis Willauer Tissue Forceps 5X6 Teeth 10"
	6
	
	

	2
	Leksell Stille Rongeur 9 1/2" Curved 3mm Double Action 
	1
	
	

	3
	Stille-Liston Bone Cutting Forceps Angled Blade 10 1/2"
	1
	
	

	4
	Sauerbruch Rongeur 12"
	1
	
	

	5
	Collin Duval Lung Grasping Forceps 9" Wide Jaws 1"
	2
	
	

	6
	Doyen Rib Elevator and Rasp 7" (17cm) Right
	1
	
	

	7
	Doyen Rib Elevator and Rasp 7" (17cm) Left
	1
	
	

	8
	Bethune Rib Shears 13 3/4"
	1
	
	

	9
	Crile Wood Needle Holder Tungsten Carbide Jaws Serrated 10"
	2
	
	

	10
	Debakey Multipurpose Clamp Angle 60 - 5cm Jaws Size 8 1/4"
	2
	
	

	11
	Matson Alexander Rib Elevator 8 3/4" (22cm)
	1
	
	

	12
	Matson Rib Elevator 8 3/4" (22cm)
	1
	
	

	13
	Burford Finochietto Rib Spreader Light Weight Aluminum 10" Spread
	1
	
	

	14
	Bailey Rib Contractor Standard
	2
	
	

	15
	Allison Lung Retractor 12 3/4"
	2
	
	


	Item G-13
	Pectus Set
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Pectus Bar Introducer
	1
	
	

	2
	Pectus Bar Flipper / Rotator
	1
	
	

	3
	Pectus Bar Bender
	1
	
	

	4
	Bar Clamp / Stabilizer Clamp
	2
	
	

	5
	Rib Hook or Chest Wall Elevator
	2
	
	

	6
	Tunneler – Right
	1
	
	

	7
	Tunneler – Left
	1
	
	

	8
	Blunt Dissector (long, curved)
	2
	
	

	9
	Mallet (Soft or Nylon Head)
	1
	
	

	10
	Wire Passer or Curved Clamp
	1
	
	

	11
	Hemostatic Forceps (e.g., Pean, Kelly)
	4
	
	

	12
	Long Needle Holder
	2
	
	

	13
	Suture Scissors (Mayo or Metzenbaum)
	1
	
	

	14
	Suction Tip (Yankauer or Frazier)
	1
	
	

	15
	Measuring Tape / Bar Template
	1
	
	

	16
	Skin Marking Pen (Sterile)
	1
	
	


	Item G-14
	Pectus Retractor
	Qty. (1 Set)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Pectus (Sternal) Retractor Frame
	1
	
	

	2
	Retractor Blades – Short
	1
	
	

	3
	Retractor Blades – Long
	1
	
	

	4
	Ratcheting or Screw Mechanism Handle
	1
	
	

	5
	Support Arm / Fixation Post
	1
	
	

	6
	Locking Knob or Stabilizer 
	1
	
	

	7
	Blade Inserter or Holder
	1
	
	


H: Gynaecology
	Item H-1
	Total Abdominal Hysterectomy Set (TAH)
	Qty. (6 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Sponge fcp. 
	2
	
	

	2
	Towel clips 
	6
	
	

	3
	Handle knife size: 10short
	1 
	
	

	4
	Handle knife size: 20 long.
	1
	
	

	5
	Needle holder short
	1 
	
	

	6
	Needle holder long.
	1
	
	

	7
	Forceps tooth short 
	1
	
	

	8
	Forceps tooth long
	1
	
	

	9
	Forceps non tooth short 
	1
	
	

	10
	Forceps non tooth medium
	2
	
	

	11
	Forceps non tooth long 
	1
	
	

	12
	Scissors tissue thin, long, curved
	1
	
	

	13
	Scissors tissue thin, short,curved
	1
	
	

	14
	Scissors tissue wide, long
	1
	
	

	15
	Scissors tissue wide, short
	1
	
	

	16
	Stitch short
	1
	
	

	17
	Stitch long
	1
	
	

	18
	5 inches CVD.( Curved)
	8
	
	

	19
	7 inches STR. (Straight)
	4
	
	

	20
	9 inches STR. ( Straight)
	4
	
	

	21
	Heavy kochers STR 
	2
	
	

	22
	Heavy kochers CVD 
	2
	
	

	23
	Papchoch FCP 
	2
	
	

	24
	Tenaculum
	1
	
	

	25
	Mymectomy screw, medium
	1
	
	

	26
	Rushin forceps.
	1
	
	

	27
	yankauer suction tube (M).
	1
	
	

	28
	Abdominal suction tube (M).
	1
	
	

	29
	Kidney dishes, medium
	1
	
	

	30
	Kidney dishes large
	1
	
	

	31
	Self-retaining Retractor, Large, Round, Wide tips
	1
	
	

	32
	Doyen small
	1
	
	

	33
	Doyen medium
	1
	
	

	34
	Doyen large
	1
	
	

	35
	Morris Retractor small
	1
	
	

	36
	Morris Retractor medium
	1
	
	

	37
	Morris Retractor, large
	1
	
	

	38
	Deaver Retractor, small
	1
	
	

	39
	Deaver Retractor, medium
	1
	
	

	40
	Deaver Retractor, large
	1
	
	

	41
	Farabove Retractor, small
	1
	
	

	42
	Farabove Retractor, medium
	1
	
	

	43
	Farabove Retractor, large
	1
	
	

	44
	RT angle FCP, short
	1
	
	

	45
	RT angle FCP, long
	1
	
	

	46
	Original sterilization tray
	4
	
	


	Item H-2
	TVH ( Total Vaginal Hysterectomy Set )
	Qty. (6 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Sponge forceps 
	2
	
	

	2
	Handle Knife (size 10), short.
	1
	
	

	3
	Handle Knife (size 20), long.
	1
	
	

	4
	Towel clips
	8
	
	

	5
	Needle holder (CVD, long)
	1
	
	

	6
	Needle holder (CVD, short)
	1
	
	

	7
	Needle holder (STR, long) 
	1
	
	

	8
	Needle holder (STR, short).
	1
	
	

	9
	FCP tooth, short 
	1
	
	

	10
	FCP tooth, long 
	1
	
	

	11
	FCP Non tooth, short
	1
	
	

	12
	FCP Non tooth, medium
	2
	
	

	13
	FCP Non tooth, long
	1
	
	

	14
	Metallic catheter
	1
	
	

	15
	Sound.
	1
	
	

	16
	Scissors tissue (mayo), thin, long
	1
	
	

	17
	Scissors tissue (mayo), thin, short)
	1
	
	

	18
	Scissors tissue (mayo), wide, long
	1
	
	

	19
	Scissors tissue (mayo), wide, short.
	1
	
	

	20
	Stitch, short.
	1
	
	

	21
	Stitch, long.
	1
	
	

	22
	5 inches CVD.
	12
	
	

	23
	7 inches STR.
	2
	
	

	24
	9 inches STR.
	2
	
	

	25
	Finekochers STR 
	3
	
	

	26
	Heavy kochers CVD 
	3
	
	

	27
	Vulsellum
	2
	
	

	28
	Tenaculum
	2
	
	

	29
	Alises
	4
	
	

	30
	yankauer suction tube (m)
	1
	
	

	31
	Papchoch
	2
	
	

	32
	RT angle FCP (long, fine tip).
	1
	
	

	33
	Breisky, thin blades
	2
	
	

	34
	Breisky, wide blades.
	2
	
	

	35
	Bladder retractor, thin blades
	2
	
	

	36
	Bladder retractor, wide blades
	2
	
	

	37
	Morris retractor long with thin blade.
	2
	
	

	38
	Speculum Sims, small
	1
	
	

	39
	Speculum Sims, large.
	1
	
	

	40
	Heavy weight speculum with different blades: 

small, :  Qty : 10 pc

medium, : Qty : 10 pc

large. Qty :10 pc
	 
	
	

	41
	Kidney dishes, medium
	1
	
	

	42
	Kidney dishes, large
	1
	
	

	43
	Original sterilization tray
	4
	
	


	Item H-3
	Caesarean Section Set
	Qty. (3 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Lotion Bowel
	1
	
	

	2
	Scalpel Handle
	2
	
	

	3
	Sponge Holding Forceps
	2
	
	

	4
	Towel Forceps
	4
	
	

	5
	Mayo Higger Needle Holder
	2
	
	

	6
	Toothed Forceps
	1
	
	

	7
	Non-toothed Forceps
	1
	
	

	8
	Stitch Scissors
	1
	
	

	9
	Scissors Curved
	1
	
	

	10
	Suction
	1
	
	

	11
	Artery Forceps
	4
	
	

	12
	Morris Retractor
	1
	
	

	13
	Doyen Handle
	1
	
	

	14
	Green Armytage
	4
	
	

	15
	Wrigley Mid-Forceps 
	1
	
	

	16
	Umblical Cord Forceps

	1
	
	

	17
	Babcock Tissue Forceps 
	2
	
	

	18
	Allis Forceps
	2
	
	

	19
	5 inches
	6
	
	

	20
	Fetal outlet forceps
	1
	
	

	21
	Original sterilization tray
	2
	
	


	Item H-4
	Episiotomy
	Qty. (3 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Scalpel HDL no:3
	1
	
	

	2
	Blads NO.10
	1
	
	

	3
	Episiotomy scissor
	1
	
	

	4
	Mayo scissors STR 5.5”
	1
	
	

	5
	Mosquito FCP STR 5”
	3
	
	

	6
	Needle holder
	2
	
	

	7
	Original sterilization tray
	1
	
	


	Item H-5
	D &C
	Qty. (10 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Sponge forceps
	2
	
	

	2
	Metallic catheter (Foleys) size 5
	1
	
	

	3
	Sims speculum, small
	1
	
	

	4
	Sims speculum, large.
	1
	
	

	5
	Vulsellum.
	2
	
	

	6
	Tenaculum.
	1
	
	

	7
	Hegars dilators: 
Size 3 ----  qty 5                      Size 9 -----  qty 5

Size 4  ---  qty 5                      Size 10  ---- qty 5 

Size 5 ----- qty 5                      Size 11 ----- qty 5

Size 6 ----- qty  5                     Size 12 ---- qty 5

Size 7 -----qty 5                       Size 13 ---- qty 5 

Size 8 -----qty 5
	
	
	

	8
	Sound.
	1
	
	

	9
	Sims curette double ended : Different sizes: 
very small,      qty 5             small,   qty   5

medium,         qty 5              large     qty  5
	
	
	

	10
	Ovum forceps, small
	1
	
	

	11
	Ovum forceps, large
	1
	
	

	12
	Ovum forceps, curved
	1
	
	

	13
	Bunch biopsy forceps
	1
	
	

	14
	Non-tooth forceps
	1
	
	

	15
	Bascket curette
	1
	
	

	16
	Kidney dish
	1
	
	

	17
	Original sterilization tray
	1
	
	


	Item H-6
	Laparotomy Set
	Qty. (8 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Gross-maier dress fcps w rat
	2
	
	

	2
	Backhaus towel forceps
	6
	
	

	3
	Tohoku towel forceps
	4
	
	

	4
	Scalpel handle no 4
	1
	
	

	5
	Scalpel handle no 4l
	1
	
	

	6
	Scalpel handle no 3
	1
	
	

	7
	Tc metzenbaum scissors  cvd
	1
	
	

	8
	Tc metzenbaum scissors  cvd
	1
	
	

	9
	Tc metzenbaum scissors  cvd
	1
	
	

	10
	Tc metzenbaum scissors  cvd
	1
	
	

	11
	Tc metzenbaum scissors  cvd
	1
	
	

	12
	Tc metzenbaum scissors  cvd
	1
	
	

	13
	Tc suture scissors
	1
	
	

	14
	Tc suture scissors
	1
	
	

	15
	Tc mayo-lexer scissors bl-blcvd
	1
	
	

	16
	Standard scissors bl-shcvd

	1
	
	

	17
	Dressing forceps narrow
	1
	
	

	18
	Tissue forceps 1x2 t narrow
	2
	
	

	19
	Tissue forceps 1x2 t
	2
	
	

	20
	Tissue forceps 1x2 t
	2
	
	

	21
	De bakeyatraumafcps 2,0mm
	2
	
	

	22
	De bakeyatraumafcps 2,0mm
	2
	
	

	23
	De bakeyatraumafcps 2,0mm
	2
	
	

	24
	Gerald tissue fcps 1x2 t
	1
	
	

	25
	Ochsnerhaemfcps 1x2 t str
	6
	
	

	26
	Rochester-peanhaemfcpsstr
	6
	
	

	27
	Halsted-mosquito fcps  1x2 t
	6
	
	

	28
	Halsted-mosquito fcpscvd
	10
	
	

	29
	Halsted-mosquito fcps
	2
	
	

	30
	Halsted-mosquito fcps 1x2 t
	2
	
	

	31
	Ochsnerhaemfcps 1x2 t str
	2
	
	

	32
	Ochsnerhaemfcps 1x2 t str
	2
	
	

	33
	Gross-maier dress fcps w rat
	4
	
	

	34
	Mikuliczperit clamp forceps
	6
	
	

	35
	Overholt-geissendoerferfcps
	2
	
	

	36
	Overholt-geissendoerferfcps
	2
	
	

	37
	Overholt-geissendoerferfcps
	2
	
	

	38
	Mixterhaemost forceps fig 1
	2
	
	

	39
	Deschampsligat needle blunt
	1
	
	

	40
	Koenig ligat.conduct. 19,5cm
	1
	
	

	41
	Tc crile-wood needleholder
	2
	
	

	42
	Tc mayo-hegarneedleholder
	2
	
	

	43
	Tc wangensteenndlhslend
	1
	
	

	44
	Tc de bakeyneedleholder
	2
	
	

	45
	Tc de bakeyneedleholder
	2
	
	

	46
	Roux retractor fig. 1
	1
	
	

	47
	Roux retractor fig 2
	1
	
	

	48
	Roux retractor fig 3
	1
	
	

	49
	Langenbeck retractor
	2
	
	

	50
	Langenbeck retractor
	2
	
	

	51
	Kocher-langenbeckretr 55x11
	2
	
	

	52
	Volkmann retractor semisharp
	2
	
	

	53
	Fritsch a dominretr 45x75mm
	2
	
	

	54
	Mikuliczabdomretr 120x50mm
	2
	
	

	55
	Mikuliczabdomretr 85x35mm
	2
	
	

	56
	Habererabdom spat 37/45mm
	1
	
	

	57
	Kirschner abdominal retractor
	1
	
	

	58
	Organ seizing fcps medium
	2
	
	

	59
	Nelaton grooved direct.16 cm
	1
	
	

	60
	Probe 20 cm/8"
	1
	
	

	61
	Needle case perforated
	1
	
	

	62
	Container 600x300x160 mm
	1
	
	

	63
	Perforated tray  480x260x50 mm
	2
	
	

	64
	Ident.label with text without hole
	1
	
	

	65
	Frame, colour coded red
	1
	
	

	66
	Original sterilization tray
	5
	
	


	Item H-7
	Fine Surgical Set (Plastic Surgical Set)
	Qty. (6 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	FOERSTER swab forceps serrated, 240 mm
	14
	
	

	2
	BACKHAUS towel forceps, 110 mm
	35
	
	

	3
	Scalpel handle no. 3, 125 mm
	14
	
	

	4
	Scissors, fine, 115 mm, straight
	7
	
	

	5
	Scissor, 115 mm, sharp-sharp, curved
	7
	
	

	6
	METZENBAUM finoscissors,cvd., 145 mm
	14
	
	

	7
	ADSON forceps 1x2 teeth, 120 mm
	14
	
	

	8
	ADSON forceps serrated, 120 mm
	14
	
	

	9
	Mcindoe forceps serrated, 150 mm
	7
	
	

	10
	GILLIES forceps 1x2 teeth, 150 mm
	7
	
	

	11
	HALSTED mosquito forceps 125 mm,cvd.
	42
	
	

	12
	ROCH.OCHSNER hemostat.forceps str.,160mm
	14
	
	

	13
	BABY-MIXTER hemostatic forceps 180 mm
	7
	
	

	14
	HALSEY needleholder serrated, 130 mm
	14
	
	

	15
	CRILE WOOD needleholder 150 mm
	14
	
	

	16
	Probe buttoned 1 mm

	7
	
	

	17
	GILLIES retractor, small, 180 mm
	7
	
	

	18
	SENN-MILLER retractor double sharp,160mm
	7
	
	

	19
	FREER septum elevat.shp/blunt, 185 mm
	7
	
	

	20
	Round bowl 18/8 diam. = 100 mm
	14
	
	

	21
	METZENBAUM scissors cvd. 180 mm
	7
	
	

	22
	OVERHOLT fino forceps Fig.3, 225 mm
	7
	
	

	23
	LERICHE hemostatic forceps,150mm,cvd.
	42
	
	

	24
	MATHIEU retractor double pair
	7
	
	

	25
	WEITLANER retract.sharp 115 mm
	7
	
	

	26
	WEITLANER retract.blunt 115 mm
	7
	
	

	27
	MARTINI double curette  0/1
	7
	
	

	28
	Kidney bowl 18/10 small 20 cm
	7
	
	

	29
	Mcdonald elevator double 19 cm
	7
	
	

	30
	FRAZIER Suction tube 3 mm, 130 mm
	7
	
	

	31
	Round bowl 18/8 diam. = 150 mm
	7
	
	

	32
	KOCHER LANGENBECK retr.25x 6mm, 220 mm
	7
	
	

	33
	KOCHER LANGENBECK retr.35x 8mm, 220 mm
	7
	
	

	34
	MAYO 'safety needle' 14 cm
	14
	
	

	35
	Forceps DEBAKEY,str.,160mm, 1,5 mm
	7
	
	

	36
	Forceps DEBAKEY,str.,160mm, 1,5 mm
	7
	
	

	37
	ALLIS tissue forceps 15cm 4x5t
	14
	
	

	38
	BABCOCK seizing forceps 160 mm
	14
	
	

	38
	FOERSTER swab forceps serrated, 240 mm
	14
	
	

	39
	BACKHAUS towel forceps, 110 mm
	35
	
	


	Item H-8
	Minor Set, Gynecology
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	MAYO 'safety needle' 14 cm
	2
	
	

	2
	RAMPLEY sponge holding forceps 180 mm
	2
	
	

	3
	BACKHAUS towel forceps, 110 mm
	4
	
	

	4
	STANDARD scissors, sh/sh, 115 mm, curved
	1
	
	

	5
	MAYO scissors straight, 170 mm
	1
	
	

	6
	METZENBAUM scissors cvd. 18 cm
	1
	
	

	7
	Iris scissors 11 cm, curved
	1
	
	

	8
	METZENBAUM scissors cvd. 145 mm
	1
	
	

	9
	ADSON forceps 1x2 teeth, 120 mm
	2
	
	

	10
	Forceps dressing 14,5 cm
	1
	
	

	11
	Forceps tissue 1x2 t.130 mm
	1
	
	

	12
	Forceps DEBAKEY,str.,200mm, 2,0 mm
	1
	
	

	13
	SPENCER WELLShemost. Forceps cvd.,130mm
	4
	
	

	14
	HALSTED mosquito forceps 1x2t.
	4
	
	

	15
	US Army retractor double pair
	1
	
	

	16
	Roch. Ochsnerhemostat.forceps

	2
	
	

	17
	Gemini mini diss/ligat.forceps
	1
	
	

	18
	WEITLANER retract.sharp 11,5cm
	1
	
	

	19
	THOMS ALLIS forceps 6x7 t.20cm
	2
	
	

	20
	BABCOCK seizing forceps 20 cm
	2
	
	

	21
	SENN-MILLER retractor double sharp,160mm
	2
	
	

	22
	CRILE WOOD needleholder 150 mm
	1
	
	

	23
	Mcdonald elevator double 19 cm
	1
	
	

	24
	CRILE MURRAY needleholder
	1
	
	

	25
	Scalpel handle no. 3, 125 mm
	1
	
	

	26
	Round bowl 18/8 diam. =  80 mm
	1
	
	

	27
	Kidney bowl 18/10 small 17 cm
	1
	
	

	28
	Wire basket 255x245x50 mm
	1
	
	

	29
	Round bowl 18/8 diam. =  60 mm
	1
	
	

	30
	VOLKMANN double curette sharp
	1
	
	

	31
	Container accessories , stainless steel screen basket 255 x 245 x 65 mm
	1
	
	


	Item H-9
	Gynaecology Laparoscopic Set
	Qty. (6 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Trocar, size 11 mm
	3
	
	

	2
	Trocar, size 6 mm
	4
	
	

	3
	Reduction sleeve, 11/5 mm
	2
	
	

	4
	Thread sleeve, for trocar size 6 mm
	4
	
	

	5
	Thread sleeve, for trocar size 11 mm
	3
	
	

	6
	Uterine grasping forceps, blunt jaws, with  length 24 cm
	2
	
	

	7
	Uterine grasping forceps, for fixation and elevation of the uterus
	2
	
	

	8
	Grasping forceps, rotating, with multiple teeth, with manhes style ratchet, with connector pin for unipolar coagulation
	2
	
	

	9
	Dissecting and grasping forceps, Rotating, atraumatic, with connector pin for unipolar coagulation
	3
	
	

	10
	Kelly dissecting and grasping forceps, rotating, without ratchet, with connector pin for unipolar coagulation
	3
	
	

	11
	Grasping forceps, atraumatic, dismantling, u-spring handle, with connector pin for unipolar coagulation
	3
	
	

	12
	 Forceps, rotating, single action jaws, size 10 mm, length approx. 33-36 cm
	2
	
	

	13
	Scissors, rotating, serrated, Without ratchet, with connector pin for unipolar coagulation
	2
	
	

	14
	Hook scissors, rotating, without ratchet, with connector pin for unipolar coagulation
	2
	
	

	15
	Metzenbaum scissors, rotating, curved jaws, without ratchet, insulated, with connector pin for unipolar coagulation
	2
	
	

	16
	Biopsy punch forceps, rotating, with 2 Teeth, without ratchet
	2
	
	

	17
	Spoon forceps, rotating, without ratchet
	2
	
	

	18
	Bipolar coagulating forceps, width of jaws 1 mm, with connector pin for bipolar coagulation
	3
	
	

	19
	Bipolar coagulating forceps, width of jaws 3 mm, with connector pin for bipolar coagulation
	3
	
	

	20
	High frequency needle, insulated, for splitting and coagulation
	2
	
	

	21
	Coagulating and dissecting electrode, l-shaped, with connector pin for unipolar coagulation
	2
	
	

	22
	Puncture needle, luer-lock, diameter 1.6 mm
	1
	
	

	23
	Needle holder  curved left, straight Handle, with ratchet
	2
	
	

	24
	T needle holder curved right, straight handle, without ratchet
	2
	
	

	25
	Needle holder and suture grasper, with automatic back spring straight , size 5 mm
	2
	
	

	26
	Endo loop ligature, with roeder knot, with absorbable synthetic thread, for single use, sterile, package of 12
	2 Packs
	
	

	27
	Knot tier, for extracorporal knotting, size5 mm, length approx. 30-33 cm
	1
	
	

	28
	Veresspneumoperitoneum needle, autoclavable, diameter 2.1 mm, length 13 cm
	2
	
	

	29
	Veresspneumoperitoneum needle, autoclavable, diameter 2.1 mm, length 15 cm
	2
	
	

	30
	Grasping forceps, size 5 mm, length 30 cm
	4
	
	

	31
	Lymph node grasping forceps, size 5 mm, length approx. 33-36 cm
	2
	
	

	32
	Kelly dissecting and grasping forceps, rotating, Size 5 mm, length approx. 33-36 cm, with connector pin for unipolar coagulation
	2
	
	

	33
	Scissors, rotating, size 5 mm, approx. 33-36 cm, with Connector pin for unipolar coagulation
	2
	
	

	34
	 Bipolar coagulating forceps, size 5 mm, length 33 cm
	2
	
	

	35
	Bipolar coagulating forceps, size 5 mm, length 33 cm
	2
	
	

	36
	 Grasping forceps, rotating, size 5 mm, length approx. 33-36 cm, with connector pin for bipolar coagulation
	2
	
	

	37
	Suction and irrigation tube, with lateral holes, size 5, length approx. 30cm30cm with two-way tap
	4
	
	

	38
	Suction and irrigation tube, with lateral holes, size 5 mm, length approx. 30-36 cm with two-way tap
	2
	
	

	39
	Coagulating and dissecting electrode, spatula-shaped, blunt, size 5 mm, length approx. 33-36 cm with connector pin for unipolar coagulation
	1
	
	

	40
	Unipolar high frequency cord, length 300 cm
	2
	
	

	41
	Bipolar high frequency cord, length 300 cm
	2
	
	

	42
	Plastic container for sterilizing and storage, for two telescopes, perforated
	1
	
	

	43
	Uterine manipulator
	2
	
	

	44
	Cohen uterine cannula, with luer-lock connection for cleaning with one small and one large  cervical cone
	1
	
	

	45
	Olsen suction and irrigation tube, size 10 mm
	2
	
	

	46
	Myoma fixation instrument, screw-shaped (spiral), size 5 mm
	1
	
	

	47
	Electronic morcellator complete system 12, 15

	1
	
	

	48
	Vaginal extractor tube, diameter 40 mm and instrument port with bayonet lock inner diameter 2 x 10 mm approximately
	1
	
	

	49
	Forceps, rotating, single action jaws, size 10 mm, length approx. 33-36 cm
	2
	
	

	50
	Adhesion forceps, one jaw fenestrated, length 33-36 cm, size 5 mm.
	2
	
	

	51
	Oviduct forceps, one jaw fenestrated, length 33-36 cm, size 5 mm.
	1
	
	


	Item H-10
	Gynaecology Office Hysteroscopy Set
	Qty. (10 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Scissors, blunt, semi-rigid, 5 fr, length 34 cm
	1
	
	

	2
	Scissors, pointed, semi-rigid, 5 fr, length 34 cm
	1
	
	

	3
	Biopsy and grasping forceps, semi-rigid, 5 fr., length 34 cm
	1
	
	

	4
	Punch, through-cutting, semi-rigid, 5 fr., length 34cm
	2
	
	

	5
	Biopsy spoon forceps, semi-rigid, 5 fr, length 34cm
	2
	
	

	6
	Polypectomy loop, unipolar, 5 fr, length 34cm
	2
	
	

	7
	Needle electrode, unipolar, 5 fr, length 34 cm
	1
	
	

	8
	Biopsy and grasping forceps double action jaw 5 fr., length 34 cm
	2
	
	

	9
	Scissors, blunt single action jaws, 5 fr length 34 cm
	2
	
	

	10
	Punch, through, cutting single action jaws 5 fr., 34 cm
	2
	
	

	11
	Biopsy spoon forceps, double action jaws 5 fr., 34 cm
	2
	
	

	12
	Needle electrode 5 fr., 34 cm
	2
	
	

	13
	Polypectomy loop unipolar 5 fr., 34 cm
	2
	
	

	14
	Rigid colposcope
	1
	
	


I: General Surgery

	Item I-1
	Major Basic Set
	Qty. (10 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	FOERSTER SPONGE FORCEPS                 
	4
	
	

	2
	GROSS-MAIER DRESS FCPS W RAT            
	3
	
	

	3
	ALLIS FORCEPS 4/5 TEETH, 6"             
	2
	
	

	4
	BACKHAUS TOWEL FORCEPS                  
	8
	
	

	5
	SCALPEL HANDLE NO 3                     
	2
	
	

	6
	SCALPEL HANDLE NO 4                     
	1
	
	

	7
	TC METZENBAUM SCISSORS  CVD, 18 CM      
	2
	
	

	8
	TC METZENBAUM SCISSORS  CVD             
	2
	
	

	9
	TC LEXER-FINO SCISSORS  CVD, 16 CM      
	2
	
	

	10
	STANDARD SCISSORS BL-SH CVD             
	1
	
	

	11
	DRESSING FORCEPS                        
	2
	
	

	12
	DRESSING FORCEPS                        
	2
	
	

	13
	TISSUE FORCEPS 1X2 T              
      
	3
	
	

	14
	TISSUE FORCEPS 1X2 T                    
	3
	
	

	15
	DE BAKEY ATRAUMA FCPS 1,5 MM            
	2
	
	

	16
	POTTS-SMITH TISS FCPS 1X2 T             
	1
	
	

	17
	HALSTED-MOSQUITO FCPS STR               
	10
	
	

	18
	HALSTED-MOSQUITO FCPS CVD               
	10
	
	

	19
	OCHSNER HAEM FCPS 1X2 T STR             
	2
	
	

	20
	OVERHOLT-GEISSENDOERFER FCPS            
	1
	
	

	21
	OVERHOLT-GEISSENDOERFER FCPS            
	1
	
	

	22
	MIKULICZ PERIT CLAMP FORCEPS            
	4
	
	

	23
	VOLKMANN RETRACTOR SHARP                
	2
	
	

	24
	VOLKMANN RETRACTOR SHARP                
	2
	
	

	25
	KOERTE RETRACT SHARP 23,5 CM            
	1
	
	

	26
	LANGENBECK RETRACTOR                    
	2
	
	

	27
	LANGENBECK RETRACTOR 50X11MM            
	2
	
	

	28
	MIKULICZ ABDOM RETR 120X50MM            
	1
	
	

	29
	SIMON RETRACTOR 115X22MM                
	1
	
	

	30
	ROUX RETRACTOR FIG. 1                   
	1
	
	

	31
	ABDOMINAL SPATULA 30 MM                 
	1
	
	

	32
	GROOVED DIRECTOR 14,5 CM                
	1
	
	

	33
	PROBE WITH EYE, 5 1/2", 14,5 CM         
	1
	
	

	34
	MARTIN HERNIA DIRECTOR                  
	1
	
	

	35
	KOENIG LIGAT.CONDUCT. 19,5CM            
	1
	
	

	36
	DESCHAMPS LIGAT NEEDLE BLUNT            
	1
	
	

	37
	DESCHAMPS LIGAT NEEDLE BLUNT            
	1
	
	

	38
	POOLE SUCTION TUBE     10 MM            
	1
	
	

	39
	TC CRILE-WOOD NEEDLEHOLDER           
   
	1
	
	

	40
	TC MAYO-HEGAR NEEDLEHOLDER              
	2
	
	

	41
	TC MAYO-HEGAR NEEDLEHOLDER              
	1
	
	

	42
	MIXING BOWL SATIN 80X40 MM              
	1
	
	

	43
	MIXING BOWL SATIN 0,375 LTR             
	1
	
	

	44
	NEEDLE CASE PERFORATED                  
	1
	
	

	45
	CONTAINER 
	1
	
	

	46
	PERFORATED TRAY  
	4
	
	

	47
	IDENT.LABEL WITH TEXT WITHOUT HOLE
	1
	
	

	48
	FRAME, COLOUR CODED RED
	1
	
	


	Item I-2
	Minor Basic Set
	Qty. (20 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	GROSS-MAIER DRESS FCPS W RAT            
	4
	
	

	2
	GROSS-MAIER DRESS FCPS W RAT            
	2
	
	

	3
	ALLIS FORCEPS 5/6 TEETH, 6"             
	2
	
	

	4
	BACKHAUS TOWEL FORCEPS                  
	6
	
	

	5
	TOWEL FORCEPS W CLIP                    
	1
	
	

	6
	SCALPEL HANDLE NO 3                     
	1
	
	

	7
	SCALPEL HANDLE NO 4                     
	1
	
	

	8
	KLING-EX BLADE REMOVER                  
	2
	
	

	9
	DRESSING FORCEPS                        
	3
	
	

	10
	DRESSING FORCEPS                        
	2
	
	

	11
	TISSUE FORCEPS 1X2 T                    
	3
	
	

	12
	TISSUE FORCEPS 1X2 T                    
	2
	
	

	13
	TAYLOR DRESS FCPS W SCRAPER             
	1
	
	

	14
	METZENB-NELSON SCS BL-BL CVD            
	2
	
	

	15
	METZENB-NELSON SCS BL-BL CVD            
	1
	
	

	16
	STANDARD SCISSORS BL-SH STR             
	1
	
	

	17
	TC LIGATURE SCISSORS CURVED 17 CM SERRAT
	1
	
	

	18
	IRIS SCISSORS CURVED                    
	1
	
	

	19
	STRABISMUS SCISSORS CVD                 
	1
	
	

	20
	HALSTED-MOSQUITO FCPS  1X2 T            
	4
	
	

	21
	HALSTED-MOSQUITO FCPS  1X2 T            
	4
	
	

	22
	HALSTED-MOSQUITO FCPS CVD               
	4
	
	

	23
	ROCHESTER-PEAN HAEM FCPS STR            
	2
	
	

	24
	OVERHOLT-GEISSENDOERFER FCPS            
	2
	
	

	25
	MIKULICZ PERITONEAL CLAMP               
	4
	
	

	26
	KOCHER RETRACTOR BLUNT                  
	2
	
	

	27
	KOCHER RETRACTOR BLUNT                  
	2
	
	

	28
	CUSHING RETRACTOR 12MM 20 CM            
	2
	
	

	29
	ROUX RETRACTOR FIG. 1                   
	1
	
	

	30
	LANGENBECK RETRACTOR                    
	2
	
	

	31
	TC MAYO-HEGAR NEEDLEHOLDER              
	3
	
	

	32
	TC DE BAKEY NEEDLEHOLDER                
	1
	
	

	33
	DESCHAMPS LIGAT NEEDLE BLUNT            
	1
	
	

	34
	KOENIG LIGAT.CONDUCT. 19,5CM            
	1
	
	

	35
	DOYEN GROOVED DIRECT.14 CM              
	1
	
	

	36
	KRONECKER LIGAT NEEDLE                  
	1
	
	

	37
	PROBE 16 CM/6-1/4"                      
	1
	
	

	38
	GUIDE NEEDLE LANC.TP CHAR 8             
	1
	
	

	39
	GUIDE NEEDLE CVD CHARR 12               
	1
	
	

	40
	GROSS-MAIER DRESS FCPS W RAT            
	1
	
	

	41
	BOWL SATIN 0,3 LTR                      

	2
	
	

	42
	NEEDLE CASE PERFORATED                  
	1
	
	

	43
	CONTAINER 300X300X140
	1
	
	

	44
	PERFORATED TRAY    260X260X50 MM
	1
	
	

	45
	IDENT.LABEL WITH TEXT WITHOUT HOLE
	1
	
	

	46
	FRAME, COLOUR CODED RED
	1
	
	

	47
	Original sterilization tray
	4
	
	


	Item I-3
	Suture Set, Small
	Qty. (15 sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	SCALPEL HANDLE NO 3                     
	1
	
	

	2
	TISSUE FORCEPS 1X2 T                    
	2
	
	

	3
	ADSON DRESSING FCPS SERRATED            
	1
	
	

	4
	MICRO-MOSQUITO HAEM FCPS CVD            
	2
	
	

	5
	GROSS-MAIER DRESS FCPS W RAT            
	1
	
	

	6
	TC CRILE-WOOD NEEDLEHOLDER              
	1
	
	

	7
	MIXING BOWL SATIN 40X19 MM              
	1
	
	

	8
	MINISET CONTAINER 310X189X65MM
	1
	
	

	9
	WIRE TRAY, 260X170X28 MM
	1
	
	

	10
	IDENT.LABEL WITH TEXT WITHOUT HOLE
	1
	
	

	11
	FRAME, COLOUR CODED RED
	1
	
	

	12
	ORIGINAL STERILIZATION TRAY
	1
	
	


	Item I-4
	Suture Set, Large
	Qty. (10 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	SCALPEL HANDLE NO 3                     
	2
	
	

	2
	DRESSING FORCEPS                        
	1
	
	

	3
	TISSUE FORCEPS 1X2 T                    
	2
	
	

	4
	MICRO-MOSQUITO HAEM FCPS CVD            
	4
	
	

	5
	GROSS-MAIER DRESS FCPS W RAT            
	1
	
	

	6
	RETRACTOR FINE BLUNT  16 CM             
	2
	
	

	7
	WEITLAN LOKT RETR BLUNT 2/3T            
	1
	
	

	8
	TC MAYO-HEGAR NEEDLEHOLDER              
	1
	
	

	9
	TC LEXER-FINO SCISSORS  CVD, 16 CM      
	1
	
	

	10
	STRABISMUS SCISSORS CVD                 
	1
	
	

	11
	STANDARD SCISSORS BL-SH CVD             
	1
	
	

	12
	MIXING BOWL SATIN 80X40 MM              
	1
	
	

	13
	ADSON TISSUE FORCEPS 1X2 T              
	1
	
	

	14
	MINISET CONTAINER 310X189X65MM
	1
	
	

	15
	WIRE TRAY, 260X170X28 MM
	1
	
	

	16
	IDENT.LABEL WITH TEXT WITHOUT HOLE
	1
	
	

	17
	FRAME, COLOUR CODED RED
	1
	
	

	18
	ORIGINAL STERILIZATION TRAY
	1
	
	


	Item I-5
	Thyroid Instrument Set  
	Qty. (8 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	DE BAKEY ATRAUMA FCPS 1,5 MM            
	2
	
	

	2
	DE BAKEY ATRAUMA FCPS 1,5 MM            
	2
	
	

	3
	ZENKER RETRACTOR  35X 8MM               
	1
	
	

	4
	ZENKER RETRACTOR  60X12MM               
	1
	
	

	5
	ZENKER RETRACTOR  75X12MM               
	1
	
	

	6
	HEISS HAEMOST FORCEPS FIG 2             
	2
	
	

	7
	HEISS HAEMOST FORCEPS FIG 3             
	2
	
	

	8
	BABY-ADSON HAEM FORCEPS                 
	2
	
	

	9
	BABY-MIXTER HAEM FORCEPS                
	2
	
	

	10
	OCHSNER HAEM FCPS 1X2 T STR             
	8
	
	

	11
	MICRO-MOSQUITO HAEM FCPS CVD            
	8
	
	

	12
	TC METZENBAUM-FINO SCISSORS BL-BL CVD   
	1
	
	

	13
	TC METZENBAUM-FINO SCISSORS BL-BL CVD   
	1
	
	

	14
	TC METZENBAUM-FINO SCISSORS BL-BL CVD   
	1
	
	

	15
	KOENIG LIGAT.CONDUCT. 19,5CM            
	1
	
	

	16
	KOENIG LIGAT.CONDUCT. 19,5CM            
	1
	
	

	17
	DESCHAMPS LIGAT.NEEDLE BLUNT            
	1
	
	

	18
	DESCHAMPS LIGATURE NEEDLE BL            
	1
	
	

	19
	LIGATURE NEEDLE FLEXIBLE                
	1
	
	

	20
	YASARGIL SUCTION TUBE 2 MM              
	1
	
	

	21
	YASARGIL SUCTION TUBE 2.5MM             
	1
	
	

	22
	GUIDE NEEDLE LANC.TP CHAR 8             
	1
	
	

	23
	CONTAINER 300X300X110
	1
	
	

	24
	PERFORATED TRAY            260X260X50 MM
	1
	
	

	25
	IDENT.LABEL WITH TEXT WITHOUT HOLE
	1
	
	

	26
	FRAME, COLOUR CODED RED
	1
	
	

	27
	ORIGINAL STERILIZATION TRAY
	2
	
	


	Item I-6
	Laparotomy Set
	Qty. (10 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	GROSS-MAIER DRESS FCPS W RAT
	2
	
	

	2
	BACKHAUS TOWEL FORCEPS
	6
	
	

	3
	TOHOKU TOWEL FORCEPS
	4
	
	

	4
	SCALPEL HANDLE NO 4
	1
	
	

	5
	SCALPEL HANDLE NO 4L
	1
	
	

	6
	SCALPEL HANDLE NO 3
	1
	
	

	7
	TC METZENBAUM SCISSORS  CVD
	1
	
	

	8
	TC METZENBAUM SCISSORS  CVD
	1
	
	

	9
	TC METZENBAUM SCISSORS  CVD
	1
	
	

	10
	TC METZENBAUM SCISSORS  CVD
	1
	
	

	11
	TC METZENBAUM SCISSORS  CVD
	1
	
	

	12
	TC METZENBAUM SCISSORS  CVD
	1
	
	

	13
	TC SUTURE SCISSORS
	1
	
	

	14
	TC SUTURE SCISSORS
	1
	
	

	15
	TC MAYO-LEXER SCISSORS BL-BL  CVD
	1
	
	

	16
	STANDARD SCISSORS BL-SH CVD
	1
	
	

	17
	DRESSING FORCEPS NARROW
	1
	
	

	18
	TISSUE FORCEPS 1X2 T NARROW
	2
	
	

	19
	TISSUE FORCEPS 1X2 T
	2
	
	

	20
	TISSUE FORCEPS 1X2 T
	2
	
	

	21
	DE BAKEY ATRAUMA FCPS 2,0MM
	2
	
	

	22
	DE BAKEY ATRAUMA FCPS 2,0MM
	2
	
	

	23
	DE BAKEY ATRAUMA FCPS 2,0MM
	2
	
	

	24
	GERALD TISSUE FCPS 1X2 T
	1
	
	

	25
	OCHSNER HAEM FCPS 1X2 T STR
	6
	
	

	26
	ROCHESTER-PEAN HAEM FCPS STR
	6
	
	

	27
	HALSTED-MOSQUITO FCPS  1X2 T
	6
	
	

	28
	HALSTED-MOSQUITO FCPS CVD
	10
	
	

	29
	HALSTED-MOSQUITO FCPS
	2
	
	

	30
	HALSTED-MOSQUITO FCPS 1X2 T
	2
	
	

	31
	OCHSNER HAEM FCPS 1X2 T STR
	2
	
	

	32
	OCHSNER HAEM FCPS 1X2 T STR
	2
	
	

	33
	GROSS-MAIER DRESS FCPS W RAT
	4
	
	

	34
	MIKULICZ PERIT CLAMP FORCEPS
	6
	
	

	35
	OVERHOLT-GEISSENDOERFER FCPS
	2
	
	

	36
	OVERHOLT-GEISSENDOERFER FCPS
	2
	
	

	37
	OVERHOLT-GEISSENDOERFER FCPS
	2
	
	

	38
	MIXTER HAEMOST FORCEPS FIG 1
	2
	
	

	39
	DESCHAMPS LIGAT NEEDLE BLUNT
	1
	
	

	40
	KOENIG LIGAT.CONDUCT. 19,5CM
	1
	
	

	41
	TC CRILE-WOOD NEEDLEHOLDER

	2
	
	

	42
	TC MAYO-HEGAR NEEDLEHOLDER
	2
	
	

	43
	TC WANGENSTEEN NDLH SLEND
	1
	
	

	44
	TC DE BAKEY NEEDLEHOLDER
	2
	
	

	45
	TC DE BAKEY NEEDLEHOLDER
	2
	
	

	46
	ROUX RETRACTOR FIG. 1
	1
	
	

	47
	ROUX RETRACTOR FIG 2
	1
	
	

	48
	ROUX RETRACTOR FIG 3
	1
	
	

	49
	LANGENBECK RETRACTOR
	2
	
	

	50
	LANGENBECK RETRACTOR
	2
	
	

	51
	KOCHER-LANGENBECK RETR 55X11
	2
	
	

	52
	VOLKMANN RETRACTOR SEMISHARP
	2
	
	

	53
	FRITSCH A DOMIN RETR 45X75MM
	2
	
	

	54
	MIKULICZ ABDOM RETR 120X50MM
	2
	
	

	55
	MIKULICZ ABDOM RETR 85X35MM
	2
	
	

	56
	HABERER ABDOM SPAT 37/45MM
	1
	
	

	57
	KIRSCHNER ABDOMINL RETRACTOR
	1
	
	

	58
	ORGAN SEIZING FCPS MEDIUM
	2
	
	

	59
	VOLKMANN BONE CURETT FIG 0
	1
	
	

	60
	NELATON GROOVED DIRECT.16 CM
	1
	
	

	61
	PROBE 20 CM/8"
	1
	
	

	62
	INNER BOX TO 55-309-65 ONLY
	1
	
	

	63
	NEEDLE CASE PERFORATED
	1
	
	

	64
	MIXING BOWL SATIN 80X40 MM
	1
	
	

	65
	MIXING BOWL SATIN 0,45 LTR
	1
	
	

	66
	KIDNEY BOWL 250X140X40 MM
	1
	
	

	67
	GUIDE NEEDLE LANC.TP CHAR 12

	1
	
	

	68
	GUIDE NEEDLE LANC.TP CHAR 14
	1
	
	

	69
	CONTAINER 600X300X160 MM
	1
	
	

	70
	PERFORATED TRAY  480X260X50 MM
	2
	
	

	71
	IDENT.LABEL WITH TEXT WITHOUT HOLE
	1
	
	

	72
	FRAME, COLOUR CODED RED
	1
	
	

	73
	ORIGINAL STERILIZATION TRAY
	6
	
	


	Item I-7
	Vascular Set
	Qty. (6 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Vascular debakey atraumetic forceps 16 cm 1.5m
	1
	
	

	2
	Vascular debakey atraumetic forceps 16 cm 2m
	1
	
	

	3
	Vascular debakey atraumetic forceps 20 cm 1.5m
	1
	
	

	4
	Vascular debakey atraumetic forceps 20 cm 2m
	1
	
	

	5
	Vascular debakey atraumetic forceps 24 cm 1.5m
	1
	
	

	6
	Vascular debakey atraumetic forceps 24 cm 1.5m
	1
	
	

	7
	Coolley atraumatic vascular fcp 14
	2
	
	

	8
	Coolley delicate vascular clamp 17.5 cm
	2
	
	

	9
	Debakey peripheral vascular fcp 19 cm
	1
	
	

	10
	Kay aortic clamp
	2
	
	

	11
	Debakey tangen tial occlus fcp 20.5 cm
	2
	
	

	12
	Debakey tangen tial clamp fcp 24.5 cm no.2
	2
	
	

	13
	Debakey multi purpose  fcp 16.5 cm  angle   30°
	2
	
	

	14
	Vascular micro forceps
	 1
	
	

	15
	Forceps tooth 18 cm
	 1
	
	

	16
	Debakey vascular scissors 45 
	 1
	
	

	17
	Debakey vascular scissors 125 
	 1
	
	

	18
	Potts-smith tooth
	 1
	
	

	19
	Potts-smith non  tooth
	 1
	
	

	20
	Adson tooth micro
	 1
	
	

	21
	Adson non  tooth micro
	 1
	
	

	22
	Micro Castroviejo needle holder
	 1
	
	

	23
	Needle holder mayo heger 20cm tc 
	 1
	
	

	24
	Needle holder mayo heger 24 cm 
	 1
	
	

	25
	Needle holder micro ryder tc 7 
	 1
	
	

	26
	Needle holder healsy tc 5  
	 1
	
	

	27
	Weitlaner retractor 5
	2
	
	

	28
	Weitlaner retractor 7
	2
	
	

	29
	Weitlaner retractor 10
	 1
	
	

	30
	Micro freer eleator
	 1
	
	

	31
	Adson nerve hook sharp
	 1
	
	

	32
	Adson nerve hook blant
	 1
	
	

	33
	Dandy hook
	 1
	
	

	34
	Nerve root retractor straight
	 1
	
	

	35
	Nerve root retractor angle
	 1
	
	

	36
	Nerve root retractor curved
	 1
	
	

	37
	Love spatula
	 1
	
	

	38
	Hoen elevator
	 1
	
	

	39
	Brain suction set of 1/1.2/1.5 mm
	3
	
	

	40
	Fraizer suction FG.6/FG.8/FG.10
	3
	
	

	41
	Scissor mayo curved 17 cm 

	 1
	
	

	42
	Scissor mayo straight 17 cm 
	 1
	
	

	43
	Scissor sh/sh  straight 11 cm
	 1
	
	

	44
	Scissor sh/sh  curved 11 cm
	 1
	
	

	45
	Scissor metzenbume curved 14 cm 
	 1
	
	

	46
	Original sterilization tray
	2
	
	


	Item I-8
	External Chest Set
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Rip spreader ,de bakey , modif: Small blades 44 mm wide x 38 mm deep max spread 135 mm
	1
	
	

	2
	Rip spreader ,de bakey , modif: medium blades 62 mm wide x 52 mm deep max spread 135 mm
	1
	
	

	3
	Rip spreader ,de bakey , modif: medium blades 65 mm wide x 85 mm deep max spread 135 mm
	1
	
	

	4
	Baily – gibbon rib contractor: 200 mm
	1
	
	

	5
	Allison lung spatula: Extra wide 26 cm long blade 132 mm wide
	1
	
	

	6
	Allison lung spatula: Blade 40 mm wide 27 cm long
	1
	
	

	7
	Allison lung spatula: Blade 65 mm wide 32 cm long
	1
	
	

	8
	Davedson scapular retactor: Blade 50 mm wide x 75 cm deep
	1
	
	

	9
	Davedson scapular retactor: Blade 90 mm wide x 75 cm deep
	1
	
	

	10
	Rib shears (Bethune): Slightly s-shape 35 cm long
	1
	
	

	11
	Rib shears (Collin): 30 cm long right
	1
	
	

	12
	Rib shears (lebsche):30 cm long left
	1
	
	

	13
	Rib shears (lebshe): 33 cm curved
	1
	
	

	14
	Rib shears (brunner):  Baxkward curved 32 cm long rt side open
	1
	
	

	15
	Rib shears (brunner): Baxkward curved 32 cm long rt side open
	1
	
	

	16
	Srernal cutter (Schumacher): 22 cm long
	1
	
	

	17
	Lebche sternum chisel: 200 mm
	1
	
	

	18
	Hajek mallet of metal
	1
	
	

	19
	Bruner rib shears:

340 mm
	1
	
	

	20
	Doyn raspatory: Adult size left side
	1
	
	

	21
	Doyn raspatory: Adult size left side
	1
	
	

	22
	Lambotte raspatory: 15 mm board
	1
	
	

	23
	Semp raspatory: Size 2.231 mm
	1
	
	

	24
	Semp raspatory: Size 3.230 mm
	1
	
	

	25
	Semb rib and bone golding foreceps: 190 mm
	1
	
	

	26
	Liston bon cutting foreceps cvd: 240 mm 
	1
	
	

	27
	Luer – stille bone rongeur: 225 mm curved 
	1
	
	

	28
	Reill wire cutter: 175 mm curved
	1
	
	

	29
	Hand drill stainless with 3-jaw chuck to fill any size of shank up to 6.35 diameter no key needed cannulated spindle to fit kirschner wire drills with stop device for locking the spindle and crank when fitting and clanging drills 260 mm
	1
	
	

	30
	Anderson-adson: Self –retaning retractor sharp / sharp 190mm
	1
	
	

	31
	Norfol; and Norwich: Self –retaning retractor sharp / sharp 220 mm
	1
	
	

	32
	Adson: Self –retaning retractor sharp / sharp 265 mm
	1
	
	

	33
	Osteotom 12 mm, 140 mm long
	1
	
	

	34
	Chisel 20 mm, 205 mm long
	1
	
	

	35
	Farabeuf- collin periosteal elevator 11 mm, 160 mm long
	1
	
	

	36
	Schneider periostel elevator 13 mm, 175 mm long
	1
	
	

	37
	Lambotte raspatory 20 mm, 205 mm long
	1
	
	

	38
	Freer yasargil: sharp / sharp 183 mm curved
	1
	
	

	39
	Allen freer: Osteophyte chisel and scarper 3.5 mm 230 mm long
	1
	
	

	40
	Major thoracotomy set
	1
	
	

	41
	Maier polupus foreceps (sponge forceps): With ratchet cvd 265 mm
	1
	
	

	42
	Maier polupus sponge and dress foreceps  
	1
	
	

	43
	Atrauma polupus and ovum foreceps: Non traumatic ovum forceps str 250 mm
	1
	
	

	44
	Backhaus towel holding foreceps: 110 mm
	1
	
	

	45
	Backhaus towel holding foreceps: 135 mm
	1
	
	

	46
	Towel clamp: 115 mm long
	1
	
	

	47
	Scalpel handle: No.4 for blades 18-37
	1
	
	

	48
	Scalpel handle: No .3 for blades 10-15
	1
	
	

	49
	Scalpel handle: No .3 for blades 10-15
	1
	
	

	50
	Metzenbaum, diss , sciss: Durotip cvd 200 mm curved
	1
	
	

	51
	Metzenbaum, diss , sciss: Durotip cvd 230 mm curved
	1
	
	

	52
	Nelson-metzenbaum,diss, sciss: Durotip 260 mm curved
	1
	
	

	53
	Nelson-metzenbaum,diss, scissors: Durotip 300 mm curved
	1
	
	

	54
	Dissecting scissors: Curved 230 mm
	1
	
	

	55
	Curved 170 mm  Mayo scissors
	1
	
	

	56
	Dissecting scissors: Curved 140 mm
	1
	
	

	57
	Diss, sciss,mayo lexer: Durotip cvd 165 mm
	1
	
	

	58
	Dissecting forceps: Slend patt 145 mm
	1
	
	

	59
	Tissue forceps: Std patt 1x2t  145 mm 
	1
	
	

	60
	Tissue forceps: Medium size 1x2t  200 mm 
	1
	
	

	61
	Forceps: Straight 2 mm jaw atrauma . 150 mm 
	1
	
	

	62
	Forceps: Straight 2 mm jaw atrauma . 200 mm 
	1
	
	

	63
	Forceps: Straight 2 mm jaw atrauma . 240 mm 
	1
	
	

	64
	Forceps: Straight 2 mm jaw atrauma . 300 mm 
	1
	
	

	65
	Halsted mosquito forceps: Curved 125 mm
	1
	
	

	66
	Halsted mosquito forceps: Straight 125 mm
	1
	
	

	67
	Baby mosquito: Curved 100 mm
	1
	
	

	68
	Kocher forceps: Str 1x2 teeth 140 mm
	1
	
	

	69
	Kocher forceps: Str 240 mm
	1
	
	

	70
	Rt angel forceps: 185 mm s-shape
	1
	
	

	71
	Rt angel forceps: 210 mm s-shape
	1
	
	

	72
	Rt angel forceps: 215 mm s-shape
	1
	
	

	73
	Rt angel forceps: 220 mm s-shape
	1
	
	

	74
	Rt angel forceps (Gemini): 200 mm 
	1
	
	

	75
	Rt angel forceps (Gemini): 280 mm 
	1
	
	

	76
	Rt angel forceps (kantrowitz): 190 mm
	1
	
	

	77
	Rt angel forceps (kantrowitz): 265 mm
	1
	
	

	78
	Rt angel forceps (rumel): 250 mm
	1
	
	

	79
	De , baky vessel clamp: Jaw 54 mm . 270 mm
	1
	
	

	80
	De , baky vessel clamp: Jaw 38 mm . 220 mm
	1
	
	

	81
	De , baky aneurism clamp: 315 mm
	1
	
	

	82
	Atraumata clamp de bakey: 255 mm , 70 mm 90 degree
	1
	
	

	83
	De bakey vessel forceps: Jaw 65 mm 280 mm 60 degree
	1
	
	

	84
	De bakey lig carrier: Acute curved 265 mm
	1
	
	

	85
	Durogrip crile wood needle holder: 145 mm
	1
	
	

	86
	Durogrip hegar mayo needle holder: 205 mm
	1
	
	

	87
	Durogrip de bakey needle holder: 180 mm
	1
	
	

	88
	Durogrip de bakey needle holder: 250 mm
	1
	
	

	89
	Durogrip de bakey needle holder: 305 mm
	1
	
	

	90
	Masson durogrip needle holder: 265 mm
	1
	
	

	91
	Inerior box for bl 930
	1
	
	

	92
	Laboratory dish: 0.16 L 


	1
	
	

	93
	Laboratory dish: 0.4 L
	1
	
	

	94
	Kidney tray: 250 mm
	1
	
	

	95
	Redon spike char 16 slig cvd triang tip
	1
	
	

	96
	Russian foreceps: 150 mm
	1
	
	

	97
	Russian foreceps: 250 mm
	1
	
	

	98
	Collin atraumatic lung foreceps: 195 mm 
	1
	
	

	99
	Collin atraumatic lung foreceps: 230 mm
	1
	
	

	100
	Babcock foreceps: 160 mm
	1
	
	

	101
	Babcock foreceps: 230 mm
	1
	
	

	102
	Bronchial foreceps (price Thomas): Pins nlt jaw 200 mm
	1
	
	

	103
	Bronchial foreceps (price Thomas): Pins nlt jaw 200 mm
	1
	
	

	104
	Bone curette (volkman): Standard pattern oval 170 mm no 6
	1
	
	

	105
	Bone curette (volkman): Standard pattern oval 1270 mm no 6
	1
	
	

	106
	Kellt retractor (moris): 210 mm
	1
	
	

	107
	Kellt retractor (moris): 75 * 65 mm
	1
	
	

	108
	Deaver retractor: 75 * 90 mm
	1
	
	

	109
	Deaver retractor: 35 cm length 25 mm wide
	1
	
	

	110
	Harrington retractor: 30 cm length 50 mm wide
	1
	
	

	111
	Balfur abdominal retractor: 32 cm /62 mm wide x 172 mm deep
	1
	
	

	112
	Balfur abdominal retractor: Fenestrated blades 85 x 65 mm
	1
	
	

	113
	Ochsner ribbon retractor: Fenestrated blades 70 x 100 mm
	1
	
	

	114
	Abdominal suction tube: Malleable copper silver plated 30 x300 mm
	1
	
	

	115
	Yankauer suction: Malleable copper silver plated 75 x300 mm
	1
	
	

	116
	Nelson metzenbaum dissecting scissor: 22 cm , 10 mm
	1
	
	

	117
	Klenkenbergh artery and dissecting scissor: 28 cm chrome plated
	1
	
	

	118
	Dressing forceps: s-shape 23 cm
	1
	
	

	119
	Dressing forceps: Medium width str 25
	1
	
	

	120
	Debakey needle holder: Medium width str 30
	1
	
	

	121
	Debakey needle holder: Slender pattern hm tungsten carbide inserts gold plated ring handles 30 cm
	1
	
	

	122
	Original sterilization tray
	5
	
	


	Item I-9
	Dressing Set (Operation Theatres)
	Qty. (20 sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Crile hemostatic forceps 5 14 cm CVD
	1
	
	

	2
	Suture scissors sh/bl 14 cm
	1
	
	

	3
	Tissue forceps 14 cm tooth
	1
	
	

	4
	Galli pots s
	1
	
	

	5
	Kidney dish medium
	1
	
	


	Item I-10
	Haemorrhoid Set
	Qty. (8 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Mayo sciss str 17 cm 
	1
	
	

	2
	Mayo sciss cvd 17 cm 
	1
	
	

	3
	Rochester pean fcps cvd 16 cm
	6
	
	

	4
	Kocher haem fcps fine str 16 cm
	4
	
	

	5
	Halsted mosquito srt 12 cm
	6
	
	

	6
	Backhaus towel forceps 13 cm
	6
	
	

	7
	Forster fcps str serr 25 cm
	2
	
	

	8
	Dress fcps stand str 14.5 cm
	2
	
	

	9
	Tissue fcps stand 1x2t 1405 cm
	2
	
	

	10
	Scalpel handle no 3
	1
	
	

	11
	Scalpel handle no 4
	1
	
	

	12
	Probe with eye 18 cm
	1
	
	

	13
	Grooved director 18 cm
	1
	
	

	14
	Mayo hegar needle 18 cm
	2
	
	

	15
	Allis forceps 5x6 teeth 15 cm
	6
	
	

	16
	Pratt rectal specula  20.5 cm
	1
	
	

	17
	Hirschmann anusc 16x 65 mm
	1
	
	

	18
	Instrument tray
	1
	
	

	19
	Kidney dishl
	1
	
	

	20
	gallipotsm
	1
	
	

	21
	Proctoscope set 

A. Proctoscope :

1. Pediatric (12 mm diameter *40mm length ) qty :2
2. Medium (20 mm diameter *70 mm length ( qty :3
3. Large ( 22 mm diameter * 70 mm length (   qty :3 
B. Cable   qty :3 
C. Light with adapter  qty : 3
	
	
	

	22
	Original sterilization tray
	2
	
	


	Item I-11
	Amputation Set
	Qty. (6 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Scalpel handle #3
	1
	
	

	2
	Suture scissor sh/bl 14 cm
	1
	
	

	3
	Mayo scissor CVD 7
	1
	
	

	4
	Metzenbaum scissor CVD 8
	1
	
	

	5
	Dissecting forceps tooth 6
	1
	
	

	6
	Dissecting forceps non tooth 6
	1
	
	

	7
	Adson fcp tooth 5
	1
	
	

	8
	Adson fcp non tooth 5
	1
	
	

	9
	Grille wood needle holder 5
	1
	
	

	10
	Grille wood needle holder 6
	1
	
	

	11
	Grille wood needle holder 7
	1
	
	

	12
	Grille fcp cvd 14 cm
	4
	
	

	13
	Halsted mosquito str 12 cm
	2
	
	

	14
	Halsted mosquito cvd 12 cm
	2
	
	

	15
	Ochsner fcp str 7
	2
	
	

	16
	Kocher langenbck petractor 35 x 11 mm 21.5 cm
	1
	
	

	17
	Carspow senn miller petractor d/e 16 cm
	1
	
	

	18
	Farabouf petractor 15 cm
	2
	
	

	19
	Volkman petractor 4 prongs sharp 22 cm
	1
	
	

	20
	Skin hook sharp 16 cm
	1
	
	

	21
	Sponge holder forceps 9
	1
	
	

	22
	Towel clamp 13 cm
	4
	
	

	23
	Gigli saw handle
	2
	
	

	24
	Gigli saw wire
	6
	
	

	25
	Amputation saw
	1
	
	

	26
	Percy Amputation retractor
	1
	
	

	27
	Bone holder clamp sele retaning 9
	1
	
	

	28
	Bone rongeur 24 cm
	1
	
	

	29
	Bone cutter 22 cm
	1
	
	

	30
	Bone mallets 500 g
	1
	
	

	31
	Bone chesiel 15 mm
	1
	
	

	32
	Bone chesiel 25 mm
	1
	
	

	33
	Bone file str 30 cm
	1
	
	

	34
	Hohmann bone levers 22 mm
	1
	
	

	35
	Hohmann bone levers 33 mm
	1
	
	

	36
	Gallipots s
	1
	
	

	37
	Kidney dish l
	1
	
	

	38
	Instrument rtay
	1
	
	

	20
	Original sterilization tray
	2
	
	


	Item I-12
	Major Thoracotomy Set
	Qty. (6 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Maier polupus forceps (sponge forceps): With ratchet cvd 265 mm
	1
	
	

	2
	Maier polupus sponge and dress forceps  
	1
	
	

	3
	Atrauma polupus and ovum forceps: Non traumatic ovum forceps str 250 mm
	1
	
	

	4
	Backhaus towel holding forceps: 110 mm
	1
	
	

	5
	Backhaus towel holding forceps: 135 mm
	1
	
	

	6
	Towel clamp: 115 mm length
	1
	
	

	7
	Scalpel handle: No.4 for blades 18-37
	1
	
	

	8
	Scalpel handle: No.3 for blades 10-15
	1
	
	

	9
	Scalpel handle: No.3 for blades 10-15
	1
	
	

	10
	Metzenbaum, diss , sciss: Durotip cvd 200 mm curved
	1
	
	

	11
	Metzenbaum, diss , sciss: Durotip cvd 230 mm curved
	1
	
	

	12
	Nelson-metzenbaum,diss, sciss: Durotip 260 mm curved
	1
	
	

	13
	Nelson-metzenbaum,diss, scissors: Durotip 300 mm curved
	1
	
	

	14
	Dissecting scissors: Curved 230 mm
	1
	
	

	15
	Mayo  scissors: Curved 170 mm
	1
	
	

	16
	Dissecting scissors: Curved 140 mm
	1
	
	

	17
	Diss, sciss,mayo lexer: Durotip cvd 165 mm
	1
	
	

	18
	Dissecting forceps: Slend patt 145 mm
	1
	
	

	19
	Tissue forceps: Std patt 1x2t .145 mm
	1
	
	

	20
	Tissue forceps: 1x2 t 200 mm medium size
	1
	
	

	21
	Forceps: Straight 2 mm jaw atrauma . 150 mm
	1
	
	

	22
	Forceps: Straight 2 mm jaw atrauma . 200 mm
	1
	
	

	23
	Forceps: Straight 2 mm jaw atrauma . 240 mm
	1
	
	

	24
	Forceps:  Straight 2 mm jaw atrauma . 300 mm
	1
	
	

	25
	Halsted mosquito forceps: Curved 125 mm
	1
	
	

	26
	Halsted mosquito forceps: Straight 125 mm
	1
	
	

	27
	Baby mosquito: Curved 100 mm
	1
	
	

	28
	Kocher forceps: Str 1x2 teeth 140 mm
	1
	
	

	29
	Kocher forceps: Str 240 mm
	1
	
	

	30
	Rt angel forceps: 185 mm s-shape
	1
	
	

	31
	Rt angel forceps: 210 mm s-shape
	1
	
	

	32
	Rt angel forceps: 215 mm s-shape
	1
	
	

	33
	Rt angel forceps: 220 mm s-shape
	1
	
	

	34
	Rt angel forceps (Gemini ): 200 mm
	1
	
	

	35
	Rt angel forceps (Gemini ): 280 mm
	1
	
	

	36
	Rt angel forceps (kantrowitz): 190 mm
	1
	
	

	37
	Rt angel forceps (kantrowitz): 265 mm
	1
	
	

	38
	Rt angel forceps (rumel ): 250 mm
	1
	
	

	39
	De , baky vessel clamp: Jaw 54 mm . 270 mm
	1
	
	

	40
	De , baky vessel clamp: Jaw 38 mm . 220 mm
	1
	
	

	41
	De , baky aneurism clamp: 315 mm

	1
	
	

	42
	Atraumata clamp de bakey: 255 mm , 70 mm 90 degree
	1
	
	

	43
	De bakey vessel forceps: Jaw 65 mm 280 mm 60 degree
	1
	
	

	44
	De bakey lig carrier:  Acute curved 265 mm
	1
	
	

	45
	Durogrip crile wood needle holder: 145 mm
	1
	
	

	46
	Durogrip hegar mayo needle holder: 205mm
	1
	
	

	47
	Durogrip de bakey needle holder: 180 mm
	1
	
	

	48
	Durogrip de bakey needle holder: 250 mm
	1
	
	

	49
	Durogrip de bakey needle holder: 305 mm
	1
	
	

	50
	Masson durogrip needle holder: 265 mm
	1
	
	

	51
	Inerior box for bl 930
	1
	
	

	52
	Laboratory dish: 0.16 L
	1
	
	

	53
	Laboratory dish: 0.4 L
	1
	
	

	54
	Kidney tray: 250 mm
	1
	
	

	55
	Redon spike char 16 slig cvd triang tip
	1
	
	

	56
	Russian foreceps: 150 mm
	1
	
	

	57
	Russian foreceps: 250 mm
	1
	
	

	58
	Collin atraumatic lung forceps: 195 mm
	1
	
	

	59
	Collin atraumatic lung forceps: 230 mm
	1
	
	

	60
	Babcock forceps: 160 mm
	1
	
	

	61
	Babcock forceps: 230 mm
	1
	
	

	62
	Bronchial forceps (price Thomas): Pins nlt jaw 200 mm
	1
	
	

	63
	Bronchial forceps (price Thomas): Pins nlt jaw 200 mm
	1
	
	

	64
	Bone curette (volkman): Standard pattern oval 170 mm no 6
	1
	
	

	65
	Bone curette (volkman): Standard pattern oval 1270 mm no 6
	1
	
	

	66
	Kellt retractor (moris): 210 mm
	1
	
	

	67
	Kellt retractor (moris): 65 mm x 75 mm

	1
	
	

	68
	Deaver retractor: 75 x 90 mm
	1
	
	

	69
	Deaver retractor: 35 cm length 25 mm wide
	1
	
	

	70
	Harrington retractor: 30 cm length 50 mm wide
	1
	
	

	71
	Balfur abdominal retractor: 32 cm /62 mm wide x 172 mm deep
	1
	
	

	72
	Balfur abdominal retractor: Fenestrated blades 85 x 65 mm
	1
	
	

	73
	Ochsner ribbon retractor: Fenestrated blades 70 x 100 mm
	1
	
	

	74
	Abdominal suction tube: Malleable copper silver plated 30 x300 mm
	1
	
	

	75
	Yankauer suction: Malleable copper silver plated 75 x300 mm
	1
	
	

	76
	Nelson metzenbaum dissecting scissor: 22 cm , 10 mm
	1
	
	

	77
	Klenkenbergh artery and dissecting scissor: 28 cm chrome plated
	1
	
	

	78
	Dressing foreceps: s-shape 23 cm
	1
	
	

	79
	Dressing foreceps: Medium width str 25
	1
	
	

	80
	Debakey needle holder: Medium width str 30
	1
	
	

	81
	Debakey needle holder: Slender pattern hm tungsten carbide inserts gold plated ring handles 30 cm
	1
	
	

	82
	Original sterilization tray
	4
	
	


	Item I-13
	Adult Laparoscopic Surgical Set      
	Qty. (20 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	TROCAR, with insufflation tap, metal sleeve standard,  diameter 5.5-6 mm, working length 100-150 mm
	2
	
	

	2
	TROCAR  with pyramidal tip, diameter 5.5-6 mm, working length 100-150 mm
	2
	
	

	3
	TROCAR, 10-11 mm capacity, 100-150 mm working length
	2
	
	

	4
	TROCAR PYRAMIDAL TIP  for trocar sleeves diameter 10-11 mm, working length 100-150 mm
	1
	
	

	5
	TROCAR PYRAMIDAL TIP  for trocar sleeves diameter 13 mm, working length 100-150 mm
	1
	
	

	6
	Reduction sleeve (10.0 / 5.5 mm)
	1
	
	

	7
	Reducing adapter Ø 10 mm to Ø 5.5 mm
	2
	
	

	8
	Atrumatic fenestrated Grasping single jaw action, with horizontal serration, 20 mm jaw length,  WL 330-360 mm
	1
	
	

	9
	"Babcock" Grasping forceps  5 mm, grasping surface with fine horizontal serration, double jaw action WL= (330-360  mm)
	2
	
	

	10
	Atraumatic grasping forceps 5mm, perforated with horizontal serrations, double jaw action WL= (330-360 mm)
	2
	
	

	11
	Maryland dissector forceps 5mm,", curved with fine horizontal serration, double jaw action WL= (310-360  mm)
	1
	
	

	12
	Retraction grasper with two teeth 5mm WL= 330-360 mm
	1
	
	

	13
	Teeth trumatic "Alligator  Grasping forceps with   5mm,fine horizontal serrations, single jaw action WL= (330-360  mm)
	1
	
	

	14
	Tooth 2/3 claws  grasping forceps 10 mm, single  jaw action WL =335-360 mm
	1
	
	

	15
	Grasper 5mm Wl 330-360 mm
	1
	
	

	16
	Intestienal grasping atraumatic clamp "Debakey" 5mm, axial grooves with fine horizontal serrations, double jaw action, with spring jaws Wl=(330-360mm)
	2
	
	

	17
	Hook punch, 5 mm cutting, single jaw action
	1
	
	

	18
	Scissors, "Metzenbaum" 5mm, curved left, double jaw action
	3
	
	

	19
	Scissors 5mm, straight, tapered, double jaw action
	1
	
	

	20
	Hook scissors 5 mm , length 310-360 mm 
	1
	
	

	21
	Hook electrode 5 mm, HF MONOP. WL = (340-430 mm)
	2
	
	

	22
	SPATULA ELECTRODE 5 mm, HF MONOP. WL = (340 -430mm)
	1
	
	

	23
	SUCTION-IRRIGATION TUBE, 5 mm with central or side holes opening with 2 way stopcock
	1
	
	

	24
	TISSUE RETRACTOR, 5 mm WL = ( 320-360 mm )
	1
	
	

	24
	NEEDLE HOLDER Ø 5 mm straight,  Wl = (310-360 mm)
	1
	
	

	25
	NEEDLE HOLDER Ø 5 mm curved left,  Wl = (310-360 mm)
	1
	
	

	26
	KNOTPUSHER, Ø 5 mm, with distal notch and lateral opening for optimal knot pushing, extremely atraumatic tip for use as probe, WL 330-360 mm
	1
	
	

	27
	PUNCTURE CANNULA diameter 5 mm, with suction control, and 4 mm Luer connector, working length 315 mm
	1
	
	

	28
	VERES CANNULA 150 mm working length
	2
	
	

	29
	Clip Applicator 10 mm WL = (290-410)
	1
	
	

	30
	CLIPS 
	100 pcs
	
	

	31
	Metal outer sheath insulated size 5 mm length 310-360 mm
	4
	
	

	32
	Metal outer sheath insulated size 10 mm length 310-360 mm
	2
	
	

	33
	Instrument plastic handle with ratchet 
	2
	
	

	34
	Instrument plastic handle without ratchet 
	2
	
	

	35
	Instrument tray with racks
	1
	
	


J: Vascular Surgery

	Item J-1
	A.A.A Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Needle holder 
	6
	
	

	2
	Tooth forceps
	2
	
	

	3
	Russian forceps
	2
	
	

	4
	Debakey forceps
	6
	
	

	5
	Handle knife 
	2
	
	

	6
	Cats pow 
	2
	
	

	7
	Castro 
	2
	
	

	8
	Abdominal self retener 
	1
	
	

	9
	Diverse retractor 
	3
	
	

	10
	Sweet heart 
	2
	
	

	11
	Mores retractor
	2
	
	

	12
	Langel pick retractor
	2
	
	

	13
	Far above retractor
	2
	
	

	14
	Doyen retractor
	1
	
	

	15
	Malleable retractor
	2
	
	

	16
	self-retaining retractor
	5
	
	

	17
	Olive 
	2
	
	

	18
	Tip sucker suction
	1
	
	

	19
	Abdominal sucker suction
	1
	
	

	20
	Yankauer suction
	1
	
	

	21
	Rubber shod
	1
	
	

	22
	VEIN retractor
	2
	
	

	23
	7 inch 
	2
	
	

	24
	crow
	1
	
	

	25
	Right angle 
	3
	
	

	26
	Pots scissors 
	4
	
	

	27
	Babcock
	1
	
	

	28
	Allis 
	2
	
	

	29
	Cocker
	2
	
	

	30
	5 inch 
	3
	
	

	31
	Mosquito 
	3
	
	

	32
	9 inch 
	1
	
	

	33
	Sponge holder 
	1
	
	

	34
	Towel clip 
	4
	
	

	35
	Tissue  scissor 
	5
	
	

	36
	Curved scissor 
	1
	
	

	37
	Stich scissor 
	1
	
	

	38
	Vascular clamp iliac 
	5
	
	

	39
	Aortic Vascular clamp 
	6
	
	

	40
	Stansky Vascular  clamp 
	6
	
	

	41
	Straight Vascular clamp 
	1
	
	

	42
	Brashia Vascular clamp 
	3
	
	

	43
	Profunda Vascular clamp
	1
	
	

	44
	Carotid Vascular clamp 
	2
	
	

	45
	Kidney dish 
	1
	
	

	46
	Nerve hock 
	2
	
	

	47
	Bulge doge 
	2
	
	

	48
	Dissector 
	2
	
	


	Item J-2
	Carotid Set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Needle holder 
	3
	
	

	2
	Tooth forceps
	1
	
	

	3
	Russian forceps
	1
	
	

	4
	Debakey forceps
	5
	
	

	5
	Handle knife 
	2
	
	

	6
	Cats pow 
	1
	
	

	7
	Castro 
	2
	
	

	8
	Dissector 
	2
	
	

	9
	Nerve hock 
	2
	
	

	10
	Diverse retractor 
	1
	
	

	11
	Dissector
	2
	
	

	12
	Mores retractor
	1
	
	

	13
	Langel pick retractor
	1
	
	

	14
	Far above retractor
	2
	
	

	15
	Bulge doge 
	3
	
	

	16
	Malleable retractor
	1
	
	

	17
	self-retaining retractor
	4
	
	

	18
	Olive 
	1
	
	

	19
	Tip sucker suction
	3
	
	

	20
	Abdominal sucker suction
	1
	
	

	21
	Yankauer suction
	1
	
	

	22
	Rubber shod
	1
	
	

	23
	VEIN retractor
	1
	
	

	24
	crow
	1
	
	

	25
	Right angle 
	3
	
	

	26
	Pots scissors 
	3
	
	

	27
	Babcock
	1
	
	

	28
	Allis 
	1
	
	

	29
	Cocker
	1
	
	

	30
	5 inch 
	3
	
	

	31
	Mosquito 
	2
	
	

	32
	7 inch 
	2
	
	

	33
	Sponge holder 
	1
	
	

	34
	Towel clip 
	4
	
	

	35
	Tissue  scissor 
	5
	
	

	36
	Curved scissor 
	1
	
	

	37
	Stich scissor 
	1
	
	

	38
	Vascular clamp iliac 
	5
	
	

	39
	Aortic Vascular clamp 
	6
	
	

	40
	Stansky Vascular  clamp 
	6
	
	

	41
	Straight Vascular clamp 
	1
	
	

	42
	Brashia Vascular clamp 
	3
	
	

	43
	Profunda Vascular clamp
	1
	
	

	44
	Carotid Vascular clamp 
	2
	
	

	45
	Kidney dish 
	1
	
	


	Item J-3
	Amputation Set
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Kidney dish
	1
	
	

	2
	Needle holder 
	2
	
	

	3
	Cocker
	3
	
	

	4
	Handle knife 
	1
	
	

	5
	Towel clip 
	4
	
	

	6
	Far above retractor
	2
	
	

	7
	Bone cuter 
	1
	
	

	8
	7 inch clamp 
	2
	
	

	9
	Right angle 
	2
	
	

	10
	Langel pick retractor
	2
	
	

	11
	Tooth forceps
	1
	
	

	12
	Non Tooth forceps
	2
	
	

	13
	5 inch clamp 
	5
	
	

	14
	Tissue Scissor
	2
	
	

	15
	Stich Scissor
	1
	
	

	16
	Allis 

	3
	
	

	17
	Bone nibbler
	1
	
	

	18
	Bone rasp
	1
	
	

	19
	Periosteum  
	1
	
	

	20
	Gigli saw wire
	2
	
	

	21
	Handle for Gigli saw wire
	2
	
	


	Item J-4
	Stripping set
	Qty. (2 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Needle holder 
	2
	
	

	2
	Tooth forceps
	1
	
	

	3
	Vein stripper 
	1
	
	

	4
	Debakey forceps
	3
	
	

	5
	Handle knife 
	2
	
	

	6
	Tissue  scissor 
	2
	
	

	7
	Stich scissor 
	1
	
	

	8
	Nerve hock 
	1
	
	

	9
	Right angle 
	2
	
	

	10
	Tip sucker suction
	1
	
	

	11
	Towel clip 
	3
	
	

	12
	Far above retractor
	1
	
	

	13
	Kidney dish 
	1
	
	

	14
	VEIN retractor
	1
	
	

	15
	self-retaining retractor
	2
	
	

	16
	Cats pow 

	1
	
	

	17
	Sponge holder 
	1
	
	

	18
	Brashia Vascular clamp 
	2
	
	

	19
	Yankauer suction
	1
	
	

	20
	Bulge doge 
	2
	
	

	21
	5 inch 
	6
	
	

	22
	Mosquito 
	2
	
	

	23
	7 inch 
	1
	
	


	Item J-5
	Minor set
	Qty. (5 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Tissue  scissor 
	2
	
	

	2
	Stich scissor 
	1
	
	

	3
	Pots scissor
	2
	
	

	4
	Handle knife 
	2
	
	

	5
	Castro 
	2
	
	

	6
	self-retaining retractor
	2
	
	

	7
	Far above retractor
	1
	
	

	8
	VEIN retractor
	1
	
	

	9
	Tip sucker suction
	1
	
	

	10
	5 inch 
	2
	
	

	11
	Mosquito 
	1
	
	

	12
	Brashia Vascular clamp 
	3
	
	

	13
	Right angle 
	2
	
	

	14
	Kidney dish 
	1
	
	

	15
	Bulge doge 
	2
	
	

	16
	Debakey forceps

	2
	
	

	17
	Tooth forceps
	1
	
	

	18
	crow
	1
	
	

	19
	Needle holder 
	2
	
	

	20
	Cats pow 
	1
	
	

	21
	Towel clip 
	2
	
	

	22
	Yankauer suction
	1
	
	

	23
	Rubber shod
	1
	
	

	24
	Vascular clamp 
	1
	
	


K: Ortho-Spine

	Item K-1
	Discectomy Set
	Qty. (3 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	SUCKER
	2
	
	

	2
	PROBE LONG
	1
	
	

	3
	PROBE SHORT
	1
	
	

	4
	WODSON PROB
	1
	
	

	5
	DISSECTER
	2
	
	

	6
	NERVE HOCK
	2
	
	

	7
	CURETT
	6
	
	

	8
	NERVE RETRACTOR
	3
	
	

	9
	FORCEBS BIBO
	1
	
	

	10
	PENFIELD#1
	1
	
	

	11
	PENFIELD#2
	1
	
	

	12
	PUTTARY
	10
	
	

	13
	End plate rasp
	1
	
	

	14
	Kareson
	10
	
	

	15
	Root retractor
	2
	
	


	Item K-2
	Spinal Set
	Qty. (4 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Kerason curve
	4
	
	

	2
	Kerason tip up
	2
	
	

	3
	Kerason tip down
	6
	
	

	4
	Coup
	2
	
	

	5
	Bone nupler
	6
	
	

	6
	Ostetome ( 6+10+13+16+19)
	5
	
	

	7
	Rip cutter
	1
	
	

	8
	Pututary
	4
	
	

	9
	Hummer
	1
	
	

	10
	Rip dissector
	5
	
	

	11
	Periosteum elevator
	1
	
	

	12
	Frier
	2
	
	

	13
	Curet
	3
	
	

	14
	Cord retracter
	2
	
	

	15
	TELLER retractor
	1
	
	

	16
	Muhostetom
	3
	
	

	17
	Ostetom curve
	1
	
	

	18
	Ostetom straight
	1
	
	


	Item K-3
	General Orthopedic Set
	Qty. (3 Sets)


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Kidney dish
	1
	
	

	2
	Galipot
	1
	
	

	3
	Needle holder
	5
	
	

	4
	Kocher
	3
	
	

	5
	Handle knife
	2
	
	

	6
	Cats bou
	1
	
	

	7
	Suction
	2
	
	

	8
	For above retractor
	4
	
	

	9
	Sponge forceps
	1
	
	

	10
	Tooth forceps
	1
	
	

	11
	Non-tooth forceps
	3
	
	

	12
	Rashaion forceps
	1
	
	

	13
	Vein retracter
	3
	
	

	14
	 Straight clamp
	3
	
	

	15
	5inch clamp
	6
	
	

	16
	scissors 

	4
	
	

	17
	Devior
	2
	
	

	18
	Ruler
	1
	
	

	19
	Moris
	3
	
	

	20
	Bone holder
	2
	
	

	21
	Bone hock 
	2
	
	

	22
	Right angle clamp
	2
	
	

	23
	Rack
	3
	
	

	24
	Towel clip
	2
	
	

	25
	Self  retating Curve
	4
	
	

	26
	Self  retating Straight Long
	2
	
	


	Item K-4
	Taylor Retractor
	Qty. 4 pc


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Taylor Retractor
	4
	
	


	Item K-5
	Wilson Spine Frame
	Qty. 1 pc


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Wilson spine frame
	1
	
	


	Item K-6
	4 Corner Spine Frame
	Qty. 1 pc


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	4 corner spine frame
	1
	
	


	Item K-7
	Rod Cutter
	Qty. 2 pcs


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Rod Cutter
	2
	
	


	Item K-8
	Head Silicon Support
	Qty. 2 pcs


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Head silicon support
	2
	
	


	Item K-9
	Knee Gel Pad
	Qty. 4 pcs


IMPORTANT NOTE:
Vendors are required to fill out the product details, compliance information, and brochure reference page number in the columns below
TECHNICAL SPECIFICATIONS:
The unit must meet or exceed the requirements listed in the table below.

	Product Details

	Name of Manufacturer

	

	Model/ catalogue number


	

	Country of Origin for the offered model
	

	Country where the manufacturer is based
	

	Delivery time
	

	Full warranty period
	


	
	Minimum Requirements
	Qty.
	Compliance )Y/N), Notes 
	Brochure Page No.

	1
	Knee gel pad
	4
	
	


Special terms for medical instruments
· Offers not complying with any of the special terms or the technical specifications shall be considered non-conforming with tender requirements.
· Any vendor providing FORGED documents shall be disqualified from the current tender and banned from participating in any future RMS tenders

· Offers submitted by vendors with previously complaints or unsolved issues will be excluded  from the current tender 

1. The vendor is responsible to ensure through official  documents that classified medical instrument are manufactured in conformity with  applicable quality system standards (ISO) and must  provide  the latest copy of the certificates of the following standards formally endorsed by the chamber of commerce of the manufacturing origin with the technical offer: 
A- ISO 13485:2016
Medical devices — Quality management systems — Requirements for regulatory purposes
ISO 13485:2016 specifies requirements for a quality management system where an organization needs to demonstrate its ability to provide medical devices and related services that consistently meet customer and applicable regulatory requirements.

B- ISO 9001:2015

Quality management systems — Requirements
Specifies requirements for a quality management system, aims to enhance customer satisfaction through the effective application of the system, including processes for improvement of the system and the assurance of conformity to customer and applicable statutory and regulatory requirements.

C- ISO 7153-1:2016

Surgical instruments — Materials — Part 1: Metals
Specifies metals commonly used to manufacture various types of standard surgical instruments, including but not limited to those used in general surgery, orthopaedics and dentistry.

D- ISO 7151:1988

Surgical instruments — Non-cutting, articulated instruments — General requirements and test methods
Specification of basic requirements for as well physical characteristics as workmanship, of the steel grades used and heat treatment of component parts, excluding rivets, screws and parts manufactured of material grade M.

E- ISO 7740:1985

Instruments for surgery — Scalpels with detachable blades — Fitting dimensions
Lays down the dimensions of two sizes of fitting features for detachable scalpel blades and the handles with which they are used. It secures a good fitting and interchangeability of detachable blades for scalpels manufactured in different countries or by different manufacturers

F- ISO 7741:1986

Instruments for surgery — Scissors and shears — General requirements and test methods
This standard deals with materials, heat treatment and hardness of component parts, corrosion resistance, workmanship and cutting ability of scissors and shears used in the surgery and defines the test methods.

G- ISO 13402:1995

Surgical and dental hand instruments — Determination of resistance against autoclaving, corrosion and thermal exposure
Describes test methods to determine the resistance of stainless steel surgical and dental hand instruments against autoclaving, corrosion and thermal exposure.

2. Offered items should be from reputable well known manufacturers and excellent experience in the field previously evaluated and accepted in Main Hospitals at Royal Medical Service. Bidder must submit samples with the technical offer  from each brand that was submitted in the offer to be assessed and /or evaluated by RMS
A.  Evaluation duration and quantities will be determined by the purchasing committee.

B. Offers which do not include such samples will be considered non-conforming.

C. Offers which fail the evaluation/assessment process will be excluded from the tender.

D.  Samples will be returned to the Bidder at the end of the evaluation/assessment process except for samples from Bidders winning the final award where they will be the property of  RMS and will be kept as a reference for the receiving committee.

E. The purchasing committee has the right to require a sample for any instrument  previously installed in RMS Hospitals. 

3. A. Bidder is not allowed to submit more than one offer for the same item whether that’s solely or in coalition or partnership with other bidders.

B. Bidder is allowed to include within their offer optional alternatives for the same offered item from the same manufacturer.
4. Required certificates: 
a. For instruments of USA origin, a copy of a certificate of FDA approval must be submitted with the technical offer. 
b.  For instruments of other origins, a copy of either a CE certificate (MDD)/TUV OR a certificate of FDA approval must be submitted with the technical offer.
c. With each offer, bidders must provide a formally endorsed document issued by the manufacturer stating that the bidder is the authorized agent/ distributor for the offered item.

d.  In all of the above cases (except C) certificates must be formally endorsed by JFDA.

5. Any vendor not submitting all required certificates will be eliminated.
6. All Offered items should be supplied with free sale certificate said confirmation should be stating clearly that the item is freely sold in the country of origin. 
7. All items should be engraved or etched with manufacturing origin, company logo and code number.

8. Each instrument set will be awarded as a listed set which including its specific sterilization baskets and trays.

9. Bidders must submit their reservations/queries regarding tender specifications and/or special terms within the first third of the tender closing period starting from the tender announcement date. Reservations/queries submitted after the end of this period will be rejected.
10. The supplier must furnish DRMS with a guarantee letter stamped and legalized by the Notary Public equals to (115%) of the total value of the awarded equipment valid for (24) months from the date of final acceptance of the instruments by DRMS which shall cover rusting, manufacturing defects, wear and tear and corrosion. 

11. Offers must include clear original catalogues for all offered items. Images and part numbers of offered items must be provided, highlighted and outlined clearly.

12. Offers must include fully detailed information as a soft copy (either Microsoft office or Microsoft excel format) in addition to a hard copy , mentioning the exact  model/catalogue number and country of origin of the offered item(s), full description/specifications.And any accessories or options included in the offer. 

13. Official website of the manufacturer must be provided. The website must clearly demonstrate the history profile and manufacturing features of the company.  In case of inconsistency between the information on the website with the provided information of the local agent regarding any offered product, the purchasing committee has the right to eliminate that product from the awarding process.
14. Any complementary parts, accessories and consumable items necessary for the proper operation of surgical instruments must be included in the offer, priced separately and to be approved by the manufacturer.
15. A. complementary parts availability must be guaranteed and can be purchased without the need replace the entire system of surgical instruments 
B. Bidder will bear any responsibility resulting from the awarding of insufficient items or sub-items.

16. Pricing must include services of sale, shipment, transportation, delivery from port to site or to Main Medical Stores.

17. A. custom clearance of goods shall be the responsibility of the Jordanian Armed Forces (JAF), however, suppliers shall bear all costs incurred by handling charges and any demurrage charges or extra expenses incurred by the port's corporation (including expenses caused by delay in presenting the necessary shipment documents for either clearing or transporting the goods to the required location mentioned in the final order, delivery note issuing charges, unloading charges, local shipping charges etc.). 

B. The supplier is also responsible for providing of all relevant shipping documents, together with the delivery order(s).

18. Delivery period should be mentioned clearly; the purchasing committee has the right to reject any offer with delivery time exceeding 4 months.

19. Goods are to be brand new; manufacturing date of the delivered products should not exceed 18 months from the date of the final award.

20. A.  DRMS has the right to increase the awarded quantities by a percentage not exceeding 35% after the final order notification with the same prices, terms and conditions of the original contract upon DRMS request and approval of the awarded party.
B. DRMS has the right to decrease the awarded quantities by a percentage not exceeding 50% after the final order notification with the same prices, terms and conditions of the original contract upon DRMS request and approval of the awarded party.
21. For offers submitted in Jordanian dinars, payment will be either by wire transfer or by cheque after final acceptance of goods, Any other way of payment will be rejected .
.
Page 51 of 165

