الملحق (ب) للعطاء رقم م ش ع 12/57/9/2026 شراء (مستهلكات قسطرة الأشعة التداخلية )

المواصفات الفنية و الكميات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

1

20_10_0311

Cuffed long term dual lumen hemodialysis catheter,complete set with valved pellable introducer,dilators,kink resistance,(20-25) cm tip to cuff length, (9-16)FR

742

Each

2

20_10_03120

Cuffed long term dual lumen hemodialysis catheter,complete set with valved pellable introducered,with dilator,kink resistance(26-30) cm tip to cuff length, (9-16)FR

44

Each

3

20_10_03121

Cuffed long term dual lumen hemodialysis catheter,complete set with valved pellable introducered,with dilator,kink resistance(31-41) cm tip to cuff length, (9-16)FR

96

Each

4

20_10_0331

Long term dual lumen hemodialysis catheter, complete set with valved peelable introducer,  tip to CUFF length 10-18 CM ,( 6-8) fr (pediatric size)

120

Each

5

20_10_0332

Long term dual lumen hemodialysis catheter, complete set with valved peelable introducer,  tip to CUFF length 10-28 CM ,( 10-12.5) fr (pediatric size)

120

Each

6

20_10_035

Long term dual lumen hemodialysis catheter , split tip complete set with valved peelable introducer , 15-35 cm split catheter length, 10-16 fr (pre-assembled perm cath)

60

Each

Page 1 of 7

القيادة العامه للقوات المسلحة الاردنية-الجيش العربي

مديرية المشتريات الدفاعية

لجنة الشراء المركزية

الملحق (ب) للعطاء رقم م ش ع 12/57/9/2026

Item No

Stock No

Stock Name

Quantity

Unit

7

20_10_1100

Micro puncture set To include 21G needle (0.014-0.018") introducer wire sheath dilates 3-5 FR. Flexible curved tip

35

Each

8

20_10_1365

Pigtal High Flow Graded Catheter With 1.0 cm Clear Marker 10-20 cm Grading Length 5 Fr Accept 0.038

20

Each

9

20_10_1472

VERTEBRAL CURVE CATHETER RADIO-OPAQUE TIP size 5.0 FR length 80-100cm accepet 0.038" G.WIRE

445

Each

10

20_10_148

CATHETER MULTIPURPOSE CURVE, OPEN ENDS WITH  SIDE HOLES ONE TO ONE TORQUE, BRAIDED with radio opaque tip,accept 0.038" WIRE. 5F Size length 65cm

102

Each

11

20_10_162

CATHETER MULTIPURPOSE CURVE, OPEN END NO SIDE HOLES WITH TIP MARKER ONE TO ONE TORQUE, BRAIDED 5F Size length 100cm

81

Each

12

20_10_163

Catheter Multipurpose Curve, Open Ends With Side Holes One To One Torque, Braided with radio opaque tip,  6fr size length 125cm

24

Each

13

20_10_181

Introducer sheath,5 Fr,kink resistance,hemostatic valve,with dilator,angled guide wire,length (10-15cm) compatible with 0.035" guide wire, 3way stop cock, seldinger beveled needle 5F ACCEPT 0.035" WIRE

218

Each

14

20_10_183

Introducer Guide long sheath,straight, 6Fr at least 0.070" inner lumen , radiopaque tip, 45-65 cm length

48

Each

15

20_10_200

LONG DILATOR AND SHEATH, WITH HEMOSTATASIS VALVE Radio-Opaque Tip ( Tip Marker ) (10-12)FR Sheath&dilator (15-50)cm

58

Each

Page 2 of 7

الملحق (ب) للعطاء رقم م ش ع 12/57/9/2026

Item No

Stock No

Stock Name

Quantity

Unit

16

20_10_2000

HYDROPHILIC NATURALLY OCCURING BIOPOLYMER POLYPROLATE ACETATE FOR PRESSURE APPLIED DRESSING FOR HEMOSTASIS AFTER CATHETERIZATION

86

Each

17

20_10_226

( GUIDE WIRE ) HYDROPHILIC POLYMER -COATED WIRE  0.035" Size 180 cm length J TIP

3078

Each

18

20_10_2283

Hydrophilic  wire Angled stiff care, 260 cm all wire hydrophilic with torque

1162

Each

19

20_10_2284

STIFF HYDROPHILLIC COATED GIUDE WIRE 0.035" 260cm length straight tip.

848

Each

20

20_10_322

Hydrophilic  guide wire STRAIGHT shaft 0.035" with distal sigment tapers to 0.18, length 180cm, with torque device

30

Each

21

20_10_498

INTRODUCER SET HYDROPHILIC SYSTEM WITH SIDE ARM VALVE DILATOR LENGTH 31CM. AND INTRODUCER SHEATH LENGTH 23CM 7F french Size

20

Each

22

20_10_508

PERCUTANEUOS TRANSLUMINAL CORONARY ANGIOPLASTY ACCESSORIES coronary angioplasty inflation device 20 ml syringes (20-30) Bar

1340

Each

23

20_10_748

STERILE GLASS SYRINGE, 3-5 ML VOLUME, LUER-LOCK TIP, SUITABLE FOR HIGH-PERCISION APPLICATION HYDROPHILIC COATED

144

Each

24

20_10_803

Biliary PTC System With Locking Pigtail Kit, Radioopaque Marker at Proximal Hole, Sterile. Size 10-11 Fr, Length 30-50cm

10

Each

25

20_10_863

CORONARY ANGIOGRAPHY CATHETERS Manipulation catheter,5-6Fr, radio-opaque tip, 40-65cm length,adapt 0.035" guide wire

176

Each

Page 3 of 7

الملحق (ب) للعطاء رقم م ش ع 12/57/9/2026

Item No

Stock No

Stock Name

Quantity

Unit

26

20_10_8916

Detachable Tip microcatheter FOR superselsctive embolization, intracranial use, 1.5-5cm  Detachable tip length, proximal/distal O.D 2.7-3/1.2-1.5 Fr,150-170 cm system length

24

Each

Page 4 of 7

شروط خاصـــــــــة

1-Original catalogs and three (3) Samples of the quoted items must be submitted along
with the offers for EVALUATION and PURCHASE and for RECIEPT purposes of items
showing the same serial No. Stock No. as per our tender documents specifications.
______________________________________________________________
2-Delivery/shipment in two equal consignments (5-6) months apart .
______________________________________________________________
3-Goods must be dispatch under the same storage conditions that comply with their
nature, & Storage Conditions Must Be Clearly Indicated on Packages as Well as in the
Relevant Documents.
______________________________________________________________
4-Description of good , expiry date , lot number as well as manufacturing date must be
mentioned clearly on the inner & outer packs.
______________________________________________________________
5-All parcels, packages and relative documents to be marked: -DRMS TENDER NO.
P100-2026-I GHQ JORDAN ARMED FORCES AMMAN -JORDAN.
______________________________________________________________
6- All the outer and inner packages to be printed, stamped or labelled with the following
"SOLD TO DRMS” WITH IRREMOVABLE INK.
______________________________________________________________
7-All goods should be freshly prepared on dispatch/delivered & should have at least
2/3 of its shelf life upon receipt. Any item carrying less than 2/3 of its shelf upon receipt
should be accompanied with a confirmation that you accept to replace any remaining
unused quantities at your expenses after the expiry date. Said confirmation is subject
to the approval of the director of the Royal Medical Services and will incur a fine. which
will be decided later by DRMS according to the loss that this discrepancy with terms of
the tender has caused.
______________________________________________________________
8-The quality of items should be according to accepted international standards, i.e
(FDA, CE, U.S. PHARMACOPOEIA, EUROPEAN PHARMACOPOEIA, B.P, T.U.V. OR
EQ. Standard Certificates) MUST be accompanied with the offers.
______________________________________________________________
9-The Supplier or his local agent must furnish the RMS with a guarantee stamped and
legalized by the notary public equals to 115% of the total value of the goods valid for (2
years) after acceptance of goods.
______________________________________________________________
10-Pricing must include services of sale, shipment, transportation, delivery from port to Main Medical Stores.

Page 5 of 7

الملحق (ب) للعطاء رقم م ش ع 12/57/9/2026

______________________________________________________________
11-Custom clearance of goods shall be the responsibility of the Jordanian Armed
Forces (JAF), however, suppliers shall bear all costs incurred by handling charges and
any demurrage charges or extra expenses incurred by the port's corporation or QAIA
(including expenses caused by delay in presenting the necessary shipment documents
for either clearing or transporting the goods to the required location mentioned in the
final order, delivery note issuing charges, unloading charges, local shipping
charges,etc.).The supplier is also responsible for providing of all relevant shipping
documents, together with the delivery order(s).
______________________________________________________________
12-For offers submitted in Jordanian Dinars, payment will be either by wire transfer or
by cheque to be paid after receiving DOCUMENTS FROM MAIN MEDICAL
STORES;Any other way of payment will not accepted and the offers will be rejected by
the purchasing committee.
______________________________________________________________
13-Bidders must submit their reservations/queries regarding tender specifications
and/or special terms within the first half of the tender closing period starting from the
tender announcement date. Reservations/queries submitted after the end of this period
shall be rejected.
______________________________________________________________
14-Offers submitted by vendors with previous complaints or unsolved issues will be
excluded from the current tender.
______________________________________________________________
15- RMS has the right to increase the awarded items by 35% with the same prices and
terms and conditions of the contract upon request & approval of awarded party .
______________________________________________________________
16- In case of any worldwide problem or recall of any awarded item OR malfunction not
related to implatation procedure or patient characterstic .the company is obliged to
replace any remaning quantities with equivalent or better materials otherwise DRMS
has the right to buy these materials from another sources and impose you the
differences of prices and any penalities according to the rules and regulations of
DRMS.
______________________________________________________________
17-After arrival to jordan DRMS is not responsible for any handling charges for goods
(like charges for issuing delivery order for incoming shipment unloading charges,local
shipping agents charges).
______________________________________________________________
18-Any additional ( F.O.C ) quantities offered by the bidders will be taken into
consideration when calculating the unit price of the required item.
______________________________________________________________

19-The estimated price for any (F.O.C) goods should be stated.
______________________________________________________________

20-RMS has the right to exchange any size of the awarded items with any other
size.Such as exchange should be affected within one week.

Page 6 of 7

الملحق (ب) للعطاء رقم م ش ع 12/57/9/2026

Wafaa 01/28/2026 09:50:17

Form #FP 05-01 Rev .a

Page 7 of 7