الملحق (أ): المواصفات الفنية والكميات والشروط الخاصة لدعوة العطاء رقم م ش5/9/2022

Item (1): Passive component                                                             QTY (---)

| NO. | Minimum Specifications | QTY |
| --- | --- | --- |
| 1.1 | Fiber patch cord /SM 2SC-2LC 10M | 40 |
| 1.2 | Fiber patch cord /SM 2SC-2LC 3M | 100 |
| 1.3 | Fiber patch cord /SM 2SC-2LC 1M | 100 |
| 1.4 | Fiber patch cord /SM 2LC-2LC 10M | 20 |
| 1.5 | Fiber patch cord /SM 2LC-2LC 30M | 20 |
| 1.6 | Fiber patch cord /SM 2LC-2LC 1M | 50 |
| 1.7 | Fiber patch cord /SM 2SC-2SC 3M | 30 |
| 1.8 | Fiber patch cord /SM 2SC-2SC 1M | 60 |
| 1.9 | Fiber patch cord /SM 2SC-2SC 10M | 20 |
| 1.10 | Fiber patch cord /MM 2LC-2LC 3M | 40 |
| 1.11 | Fiber patch cord /MM 2LC-2LC 20M | 20 |
| 1.12 | Fiber patch cord /MM 2LC-2LC 30M | 20 |
| 1.13 | Fiber patch cord /MM 2LC-2LC 10M | 20 |
| 1.14 | Fiber patch cord /MM 2LC-2LC 1M | 20 |
| 1.15 | Fiber patch cord /MM 2SC-2LC 3M | 40 |
| 1.16 | Fiber patch cord /MM 2SC-2LC 30M | 20 |
| 1.17 | Fiber patch cord /MM 2SC-2LC 20M | 20 |
| 1.18 | Fiber patch cord /MM 2SC-2LC 1M | 50 |
| 1.19 | Fiber patch cord /MM 2SC-2SC 10M | 40 |
| 1.20 | Fiber patch cord /MM 2SC-2SC 15M | 40 |
| 1.21 | Fiber patch cord /MM 2SC-2SC 3M | 60 |
| 1.22 | Fiber patch cord /MM 2SC-2SC 5M | 10 |
| 1.23 | Fiber patch cord / MM 2SC-2SC 1M | 50 |
| 1.24 | Fiber Patch Cord/SM 2FC-2SC 5M | 20 |
| 1.25 | Fiber Patch Cord/SM 2ST-2SC 5M | 20 |
| 1.26 | Communication (CABINET/6U) 600x450 including 1x220 v cooling fan,1 set of (4) way universal PDU,1 shelf | 20 |
| 1.27 | Fiber optic joint capacity 24 core, used for Arial installation, entries for (4) cable, shall have as few parts as possible ,shall be made of plastic, gasket seal, chemical -resistance material | 20 |
| 1.28 | Fiber optic joint capacity 48 core, used for Arial installation, entries for (4) cable, shall have as few parts as possible ,shall be made of plastic, gasket seal, chemical -resistance material | 10 |
| 1.29 | Fiber optic joint capacity 144 core, used for Arial installation, entries for (4) cable, shall have as few parts as possible ,shall be made of plastic, gasket seal, chemical -resistance material | 10 |
| 1.30 | Fiber optic joint capacity 96 core, used for Arial installation, entries for (4) cable, shall have as few parts as possible ,shall be made of plastic, gasket seal, chemical -resistance material | 10 |
| 1.31 | Optical Distribution Frames( ODF)96 CORES SC SM fully loaded with SC adapters and pigtails(50micro),rack mounted | 4 |
| 1.32 | Optical Distribution Frames( ODF) 12 CORES/SC SM fully loaded with SC adapters and pigtails(50micro),rack mounted | 40 |
| 1.33 | Optical Distribution Frames( ODF )24 CORES/SC SM fully loaded with SC adapters and pigtails(50micro),rack mounted | 40 |
| 1.34 | Optical Distribution Frames( ODF )48 CORES/SC SM fully loaded with SC adapters and pigtails(50micro),rack mounted | 30 |
| 1.35 | Optical Distribution Frames( ODF ) 8 CORES/SC SM fully loaded with SC adapters and pigtails(50micro),rack mounted | 70 |
| 1.36 | Optical Distribution Frames( ODF ) 8 CORES/SC MM fully loaded with SC adapters and pigtails(50micro),rack mounted | 40 |
| 1.37 | UTP Patch panel 48 ports, Cat6, fully loaded, rack mounted | 10 |
| 1.38 | UTP Patch panel 24 ports, Cat6, fully loaded, rack mounted | 20 |
| 1.39 | BNC Patch Panel1.75" Panel, 16 75 Ohm BNC Adapters Insulated | 4 |
| 1.40 | Balloon Panel 16 E1 Balloon Panel, 120ohm (RJ45) to 75ohm (1.5/6.5 Female coaxial connector) converter,19′ rack mount | 4 |
| 1.41 | UTP Cable Cat6 (box 305m) (Per box) | 30 |
| 1.42 | UTP Patch cord, Cat 6, 1m | 200 |
| 1.43 | UTP Patch cord, Cat 6, 3m | 200 |
| 1.44 | Fiber Pigtail SM, SC | 240 |
| 1.45 | Fiber protection sleeve 40mm | 1000 |
| 1.46 | Fiber cable Jacket stripper Fiber Jacket stripper | 2 |
| 1.47 | Fiber stripper, for coating stripping | 2 |
| 1.48 | Fiber optic cable SM Arial 12 core, SM, 9/125, Arial, two steel-wire strength member (Drum 2000m) DIM(70*70*70) | 5 |
| 1.49 | Fiber optic cable MM Arial 12 core, MM, 9/125, Arial, two steel-wire strength member (Drum 2000m) DIM(70*70*70) | 2 |
| 1.50 | Fiber optic cable SM Arial 24 core, SM, 9/125, Arial, two steel-wire strength member (Drum 2000m) DIM(70*70*70) | 3 |

Item (2): Active component                                                                              QTY (---)

| NO. | Minimum Specifications | QTY |
| --- | --- | --- |
| 2.1 | Media Converter fiber to E1 over fiber multiplexer ,E1 75 ohm, dual fiber ,20 KM | 4 |
| 2.2 | Media Converter SM10/100/1000 (Fiber To Ethernet) Fiber optic SM 10/100/1000 to 10/100/1000Base-T copper UTP | 40 |
| 2.3 | Media Converter MM10/100/1000 (Fiber To Ethernet) Fiber optic MM 10/100/1000 to 10/100/1000Base-T copper UTP | 20 |
| 2.4 | Cisco Router ISR4221/K9 (2GE,2NIM,4G FLASH,4G DRAM,IPB) | 5 |
| 2.5 | Rack mounted kit for Cisco router ISR4221 ACS-4220-RM-19 | 5 |
| 2.6 | Cisco RCKMNT-19-CMPCT 9-Inch Rack Mounting Brackets for 3560-CX and 2960-CX compact switches | 5 |
| 2.7 | Cisco Switch C1000-8T-2G-L/ CATALYST 1000 8 port GE 2x1G SFP | 45 |
| 2.8 | Cisco Switch C1000-24T-4G-L/ CATALYST 1000 24 port GE 4x1G SFP | 35 |
| 2.9 | Cisco Switch C1000-24P-4G-L / CATALYST 1000 24 port GE 4x1G SFP | 5 |
| 2.10 | Cisco Card NIM-2MFT-T1/E1 2 port Multiplex Trunk Voice/Clear-channel Data T1/E1 Module | 5 |
| 2.11 | Cisco SFP GLC-LH-SMD 1000BASE-LX/LH long-wavelength with DOM | 40 |
| 2.12 | Cisco SFP / MGBLX1 1000BASE-LX Mini-GBIC | 10 |
| 2.13 | Cisco SFP GLC-SX-MMD 1000BASE-SX short wavelength; with DOM | 10 |
| 2.14 | Cisco SFP+ 10GBASE-T 10GBASE-LR SFP Module, Enterprise-Class | 4 |

Item (3): Abroad Training                                                                                   QTY (4)

| NO. | Feature | Minimum Specifications |
| --- | --- | --- |
| 3.1 | Course Name | Managing Enterprise Networks with Cisco Prime Infrastructure (MENPI). |
| 3.2 | Training Center | Training must be in a Certified Reputable Training Center From Vendor. Training plan should be mentioned in Details (Location, training Center Name, Number Training days for each course and course Outlined). |
| 3.3 | Trainer | Certified Trainer. |
| 3.4 | Course Duration | Minimum Five Working Days. |
| 3.5 | Expenses | All expenses should be included. |

الشروط الخاصة:

- كافة المواد المقدمة يجب أن تكون جديدة 100% و ان لا تكون المواد الموردة مصنعة قبل عام 2021.

- يتم تسليم (توريد) جميع المواد اعلاه في المواقع التي تحددها مديرية الأمن السيبراني وتكنولوجيا المعلومات.

- تلتزم الشركة بوضع ليبل على كل جهاز يبين (اسم الشركة المحال عليها العطاء، رقم قرار الاحالة، تاريخ التوريد، تاريخ انتهاء الكفالة).

- العطاء قابل للتجزئة .

- يجب ان يحتوي العرض على (Compliance Sheet) مع الاشارة للمواصفة المطلوبة وتحديدها على  (Data Sheet).

- الكفالة المجانية لمدة ثلاث سنوات تشمل جميع االاجهزة الواردة وحسب ما هو مذكور في دعوة العطاء.

- تلتزم الشركة المحال عليها ماده/مواد بتسليم مديرية الأمن السيبراني وتكنولوجيا المعلومات نسخة الكترونية من الأرقام التسلسليه ( SN ) لجميع المواد المحالة عليه.

- ان لا تزيد مدة التسليم عن (24) اسبوع.

- ان تكون الشركة المتقدمة حاصلة على شهادة Partnership  من الشركة الأم مع بيان المستوى على ان لا يقل عن Gold Partnership ويتم تقديمها مع اوراق العطاء وان يكون لديها مركز صيانه معتمد من الشركة الام مع تقديم ما يثبت ذلك.

- تلتزم الشركة بتقديم شهادات المنشأ المصدقة من السفارة الأردنية أو من يمثلها في بلد المنشأ حسب الأصول ولا يتم تقديم شهادات منشأ من السوق المحلي للمواد الموردة في البنود (2.4 ولغاية 2.14) من Item(2) (Active component).

- احضار شهادة من شركة (Cisco) تثبت أن جميع مواد (Cisco) التي تم شراؤها في هذا العطاء هي مواد تم شراؤها منها وهي مواد (Cisco) الأصلية.

- الالتزام بكافة محتويات المواصفات والشروط.

- العرض يجب ان يشمل ورقة مطابقة على شكل جدول يحتوي المواصفات المطلوبة والمواصفات المقدمة من الشركة وبالاشارة الى الكاتلوج الفني، عدم تقديم هذه الورقة يعطي الحق للجنة الشراء برفض العرض وتكون الشركة مسؤولة عن جميع المعلومات داخلها.