Item (1 )   :  Rack  Cluster Servers                                                                                                            QTY(2)

|  | Feature | Minimum Specifications |
| --- | --- | --- |
| 1 | Processor | 2 x Intel Xeon Gold 6242 Processor (16 Core, 2.8Ghz 22MB Cache), Scalable up to 2 CPUs |
| 2 | Form factor | Rack With rack mounted kit with maximum of 2U |
| 3 | Memory | 256 GB RAM upgradable to 1024 GB ,DDR4 memory |
| 4 | Storage | Hot Plug drives: 2 x 480GB Read Intensive SATA |
| 5 | Optical Drive | Super DVD drive |
| 6 | Fault tolerance | RAID controllers support 0,1,5 With 2GB Cache |
| 7 | Networking | 4 x 1Gb/s Controller 2 x 10Gb/s Controller SFP+ 2 x 10Gb/s baseT interface support ISCSI |
| 8 | Interfaces | VGA, 4 USB ports |
| 9 | Management | Integrated Management Port, supports the min: - Remote power-on/off - Remote CMD connection |
| 10 | Power | Two AC Hot-pluggable power supply and cooling fans (220V/50Hz)Hot-plug redundant power |
| 11 | Expansion slots | 4 X PCIe slot |
| 12 | Others | ALL Needed Cables and Accessories to connect to KVM |
| 13 | Warranty | 3-years warranty including labor and spare parts |

Item (2 )   :  Rack  Active Directory Server                                                                                           QTY(1)

|  | Feature | Minimum Specifications |
| --- | --- | --- |
| 1 | Processor | Intel Xeon Silver 4208 Processor (8 Core, 2.1Ghz) |
| 2 | Form factor | Rack With rack mounted kit with maximum of 2U |
| 3 | Memory | 16 GB upgradable to 320 GB ,DDR4 memory |
| 4 | Storage | Hot Plug drives: 2 X 1.2 TB Hot-plug SAS 10K RPM hard drives |
| 5 | Optical Drive | Super DVD drive |
| 6 | Fault tolerance | RAID controllers support 0,1,5 With 2GB Cache |
| 7 | Networking | 2 x 10Gb/s baseT interface support ISCSI 4 x 1Gb/s Interface |
| 8 | Interfaces | VGA, 4 USB ports |
| 9 | Management | Integrated Management Port, supports the min: - Remote power-on/off - Remote CMD connection |
| 10 | Power | Two AC Hot-pluggable power supply and cooling fans (220V/50Hz)Hot-plug redundant power |
| 11 | Expansion slots | 3 X PCIe slot |
| 12 | Others | ALL Needed Cables and Accessories to connect to KVM |
| 13 | Warranty | 3-years warranty including labor and spare parts |

Item (3 )   : Rack Storage                                                                                                                               QTY(1)

|  | Feature | Minimum Specifications |
| --- | --- | --- |
| 1 | Storage Model | Midrange or High-end Storage system |
| 2 | Form factor | Rack mountable 2U height with all needed accessories, media & cables to install in the server cabinet |
| 3 | Features | Storage should be unified and supports both SAN & NAS, with no need to add external modules |
| 4 | Controllers | Dual redundant active/active controllers, each equipped with 32GB Cache or better |
| 5 | Networking | 4 x 16Gb/s Fiber channel (SFPs to be included) 4 x 10Gb/s support ISCSI At least 2x 1Gb/s NAS ports with all needed license |
| 6 | License Included | - Direct host connectivity - Snapshots & snap clones - Tiering with QoS controls - Licensed for maximum capacity |
| 7 | Features Supported | - Sync & Async replication - Data in place Encryption - Application Integration (such as VMware, exchange, etc …) |
| 8 | Maximum Capacity | Storage should be capable of supporting up to 240 HDD |
| 9 | Configured Capacity | 8 x 1.2 TB SAS 10 K RPM Disks running RAID-6 with 2 spares 12 x 4TB 7.2K RPM running RAID-6 with 2 spares |
| 10 | Supported Drivers | SAS SATA or near line SAS SSD |
| 11 | RAID Level Supports | 0,1,5 & 6 |
| 12 | Support OS | Windows Server 2008 & 2012&2016 VMWARE Vsphere Hyper-V, SUSE Linux, Oracle Linux and Red Hat Enterprise Linux |
| 13 | Power Supply & Cooling | Storage should be configured with fully redundant power & cooling |
| 14 | Brand Name | Same Brand as Servers |
| 15 | Warranty | 3-years warranty (Vender Support) including labor and spare parts |

Item (4)   :  Switch                                                                                                                                          QTY(2)

Two High Performance Switches will be used to provide connectivity with low latency

|  | Feature | Minimum Specifications |
| --- | --- | --- |
| 1 | No. Of Ports | 24-Port 10Gb/s baseT interface support ISCSI With Minimum 2x40 GB/s Uplinks |
| 2 | Features | Full Layer 2 & 3 features Supports I++SCSI connection Switches to be configured with H/A |
| 3 | Security | 802.1X, AES Encryption for SSHv2, SNMPv3, Access Control Lists (ACLs) |
| 4 | Power | Redundant Hot-swappable internal power supplies, Redundant hot-swappable fan trays, L3 VRRP protocol redundancy |
| 5 | Others | Quality of Service (QoS) & Multicast and ALL Needed Cables should be Included |
| 6 | Warranty | 3-years warranty including labor and spare parts |

Item (5)   :  Rackmount UPS                                                                                                                         QTY(1)

|  | Feature | Minimum Specifications |
| --- | --- | --- |
| 1 | Manufacturing | USA, EU, JAPAN, Turkey |
| 2 | Capacity | 10KVA Rack mount UPS |
| 3 | Battery | Backup Time>= 15 minutes for storage, switches and servers |
| 5 | Others | Online double conversion, single phase input/output, Rack and Tower Installation and all needed cables & Accessories |
| 6 | Warranty | 3-years warranty including labor and spare parts |

Item (6)   :  Cabinet                                                                                                                                          QTY(1)

|  | Feature | Minimum Specifications |
| --- | --- | --- |
| 1 | Cabinet | Server Rack cabinet 42U 800*1000 |
| 2 | PDU's | All needed PDUs, accessories, mounting kit and cables |
| 3 | KVM | 1U 17” Flat Panel monitor console Kit, Keyboard with integrated Mouse |

Item (7)   :  OS Software                                                                                                                                 QTY(7)

|  | System Feature | QTY |
| --- | --- | --- |
| 1 | Windows Server 2016 Standard OLP | 7 |

Item (8):

Item (8.a) Inboard Training Course                                                                                                 QTY(2)

Offers must include certified training programs for the following topics :

| NO. | Feature | Specifications |
| --- | --- | --- |
| 1 | Course Name | Oracle Database Administrator |
| 2 | Training Center | Training must be in a Certified Reputable Training Center. Training plan should be mentioned in Details (Location, training Center Name, Number Training days for each course and course Outlined). |
| 3 | Trainer | Certified Trainer |

Item (8.b) Abroad Training Course                                                                                                    QTY(2)

Offers must include certified training programs for the following topics :

| NO. | Feature | Specifications |
| --- | --- | --- |
| 1 | Course Name | RedHat Certified System Admin Rapid Track Course (RHCSA Rapid Track) With Exam |
| 2 | Training Center | Training must be in a Certified Reputable Training Center. Training plan should be mentioned in Details (Location, training Center Name, Number Training days for each course and course Outlined). |
| 3 | Trainer | Certified Trainer |
| 4 | Course Duration | Minimum Five working days . |
| 5 | Expenses | All expenses (course Fees, Course materials, visas, Airplane Tickets, Accommodation, Meals, Transportation, etc.) |

الشروط الخاصة:

- تعتبر جميع البنود المذكورة أعلاه جزء واحد ولا يجوز التقدم لأي بند منها بشكل منفصل.

- تقديم الدعم الفني لبيئة تشغيل (Linux, OVM) لمدة (3 سنوات).

- تلتزم الشركة بتركيب وتشغيل وتنزيل أنظمة التشغيل (OS) على جميع الأجهزة المذكورة أعلاه وحسب متطلبات القوات المسلحة الأردنية – الجيش العربي.

- كافة المواد يجب أن تكون من الأنواع المعتمدة في القوات المسلحة الأردنية – الجيش العربي.

- يتم تسليم جميع المواد أعلاه في المواقع التي تحددها مديرية الأمن السيبراني وتكنولوجيا المعلومات.

- يجب شراء البرامج التشغيلية والتطبيقية المطلوبة في البند (7) باسم القوات المسلحة الأردنية – الجيش العربي ومن خلال مركز تكنولوجيا المعلومات الوطني وحسب الاتفاقية الموقعة بين الحكومة الأردنية وشركة مايكروسوفت(Select+) وحسب كتاب رئاسة الوزراء رقم (11/3/1/30562).

- تلتزم الشركة المحال عليها العطاء بتنزيل البرامج التشغيلية والتطبيقية وبما يخص برامج مايكروسوفت وحسب احتياجات القوات المسلحة الأردنية – الجيش العربي.

- تلتزم الشركة بوضع ليبل حراري على كل جهاز يبين(اسم الشركة المحال عليها العطاء، رقم قرار الإحالة، تاريخ التوريد، تاريخ انتهاء الكفالة).

- يجب أن يحتوي العرض على (Compliance Sheet) مع الإشارة للمواصفة المطلوبة و تحديدها على (Data Sheet).

- الكفالة المجانية لمدة ثلاث سنوات تشمل جميع البنود الواردة وحسب ما هو مذكور في دعوة العطاء.

- قي حال استبدال القرص الصلب (HDD) خلال فترة الكفالة المجانية، يتم استبداله بدون بديل وتحتفظ القوات المسلحة الأردنية – الجيش العربي بالقرص التالف ودون أي تكلفة إضافية.

- بيان مدة التسليم.

- تجهيز البنية التشغيلية لجميع الأنظمة والتطبيقات العاملة.

- تدريب ونقل المعرفة أثناء التركيب.

- الالتزام بالعمل والتركيب خارج أوقات العمل الرسمي والعطل الرسمية.

- ترحيل نظام (Active Directory) من بيئة التشغيل الحالية (Win Server 2008 R2) الى

(Win server 2016).

- الالتزام بتركيب المواد والأجهزة في الأماكن التي تحددها مديرية الأمن السيبراني وتكنولوجيا المعلومات وبالتنسيق مع فرع تكنولوجيا المعلومات في مديرية القضاء العسكري

Acceptable Brands

|  | Descriptions | Acceptable Brands |
| --- | --- | --- |
| 1 | PC Servers, Midrange Sever | DELL , HP , IBM , FUJITSU , SUN |
| 2 | High End Server | DELL , HP , IBM , FUJITSU , SUN, UNISYS |
| 3 | PC’s (Desktop) | DELL , HP , FUJITSU , APPLE , LENOVO |
| 4 | Small Printers | SAMSUNG , RICHO , HP , XEROX , SHARP , CANON , OKI*, BROTHER* |
| 5 | NOTE BOOK | DELL, HP, FUJITSU, SONY, APPLE, TOSHIBA, SAMSUNG, LENOVO. |
| 6 | DOT MATRIX & LINE PRINTER | EPSON, SEDCO MAGNA, TALLY, OKI |
| 7 | PLOTTER | HP , CANON |
| 8 | SCANNERS | HP , BENQ , EPSON , KODAK , CANON , XEROX , FUJITSU |
| 9 | UPS | GE, APC, EATON POWER WARE, EMERSON (LIEBERT), TRIPP-LITE, SOCOMEC, RITTAL, BPC, POWERWALKER, INFORM. |
| 10 | DATA SHOW | DELL, PHILIPS, CANON, ACER, PANASONIC, SONY, EIKI, EPSON, LG, HITACHI, SAMSUNG, SHARP, TOSHIBA, BENQ, VIEW SONIC, CHRISTIE, OPTOMA. |
| 11 | SCREENS | LG, SONY, TOSHIBA, SAMSUNG, PANASONIC, PHILIPS, SHARP. |

### *Drum unit must be included in free warranty.