الملحق (ب) لدعوة العطاء رقم م ش ع5/1/ت/15/2026

المواصفات الفنية والشروط الخاصة للوازم المطلوبة

Items: 
1.   PEEK screws of different sizes ( range from 7-11 mm diameter and 2.5 -3 cm length)
2.   PEEK SCREWS SIZE 6mm x 25mm 
3.   PEEK SCREW SIZE 12mm x 25mm
4.   Endobutton, with tape
5.   Endobutton rigid 
6.   Endobutton adjustable with medial entry 
7.   Endobutton adjustable in line 
8.   All inside Meniscal repair single stitch 
9.   All inside Meniscal repair multiple stitches 
10.   All inside Meniscal repair with flexible technology 
11.   inside out meniscal repair Needles and Stitches ( either integrated or separate) 
12.   Bio absorbable pins or darts 
13.   Staples soft tissue of different sizes, titanium or stainless steel ) 
14.   Screw and Washer (spiked) titanium or stainless 
15.   Button extender 
16.   Suture anchors with different sizes with or without needles 
i. Single loaded 
ii. Double loaded 
iii.. Triple loaded 
17.   Knotless anchors ( different sizes) self-punching 
18.   soft suture anchors ( different sizes )
19.   soft suture anchor with TAK innovation  
20.   Swivel lock anchors ( different sizes) 
21.    Cannulated screws for Latarjet procedure 
22.    Tight rope for AC joint reconstruction 
23.    shaver blades 
24.    ablator monopolar 

25.    ablator bipolar 

26.    ablator with plasma technology

27.    Precision saw blade

Terms and conditions:
1. Bidders providing items 2-4 should also be the ones providing item 1 per operation
2. Bidders providing items 1-4 should also provide the following Per operation 

 
a. Brand new Basic arthroscopy  set containing the following: 
Probe 
Arthroscopic punches (straight and angulated)
Arthroscopic scissors 
Chondral pick 45-degree
SHEATH + Trochar ( compatible with Storz 4.5 mm lens) 
أو إحضار عدسة 30 درجة في حال عدم القدرة على التقيد بالشرط
Arthroscopic Grasper 
Arthroscopic retriever 
Instrument tray 
This set should be left as a property of RMS at the END of the tender for free 
b. A brand new instrument that allows the execution of the following procedure:
i.    ACL Reconstruction ( conventional and all inside ) 
ii.    PCL Reconstruction 
iii.    MCL Reconstruction 
iv.  PLC Reconstruction 
v.   Meniscal Root repair 
vi.  MPFL Reconstruction 
These instruments are provided according to the surgical procedure
These instruments should be demonstrated in front of the receiving committee. These instruments should include a specialized stripper ( open , Closed) and allow different grafts to be harvested. 
3. bidders providing items 12, 13, and 14 should provide special instruments to allow the execution of the procedure.
4. Bidders  providing items 16-19 should be ready to provide the following : 
a. Brand new Basic arthroscopy set containing the following : 
Probe 
Arthroscopic punches ( straight and angulated) 
Arthroscopic scissors 
Chondral pick 45 degree 
SHEATH + Trochar ( compatible with Storz 4.5mm lens) 
أو إحضار عدسة 30 درجة في حال عدم القدرة على التقيد بالشرط
Arthroscopic Grasper 
Arthroscopic retriever 
Instrument tray 
bird peak suture forceps different angles 
arthroscopic rasp 
Arthroscopic periosteal elevator 
Knot pusher 
Cuff grasper 
Special drill bit for small anchors 
Fish mouth 
Compatible punch for anchor insertion 
Katana scissors 
5. Bidders  providing items 21 and 22  should provide a specialized instrument set for the execution of open and arthroscopic Latarjet or AC joint reconstruction including medial glenoid retractor and humeral head retractor included in the set. 
6. Bidders  providing item 23 should provide the compatible shaver hand piece and console per case 

7. Bidders  providing items 24-26 should provide the compatible console per case 

8. Bidders providing item 27 should provide handpiece.
9.Bidders  should be able to provide services that will cover at least 3 hospitals simultaneously ( in terms of instruments and technicians), if no Bidder is able to provide this service then the purchase committee has the right to distribute the items according to the magnitude of the service provided. and At least one ACL Set and shoulder Arthroscopic Set should  be left at the QAMH for the entire period of the tender.
10. Bidders  should provide Sports training positions at one of its training centers for at least 10 doctors distributed according to each Bidders share of the tender. these can be extended to include surgeon to surgeon meeting or highly recognized conferences in this field such as the American Academy, ISACOS meetings, ESSKA meetings,....
Special Terms for Implant Tools (Plates, Screws, & Prosthesis)
1.  Offers not complying with any of the special terms or the technical specifications will be considered as non-conforming.

2. Any vendor providing FORGED documents will be disqualified from the current tender and any future RMS tenders or purchase orders.
3. Required certificates:  
a. For Implant tools of USA origin, a copy of a certificate of FDA approval  must be submitted with the technical offer. 

b.  For implant tools of other origins, a copy of either a CE certificate , MDR certificate, TÜV OR a certificate of FDA approval must be submitted with the technical offer. 

c. With each offer, bidders must provide a formally endorsed document issued by the manufacturer stating that the bidder is the sole certified agent / distributor for the offered item.

d. In all of the above cases (except C) certificates must be formally endorsed by JFDA.

e. Regarding  Joint prosthesis there must be a good rank by ODEP (Orthopedic Data Evaluation Panel).

4. Implants must be previously evaluated and approved by DRMS or purchased by tenders or contracts.  

5. Bidders are obligated to provide RMS with well recognised international hospitals (centers) to which their products are being distributed and used without any recall or complaints .
6. Goods are to be brand new and of the latest version from the manufacturer company

7. Goods must be freshly prepared on dispatch and must retain at least 2/3 of its shelf life when dispatch where is applicable, DRMS has the right to reject any item not in compliance with this term and impose the correspondent fines as per DRMS procurement laws

8. Bidders submit samples with the technical offer for purchasing purpose (if requested by the purchasing committee)
· bidders which do not submit such requested samples will be considered non-conforming. 

· Samples will be returned to the bidder at the end of the purchasing  process except for samples from bidders winning the final award where they will be the property of RMS and will be kept as a reference for the receiving committee.

9. Prices should be fixed for (3 years) after receipt of final order.

10. All items should be engraved or etched with manufacturing origin, company logo and code number (where applicable).

11. Bidders are obliged to provide RMS with brand new surgical instruments needed for operation on a case by case basis until the end of the agreement.

12. Bidders are obliged to exchange the awarded item with any other size according to RMS needs until the end of the agreement. Such exchange should be within (one week) after receipt of a written request from RMS

13. Goods should be dispatched under the same storage conditions that comply with their nature, storage conditions must be mentioned clearly on all documents.
14. A. DRMS has right to increase the awarded quantities by a percentage not exceeding 35% after final order notification with the same prices, terms &conditions of the contract upon request & approval of awarded party . 

 B.DRMS has right to decrease the awarded quantities by a percentage not exceeding 50% after final order  notification with the same prices, terms &conditions of the  contract upon request & approval of awarded party.
15. Local agents are obliged to send an operation technician to participate in the surgical operations at RMS hospital until the end of the agreement.
16. In the case where Any defect or claim of any item is found during surgical operations, the item should be replaced by a new one within ( one week) after the receipt of a written request from RMS.
17. Bidders must submit their reservations/queries regarding tender specifications and/or special terms within the first half of the tender closing period starting from the tender announcement date. Reservations/queries submitted after the end of this period will be rejected.

18. The supplier must furnish DRMS with a guarantee letter stamped and legalized by the Notary Public equals to (115%) of the total value of the awarded items valid for twelve months from the date of final acceptance of the goods by DRMS which shall cover rusting, manufacturing defects, wear and tear and corrosion.
19. Offers must include clear original catalogues for all offered items. Images and part numbers of offered items must be provided, highlighted and outlined clearly.

20. Offers must include fully detailed information as a soft copy (either Microsoft office or Microsoft excel format) in addition to a hard copy, mentioning the exact model/catalogue number and country of origin of the offered item(s), full description/specifications.
21. Pricing must include services of sale, shipment, transportation, delivery from port to site or to Main Medical Stores.
22. Custom clearance of goods shall be the responsibility of the Jordanian Armed Forces (JAF), however, suppliers shall bear all costs incurred by handling charges and any demurrage charges or extra expenses incurred by the port’s corporation (including expenses caused by delay in presenting the necessary shipment documents for either clearing or transporting the goods to the required location mentioned in the final order, delivery note issuing charges, unloading charges, local shipping charges etc.). The supplier is also responsible for providing of all relevant shipping documents, together with the delivery order(s).
23. For offers submitted in Jordanian dinars , payment will be either by wire transfer or by cheque after final acceptance of good , any other way of payment will be rejected.

اتفاقية شراء مستلزمات جراحة المناظير/الطب الرياضي

الماده الاولى:
يقوم الفريق الثاني بتوريد حاجة الخدمات الطبيه الملكيه مستلزمات جراحة المناظير/الطب الرياضي وحسب المواصفات والشروط والاسعار ومدة التسليم الوارده في بنود الاتفاقيه
الماده الثانيه:
ان يتم توريد المواد خلال {8 ساعات عمل} من تاريخ الطلب الهاتفي من الشركه من قبل شعبة الصيدله والتزويد في المستشفى المعني المعزز بطلب خطى عن طريق الفاكس.
المادة الثالثه:
الاسعار بالدينار الاردني شامله كافة رسوم الاستيراد والجمارك والضرائب تسليم عمليات المستشفى المعني علما بان مشتريات القوات المسلحه الاردنيه خاضعه بنسبة الصفراستنادا لنص الماده (22) من قانون الضريبه العامه على المبيعات.
الماده الرابعه:
يحتفظ الفريق الاول بحقه برفض اي ماده مخالفه للشروط والمواصفات وفي هذه الحاله يحق للفريق الاول الشراء من اي مصدر اخر على حساب الفريق الثاني.
الماده الخامسه:
يلتزم الفريق الثاني بارفاق فاتوره ذمم مع كل تسليم باسم مديرية الخدمات الطبيه الملكيه ملصقا عليها الطابع القانوني ومدون عليها اسم ورقم المريض و رقم و تاريخ  الطلب موقعه ومصدقه حسب الاصول على ان تقوم  شعبة الصيدله والتزويد في المستشفى المعني بتوريد الفواتير المبين عليها تاريخ استلام الماده من قبل المعنيين في قيادة المستودعات الطبيه الرئيسيه وترفع مع الطلب الخطي من المستشفى المعني حسب الاصول الى مديرية الخدمات الطبيه الملكيه معززه بسندات الايراد وضبوطات لجنة الاستلام.
الماده السادسه:
أ.  القيمة التقريبية للاتفاقية (800000) ثمانمئة الف دينار اردني لمدة سنتان شمسيتان تبدأ اعتبارا من تاريخ تبليغ الشركة بنسخة مصدقة من صاحب الصلاحية و تنتهي بانتهاء المدة او استنفاذ القيمة (أيهما اسبق).

ب. تجدد الاتفاقية بنفس الشروط و الأسعار و بموافقة الطرفين بعد انتهاء مدتها او استنفاذ قيمتها (ايهما اسبق) على ان لا تتجاوز مدة التجديد سنة شمسية واحدة و لهذه الغاية يعتبر كل استنفاذ للقيمة السنوية للاتفاقية قبل مرور المدة الزمنية بمثابة سنة شمسية واحدة.

ج. يحق للفريق الاول تمديد العمل بالاتفاقية لمدة (3) أشهر بنفس الاسعار و الشروط من تاريخ انتهاؤها او استنفاذ قيمتها (ايهما اسبق)  و لا يحق للفريق الثاني الاعتراض على ذلك.

د. يراعى دفع رسوم الطوابع المقررة عند اجراء التجديد او التمديد المشار اليهما في البنود اعلاه .

هـ. لا تعتبر الخدمات الطبية الملكية ملزمة بأي حال من الاحوال باستنفاذ القيمة اعلاه و يتم طلب المواد حسب الحاجة لها و عند توفر الحالات المناسبة. 

الماده السابعة :
يحق للفريق الاول الغاء العمل بهذه الاتفاقيه من جانب واحد في اي وقت على ان يتم ابلاغ الفريق الثاني قبل ذلك بمده لاتقل عن شهر واحد قبل سريان مفعول الالغاء.
الماده الثامنة :

لايحق للفريق الثاني المطالبه بزيادة الأسعار تحت اي ظرف كان خلال مدة سريان الاتفاقيه او تمديدها.
الماده التاسعة:
ان تتعهد الشركه بتبديل الاحجام والمقاسات الناقصه خلال مدة سريان مفعول الاتفاقيه.
الماده العاشرة:
يقوم الفريق الثاني بتوفير العدد الجراحيه وكافة المقاسات للمواد اثناء اجراء العمليه في اي من مستشفيات الخدمات الطبيه الملكيه بدون استثناء.
الماده الحادية عشر:
يقوم الفريق الثاني بارسال خبير فني ليقوم بالمناوله اثناء اجراء العمليه عند الحاجه لذلك.
الماده الثانيه عشر:
ان تتعهد الشركه بان تكون المواد هي اخر ما توصلت اليه الشركه الصانعه من تقنيات علميه.
الماده الثالثة عشر:
يلتزم الفريق الثاني بتقديم  شهادة منشا اصليه مصدقه و شهادة الجودة اللازمه (CE او ما يعادلها ) مصدقة من المؤسسة العامة للغذاء و الدواء.
الماده الرابعة عشر:
يلتزم الفريق الثاني بتقديم كفاله حسن تنفيذ ماليه غير مشروطه.
الماده الخامسة عشر:
تقوم لجنة الشراء بوضع رصيد ثابت يتناسب مع طبيعة الحالات و القياسات الواجب توفرها و حسب طبيعة المواد و الحاجة لتوفير رصيد ثابت منها.

الماده السادسة عشر:
مدير المشتريات الدفاعيه هو الشخص المخول من قبل القياده العامه للقوات المسلحه الاردنيه بتنفيذ بنود هذه الاتفاقيه
Page 7 of 7

