Power Systems Project (Batteries) 2025

- General:

  - The following document describes the process for a request for proposal (RFP) of the Jordan Armed Forces; Potential vendors are invited to submit their proposals as a reply to the RFP.

  - JAF is considering purchasing power system which shall include the supply of the following components:

    - Deep Cycle Batteries.

- Documentation:

  - All the requested documents, manuals and catalogues shall be in English language.

  - Maintenance manuals which shall include the maintenance procedures, precautions, routine maintenance procedures, possible breakdowns and repairs.

  - Operation manual which shall include step by step system start-up operation and safe shutdown.

  - The provided manuals shall include the manufactures name, module number, parts list, and brief descriptions of all equipment and their basic operation features.

  - Troubleshooting guides.

  - Elaborated catalogues describing all the technical details of the offered equipment, general catalogues will not be accepted.

- Shipment and delivery:

  - . Delivery of equipment shall be based on CPT QAIA/Jordan or CIFAQABA seaport.

  - . The equipment at Annex -1 should be deliveredto JAF warehouses within maximum period of 24 weeks from the date of the tender award.

  - Transportation of all required equipment to JAF warehouses is bidder responsibility.

- Warranty:

  - Warranty period shall be as following:

    - .1   24months’ local agent warranty for batteries.

  - Warranty shall cover all equipment including hardware and software.

  - During warranty period, defective or malfunctioned units shall be replaced free of charge within 30 days from notification by JAF.

  - Repaired module shall be returned to JAF within 30 days.

  - The manufacturer is required to provide the Repair and Return (R&R) policy after Warranty period.

  - The Bidder shall pay all fees of goods and documentation imposed by the country of origin.

- Terms and conditions

    - The proposed equipment (batteries) must be 100% brand new and manufactured not before year 2025.

    - OEM certificate shall be presented for all equipment.

    - Prices quoted shall be exempt from all governmental taxes and/or duties and include packing costs, shipping, and any other costs.

    - All items quoted shall be genuinely brand-new and in accordance with the original manufacturer specification.

    - JAF has the right to extend the validity of performance bond on the sellers account if the delivery is delayed beyond the agreed delivery time, by an increment equal to the delay time.

    - Bidder has to supply proposed equipment with the same prices as bid prices or lower during warranty period.

    - All proposed Deep Cycle batteries must meet international codes and standards related to lead acid valve regulated batteries for renewable energy use and standby use such as: IEC 60896-21, IEC 60896-22, and IEC 62485-2, OR equivalent standards from IEEE/EN.

    - All proposals shall include the following:

- Itemized price list for each type of proposed equipment.

- Two Bills of Material (BOM) shall be submitted: first one in the technical offer & second priced one in the financial offer.

- The Technical offer and the financial shall be submitted separately.

    - Any questions or clarifications regarding the requirements shall be submitted before (10) working days of the tender closing date and must be delivered to the directorate of defense procurement.

    - JAF reserves the right not to award the contract to the bidder of the lowest price, nor to purchase the whole BOM.

    - The awarded bidder shall in all respects bear the consequences of any technical problem arising during warranty and after the warranty.

    - Bidder shall enclose (one hard and one soft) copies of his proposal including technical data sheets for each proposed item.

    - Any proposal that does not include technical specifications for the proposed solution shall be disqualified.

    - JAF reserves the right to include/reject the specific optional items or requirements to fit its needs; therefore, the bidder is obliged to quote for all optional items separately in his financial offer.

    - JAF reserve the right to increase and/or decrease quantities of (batteries) with the same prices according to any updates might require any modification.

    - JAF reserves the right to contact the mother company to acquire information related to the offered items.

    - JAF Shall not be responsible for any expenses or losses Incurred by the bidder in the preparation of his offer.

    - Bidder shall guarantee the supply of spare parts whenever required of the offered equipment for a period of 5 years after the warranty period with bid prices modified by an escalation formula agreed on by JAF &bidder.

    - Bidder shall provide all installation accessories, cables …etc. and any related materials needed.

    - Spare parts quantities and prices shall be clearly included in the financial offer.

    - The bidder shall make point- by- point compliance statement to all items of the present specification according to provided compliance list and it is consi8dered a vital part of bid documents.

    - In case where the bidder is not fully compliant with the specifications, bidder shall state the reason and/or why should JAF reconsider his position.

    - JAF has the right to cancel any part or the whole tender and also has the right to increase or decrease any other required conditions depending on JAF requirements.

    - The Bidder is allowed to propose maximum two solutions/options only.

    - Bidder has to provide all needed certificates that clearly show it’s compliant with the international codes and standards mentioned in (4.7) & (4.8).

    - All proposed items must meet Jordanian codes and standards issued by Jordan standards and metrology organization and royal scientific society.

    - Each battery must have an official manufacturer plate with this information:

- Tag number.

- Year of manufacturing.

- Name of manufacturer.

- Type of battery.

- Battery voltage.

- Number of cells.

- Nominal capacity.

    - bidder shall present two financial proposals, first one with training       course, the second proposal without training course.

- Training course:

  - BATTERIES MANUFACTURE training course (5 engineers; 5 working days) as:

  - Trip visit shall be at the manufacturer center.

  - Training course trip cost shall cover:

a. visa fees , local taxes

b. trip visit subsistence (Air tickets, respectable accommodation, meals and local transportation).

  - (5) days schedule for technical training, training shall cover (design aspects, maintenance procedures, newest storage technologies, IOT in          BMS systems ).

Annex 1

Technical Specifications and Requirements

For RENEWABLE ENERGY BATTERIES

2V 3500Ah (QTY = 192).

| # | Characteristics | Description |
| --- | --- | --- |
| 1 | Nominal Cell voltage | 2V |
| 2 | Nominal Cell Capacity | 3500Ah |
| 3 | Shelf life time At 20°C | 6 months |
| 4 | Designed life At 20°C | 15 YEARS at least |
| 5 | Technical Features | 5.1 Valve regulated lead acid. 5.2 Deep cycle. 5.3 OPZV tubular plate Gel type. 5.4 Rack mounting (local supply). 5.5 Top Terminal design. 5.6 Operating life cycle 2500 cycle at 50%DOD. 5.7 Operating Temperature Range -10°C to 40°C |