
[image: image5.png]



Item No
Stock No
Stock Name
Quantity
Unit
1
20_09_404
Endoscopic Vessel Harvfsting kit should use the latest heat sealing technology with nill thermal spread , use direct current power hand control .
450
Kit
· الملحق (ب) لدعوة العطاء رقم   م ش ع 12/40/44/2025 (شراء Endoscopic Vessel Harvesting Kit)
· المواصفات الفنية والكميات والشروط الخاصة
[image: image1.png]



القيادة العامة للقوات المسلحة الاردنية –الجيش العربي

مديرية المشتريات الدفاعية

لجنة الشراء المركزية

شروط العطــــــــــــاء
[image: image2.png]



الشروط الخاصــــــــــــة
1- Goods must be freshly prepared on Dispatch/Delivery and should retain at least 2/3 of its Shelf Life Upon Dispatch/ Delivery.

2- Goods must be dispatched/delivered under the same storage conditions that comply with their nature. Storage conditions must be mentioned clearly  on all packages and relative documents.

3- The delivered goods must be stamped, labelled or printed (Sold to DRMS) Tender No. (P1-2025-6), with durable ink not easily to remove.

4- The Delivered Goods Must Show Description Of Goods, Manufacturing Date, Expiry Date In Addition To Batch No. Storage Conditions and any other necessary information, (On the inner and outer packages), if the manufacturing date is not applicable it should be provided on a separate documents.

5- All goods should be FDA or CE approved.

6- Goods should   be previously evaluated and approved by DRMS or purchased by 'CENTRAL PROCUREMENT BRANCH" OR BY "DIRECTORATE OF DEFENCEPROCURMENT", for the previously evaluated and approved items the approve certificate and the previous legalized purchases orders should be provided along with the offers.

7- Samples of the quoted Goods must be submitted along with the offers. showing the same serial no., item no., as per tender documents specifications for purchase & receipt purposes.RMS with this respect reserves the right to reject offers not in compliance with this term.

8- Custom clearance of goods shall be the responsibility of the Jordanian Armed Forces (JAF), however, suppliers shall bear all costs incurred by handling charges and any demurrage charges or extra expenses incurred by the port's corporation or QAIA     (including expenses caused by delay in presenting the necessary shipment documents for either clearing or transporting the goods to the required location mentioned in the final order, delivery note issuing charges, unloading charges, local shipping charges, etc.) . The supplier is also responsible for providing of all relevant shipping documents, together with the delivery order(s).
[image: image3.png]



   

9- Pricing must include services of sale, shipment, transportation. delivery from port to site or to Main Medical Stores.

10- The supplier or his local agent must furnish JAF with a guarantee stamped and legalized by the notary public equals to 115% of the total value of goods valid for (one year) after acceptance of goods.

11- For offers submitted in Jordanian Dinar, payment will be either by wire transfer or by bank check to be paid after receiving the documents from main medical store.      Any other way of payment will be rejected by the purchasing committee.

12- Delivery/shipments must be in three equal consignments. First consignment (shipment/delivery) should be within (8) weeks  from final order.
 2nd & 3rd consignments should be within (8) weeks after receipt of JAF written request.

13--Bidders must submit their reservations/queries regarding tender specifications and/or special terms within the first half of the tender closing period starting from the tender announcement date. Reservations/queries submitted after the end of this period shall be rejected.
[image: image4.png]



Page 1 of 3

