الملحق (ب) لدعوة العطاء رقم م ش ع12/32/37/2025

*/

Item No

Stock No

Stock Name

Quantity

Unit

1

20_17_014

Stapedectomy Implants, Fluro Plastic Causs 
, SD 0.6, L 4.5

150

Each

2

20_17_018

Stapedectomy Implants, Fluro Plastic Causs
, SD 0.6 L 5.0

30

Each

3

20_17_029

Pope Ear Wick Ear Pack Size L 9mm, D 15mm

2000

Each

4

20_17_1027

Stryker shaver blade, Cutting accessories for ENT shaver to fit Stryker shaver. Angeled-Aggressive 40 degree, diameter 4mm length 11cm(pack of 5)

30

Each

5

20_17_10271

Stryker shaver blade, Cutting accessories for ENT shaver to fit Stryker shaver. Angeled-Aggressive 60 degree, diameter 4mm length 11cm(pack of 5)

30

Each

6

20_17_1028

Core ESSX / Hummer.Disposable Irrigation Cassette for use with stryker shaver Core Powered instrument driver.REF. 5290-075-000

40

Each

7

20_17_1029

Core Disposable Irrigation Cassette for use with stryker drill Powered instrument driverand Core Auto irrigator.REF. 5400-050-001

40

Each

8

20_17_108

Modified Armstrong Beveled Grommet Size ID 1.14, IFD 3.5 Fluroplastic

2000

Each

\

Item No

Stock No

Stock Name

Quantity

Unit

9

20_17_140

Grommets Ventilator Tubes , Sterile. T. Tube 1mm ID. Slilicone.

400

Each

10

20_17_156

Disbosables Tips Tips For Distortion Product Otoacoustic emission for Infants, plastic tree tips

500

Each

11

20_17_157

Tips for middle ear analyzer / type Madsen Zodiac / different sizes

700

Each

12

20_17_158

Disbosables Tips Tips For Middle Ear Analyzer, different sizes.

700

Each

13

20_17_159

Tips for middle ear analyzer / type GSI / different sizes

500

Each

14

20_17_161

Probe tip replacement ( 1096 madesen zodiac , GEN 2 )

15

Each

15

20_17_163

Probe tip replacement for middle ear analyzer / type GSI

6

Kit

16

20_17_164

Tips for otoacoustic emission type echoscreen system differnt sizes Tips for otoacoustic emission type echoscreen system differnt sizes

500

Each

17

20_17_165

Tips for otoacoustic emission for infants (tree tips) for biologic scout system

100

Amp

18

20_17_167

Disposable medical electrodes for ABR screening device

1500

Each

19

20_17_170

Disposable specula aural plastic, to fit wall aural unit(reister)

10000

Set

20

20_17_182

Snap wet gel electrodes for ABR. Snap electrodes for interacoustic brain stem audiometry

6000

Each

21

20_17_185

Abrasive skin prepping Gel for Auditoy rain stem eroked potenial Abrasive skin prepping gel for auditoy rain stem eroked potenial

40

Tube

22

20_17_2097

Laryngeal electrode select for tube with 7-9 mm D. Laryngeal electrode select for tube with 7-9m m d

110

Each

23

20_17_700

Ear Metallic Suction tube G 14

2000

Each

24

20_17_705

Ear Metallic Suction tube G 16

700

Each

Item No

Stock No

Stock Name

Quantity

Unit

25

20_17_710

Ear Metallic Suction tube G 18

300

Each

26

20_17_720

Ear Metallic Suction tube G 22

300

Each

27

20_17_731

Ear Metallic Suction tube Length 8-9 cm , diameter 2.5 mm G 13

1000

Each

28

20_17_732

Ear Metallic Suction tube Length 8-9 cm , diameter 3 mm G 11

1500

Each

29

20_17_733

Ear Metallic Suction tube Length 8-9 cm , diameter 4 mm G 8

500

Each

30

20_18_028

Standard Dressing Without String Size L 8.0, T 1.5, H 2.0

15000

Each

31

20_18_058

Absorbable nasal/sinus dressing length 8 cm.

600

Each

32

20_18_082

External Nasal Splint made of Aluminum. Size Medium

2000

Each

33

20_18_083

External Nasal Splint made of Aluminum. Size Large

600

Each

34

20_18_0835

Silicon nasal septal splint (pre-cut) length>60 mm

2000

Each

35

20_18_0836

Thermoplastic external nasal splint Size: Regular

300

Each

36

20_18_110

Anti- Fog Solution For Laparoscopic Visual Improvment Sterile. Size 5 ml

1000

Bott

37

20_18_120

Silver Nitrate Stick Individually Warpped Thick , 2mm diameter

7000

Each

38

20_18_189

Nasal and Sinus irrigation kit +refill ( 30-60 )

3000

Each

39

20_18_190

Topical hemostatic powder with applicator For ENT surgery

250

Each

40

20_18_2821

Total Ossicular Recontruction Implants (TORP), head H.A ,Titanium , shaft , adjustable length, distal end  to fit over oval window.

80

Each

41

20_18_300

Coblation Plasma probe with active electrodes, coagulation function, malleable shaft, integrated saline and suction ports for tonsillectomy and adenoidectomy , high performance

200

Each

Item No

Stock No

Stock Name

Quantity

Unit

42

20_18_310

Coblation Plasma Needle probe with integrated depth markers, coagulation function, for turbinate submucosal diathermy.

10

Each

43

20_18_320

Coblation plasma probe with malleable shaft and coagulation function and suction irrigation tubing for laryngeal operations.(lW)

8

Each

44

20_18_325

Coblation plasma (small)probe with malleable shaft and coagulation function and suction irrigation tubing for laryngeal operations.(MLW)

4

Each

45

20_18_340

Coblation plasma probe with active plate, coagulation function , malleable shaft,4mm diameter working shaft integratd saline and suction port can be usesd for both posterior nasal space and skull base

10

Each

46

20_18_350

Coblation plasma probe with integrated depth markers coagulation function for mucosal diatherme for soft palate reduction.

10

Each

شروط العطــــــــــــاء

الشروط الخاصـــــــــــــــة

1- Goods must be dispatched under the same storage conditions that comply with their
nature and storage conditions must be clearly indicated on AWB/BL and all shipping
documents as well as on the packages.

2- Sterile items and those which need certain storage conditions must show description
of goods, size no., manufacturing date, expiry date, batch no., storage conditions and
such items should retain at least 2/3 of its shelf life upon receipt. The remaining items
must show description of goods, size number, manufacturing date, batch number and
any other necessary information on the inner and outer packs

3- All inner and outer packs to be printed, stamped or labeled "sold to DRMS" with
unremovable ink by the company or by local agent.

4- The dispatched/delivered goods must show the following on the inner and outer
packs: description of goods, manufacturing date, and expiry date (where is applicable),
lot no., storage conditions, origin of goods and any other necessary information.

5- After arrival to Jordan DRMS is not responsible for any handling charges for goods
(like charges for issuing delivery order for incoming shipment, unloading charges local
shipping agents charges.

6- Samples of the quoted items must be submitted along with the offers for purchase
and receipt purposes, showing the same serial no./ item no. as per our tender
documents specifications.

7- All parcels, packages and any relative documents to be
marked: DRMS/TENDER P41/2025
GHQ, JORDAN ARMED FORCES
AMMAN, JORDAN

8- All goods should be FDA and/or CE approved

9- G.H.Q/RMS is not responsible for any demurrage charges and any other charges
incurred by the port corrporation cuased by delay in presenting all necessary shipping
documents for clearing goods.

10-First shipment period should be taken into consideration , Shipment/delivery: in two equal shipments /deliveries (8-9) months apart.

•For the following itmes: In three Shipments/deliveries:

A- (20-18-028): three equal.

B-(20-18-058): 200,200, 200 .

C- (20-18-120): 2500,2500.2000

D- (20-18-190): 100, 75, 75 .

E- (20_18_110): 350,350,300 .

F- (20_18_189): three equal.

11- For item (20_17_108) , the following item should be provided on FREE OF

CHARGE basis :

A- (331_13_0700)  Forceps, Aural Crocodile Action hartman , serrated/delicate shaft

length range(7-9) cm jaw tip width range (1-1.2)mm jaw length range (8-10) mm

quantity (3) each

12-For item (20_17_014) ,  the following item should be provided on FREE OF

CHARGE basis :

A-(331_13_0801) Forceps, Aural Crocodile Action ,extra delicated ,smooth shaft

length range(7-9) cm jaw tip width range (0.4-0.5) mm jaw length range (3-4) mm.

quantity (3) each

13-For item (20_18_189) ,  the following item should be provided on FREE OF

CHARGE basis :

A-(331_43_0310) , Cottle Cartilage Crusher . quantity (3) each.

14-For item (20_18_028) , the following items should be provided on FREE OF

CHARGE basis :

A-Iris scissors , curved ,11.5 cm , sharp , tungsten carbid (TC) ,quantity (10) each .

B-Iris scissors , curved ,9 cm , sharp , tungsten carbid (TC) ,quantity (5) each .

15- Prices must include services of sale, shipment, transportation, delivery from port to

site or to Main Medical Stores.

16- Custom clearance of goods shall be the responsibility of the Jordanian Armed

Forces (JAF), however, suppliers shall bear all costs incurred by handling charges and

any demurrage charges or extra expenses incurred by the ports corporation or QAIA

(including expenses caused by delay in presenting the necessary shipment documents

for either clearing or transporting the goods to the required location mentioned in the

final order, delivery note issuing charges, unloading charges, local shipping charges

etc.). The supplier is also responsible for providing of all relevant shipping documents,

together with the delivery order(s).

17- For offers submitted in Jordanian Dinars payment will be either by wire transfer or by bank check to be paid after receiving the goods. Any other way of payment will not be accepted and the offers will be rejected by the purchasing committee.

18-Items should   be previously evaluated and approved by DRMS or purchased by
'CENTRAL PROCUREMENT BRANCH" OR BY "DIRECTORATE OF DEFENCE
PROCURMENT", for the previously evaluated and approved items the approve
certificate and the previous legalized purchases orders should be provided along with
the offers

19--Bidders must submit their reservations/queries regarding tender specifications
and/or special terms within the first half of the tender closing period starting from the
tender announcement date. Reservations/queries submitted after the end of this period
shall be rejected.