Item No

Stock No

Stock Name

Quantity

Unit

1

10_07_10_006

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Lower molar right,Size (1-32)or equivalent,(320 bands /kit equally distributed)

22

Kit

2

10_07_10_006_16

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands, Lower right molar,Size (16) 10/pack

20

Pack

Item No

Stock No

Stock Name

Quantity

Unit

3

10_07_10_006_17

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands, Lower right molar,Size (17) 10/pack

20

Pack

4

10_07_10_006_18

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands, Lower right molar,Size (18) 10/pack

30

Pack

5

10_07_10_006_19

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands, Lower right molar,Size (19) 10/pack

30

Pack

Item No

Stock No

Stock Name

Quantity

Unit

6

10_07_10_006_20

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands, Lower right molar,Size (20) 10/pack

30

Pack

7

10_07_10_006_21

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands, Lower right molar,Size (21) 10/pack

30

Pack

8

10_07_10_006_22

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands, Lower right molar,Size (22) 10/pack

30

Pack

Item No

Stock No

Stock Name

Quantity

Unit

9

10_07_10_006_23

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands, Lower right molar,Size (23) 10/pack

30

Pack

10

10_07_10_006_24

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands, Lower right molar,Size (24) 10/pack

30

Pack

11

10_07_10_006_25

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands, Lower right molar,Size (25) 10/pack

30

Pack

Item No

Stock No

Stock Name

Quantity

Unit

12

10_07_10_006_26

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands, Lower right molar,Size (26) 10/pack

30

Pack

13

10_07_10_006_27

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands, Lower right molar,Size (27) 10/pack

30

Pack

14

10_07_10_006_28

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands, Lower right molar,Size (28) 10/pack

30

Pack

Item No

Stock No

Stock Name

Quantity

Unit

15

10_07_10_010

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") lower molar left,Size (1-32)or equivalent,(320 bands /kit equally distributed)

22

Kit

16

10_07_10_010_16

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands,lower left molar,Size (16) 10/pack

20

Pack

17

10_07_10_010_17

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands,lower left molar,Size (17) 10/pack

20

Pack

Item No

Stock No

Stock Name

Quantity

Unit

18

10_07_10_010_18

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands,lower left molar,Size (18) 10/pack

30

Pack

19

10_07_10_010_19

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands,lower left molar,Size (19) 10/pack

30

Pack

20

10_07_10_010_20

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands,lower left molar,Size (20) 10/pack

30

Pack

Item No

Stock No

Stock Name

Quantity

Unit

21

10_07_10_010_21

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands,lower left molar,Size (21) 10/pack

30

Pack

22

10_07_10_010_22

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands,lower left molar,Size (22) 10/pack

30

Pack

23

10_07_10_010_23

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands,lower left molar,Size (23) 10/pack

30

Pack

Item No

Stock No

Stock Name

Quantity

Unit

24

10_07_10_010_24

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands,lower left molar,Size (24) 10/pack

30

Pack

25

10_07_10_010_25

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands,lower left molar,Size (25) 10/pack

30

Pack

26

10_07_10_010_26

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands,lower left molar,Size (26) 10/pack

30

Pack

Item No

Stock No

Stock Name

Quantity

Unit

27

10_07_10_010_27

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands,lower left molar,Size (27) 10/pack

30

Pack

28

10_07_10_010_28

Lower molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, lower molar convertible cast double buccal tube ROTH prescription slot size (0.022"x0.028") Bands,lower left molar,Size (28) 10/pack

30

Pack

29

10_07_10_014

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045) Upper molar left, with lingual sheath, Size (1-32)or equivalent,(320 bands /kit equally distributed)

22

Kit

Item No

Stock No

Stock Name

Quantity

Unit

30

10_07_10_014_16

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045)  Upper left molar, with lingual sheath, Size (16) 10/pack

40

Pack

31

10_07_10_014_17

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045)  Upper left molar, with lingual sheath, Size (17) 10/pack

40

Pack

32

10_07_10_014_18

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045) Upper left molar, with lingual sheath, Size (18) 10/pack

60

Pack

Item No

Stock No

Stock Name

Quantity

Unit

33

10_07_10_014_19

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045) Upper left molar, with lingual sheath, Size (19) 10/pack

70

Pack

34

10_07_10_014_20

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045) Upper left molar, with lingual sheath, Size (20) 10/pack

70

Pack

35

10_07_10_014_21

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045)  Upper left molar, with lingual sheath, Size (21) 10/pack

70

Pack

Item No

Stock No

Stock Name

Quantity

Unit

36

10_07_10_014_22

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045)  Upper left molar, with lingual sheath, Size (22) 10/pack

70

Pack

37

10_07_10_014_23

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045)  Upper left molar, with lingual sheath, Size (23) 10/pack

50

Pack

38

10_07_10_014_24

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045) Upper left molar, with lingual sheath, Size (24) 10/pack

50

Pack

Item No

Stock No

Stock Name

Quantity

Unit

39

10_07_10_014_25

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045) Upper left molar, with lingual sheath, Size (25) 10/pack

30

Pack

40

10_07_10_018

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045) Upper molar right, with lingual sheath, Size (1-32)or equivalent,(320 bands /kit equally distributed)

22

Kit

41

10_07_10_018_16

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045)  Upper right molar, with lingual sheath, Size (16) 10/pack

40

Pack

Item No

Stock No

Stock Name

Quantity

Unit

42

10_07_10_018_17

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045)  Upper right molar, with lingual sheath, Size (17) 10/pack

40

Pack

43

10_07_10_018_18

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045) Upper right molar, with lingual sheath, Size (18) 10/pack

60

Pack

44

10_07_10_018_19

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045) Upper right molar, with lingual sheath, Size (19) 10/pack

70

Pack

Item No

Stock No

Stock Name

Quantity

Unit

45

10_07_10_018_20

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045)  Upper right molar, with lingual sheath, Size (20) 10/pack

70

Pack

46

10_07_10_018_21

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045) Upper right molar, with lingual sheath, Size (21) 10/pack

70

Pack

47

10_07_10_018_22

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045)  Upper right molar, with lingual sheath, Size (22) 10/pack

70

Pack

Item No

Stock No

Stock Name

Quantity

Unit

48

10_07_10_018_23

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045) Upper right molar, with lingual sheath, Size (23) 10/pack

50

Pack

49

10_07_10_018_24

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045)  Upper right molar, with lingual sheath, Size (24) 10/pack

50

Pack

50

10_07_10_018_25

Upper molar bands,anatomical fit, ideal strength,high quality stainless steel,highly temper,rolled edges, straight interproximal walls, permanent laser ID marking, micro-etched interior surface to ensures maximum retention, minimum thickness 0.15mm, upper molar convertible cast triple buccal tube ROTH prescription slot size (0.022"x0.028"), facebow tube (0.045) Upper right molar, with lingual sheath, Size (25) 10/pack

30

Pack

51

10_07_10_1580

Bondable attachments  for elastics , micro-etched  round curved  base long neck (10/back)

110

Pack

52

10_07_10_1595

Bondable attachments  for traction , micro-etched, direct bond eyelets round curved base (10/pack)

30

Pack

Item No

Stock No

Stock Name

Quantity

Unit

53

10_07_10_781

Anatomically shaped, micro-etched , 80 -guage  mesh pad,or electric discharge machining (EDM) , smooth and rounded hooks , permanent color ID ,funnel shaped opening ensure easy archwire insertion , occlusal/gingival positioning indent low profile design , permanent laser ID marking , single non-convertible , large base for permanent 1st molar , Roth prescription (10 tubes/pack ) Bondable buccal tube for upper first molar right, single tube, slot size 0.022

1000

Pack

54

10_07_10_782

Anatomically shaped, micro-etched , 80 -guage  mesh pad,or electric discharge machining (EDM) , smooth and rounded hooks , permanent color ID ,funnel shaped opening ensure easy archwire insertion , occlusal/gingival positioning indent low profile design , permanent laser ID marking , single non-convertible , large base for permanent 1st molar , Roth prescription (10 tubes/pack ) Bondable buccal tubes for upper first molar left, single tube, slot size 0.022

1000

Pack

55

10_07_10_783

Anatomically shaped, micro-etched , 80 -guage  mesh pad,or electric discharge machining (EDM) , smooth and rounded hooks , permanent color ID ,funnel shaped opening ensure easy archwire insertion , occlusal/gingival positioning indent low profile design , permanent laser ID marking , single non-convertible , large base for permanent 1st molar , Roth prescription (10 tubes/pack ) Bondable buccal tubes for lower first molar right, single tube, slot size 0.022

1000

Pack

Item No

Stock No

Stock Name

Quantity

Unit

56

10_07_10_784

Anatomically shaped, micro-etched , 80 -guage  mesh pad,or electric discharge machining (EDM) , smooth and rounded hooks , permanent color ID ,funnel shaped opening ensure easy archwire insertion , occlusal/gingival positioning indent low profile design , permanent laser ID marking , single non-convertible , large base for permanent 1st molar , Roth prescription (10 tubes/pack ) Bondable buccal tubes for lower first molar left, single tube, slot size 0.022

1000

Pack

57

10_07_10_793

Axillaries silver chain, Round base, (10/PACK)

160

Pack

58

10_07_20_020

Direct bond orthodontic composite Light cure Syringe contains adhesive paste in preloaded syringes  (3-5gm/each),(2-4/pack), provides optimum bonding for ceramic or metal brackets using light cure technology.Thixotropic viscosity

1000

Each

59

10_07_20_026

Light cure sealant resin (self-ech primer) bottle (5-8 ml/each) (7th generation or above)

350

Each

60

10_07_20_030

Etch syringe gel, convenient syringe storage of etching gel ( phosphoric acid (35-37%) (3.5-7 gm/each), easy usage, pre-measured, precise application, consistency, with disposable needle tips, ideal medium viscosity.

600

Each

61

10_07_20_032

porceline etch (9.6/% hydrofluoric acid) (2-4ml) syringe gel superior quality porcelain etch gel will not stain porcelain, composites, buffered formula, washes off easily, thixotropic, with (10-20) tips/syringe

10

Syring

Item No

Stock No

Stock Name

Quantity

Unit

62

10_07_20_034

Flowable composite , nano filler, thixotropic viscosity, low viscosity, high flow characteristics, multipurpose light cure material
(pack of (2-4) x 2gm syringes with (10-20) tips)

100

Pack

63

10_07_20_040

Debonding carbide bur,fluted long taper , high speed especially  for designed with orthodontic debonding and finishing, controlled debonding without nicking, scratching or abrading the enamel (5 / pack)

175

Pack

64

10_07_20_041

Debonding  carbide bur,fluted long taper ,low speed especially  for designed with orthodontic debonding and finishing, controlled debonding without nicking, scratching or abrading the enamel (5 / pack)

175

Pack

65

10_07_20_042

Debonding  carbide bur,medium round or fluted football ,high  speed especially  for designed with orthodontic debonding and finishing, controlled debonding without nicking, scratching or abrading the enamel (5 / pack)

50

Pack

66

10_07_20_043

Debonding  carbide bur,medium round or fluted football ,low speed especially  for designed with orthodontic debonding and finishing, controlled debonding without nicking, scratching or abrading the enamel (5 / pack)

200

Pack

67

10_07_20_050

Diamond bur, fine grit, flame shaped , high speed , used for occlusal reduction .(5/pack)

180

Pack

68

10_07_20_052

Diamond bur, fine grit, long tapered, high speed , used for interproximal  reduction .(5/pack)

200

Pack

Item No

Stock No

Stock Name

Quantity

Unit

69

10_07_20_070

band cement , (power 35 gm/ liquid) glass ionomer orthodontic cement, water mixable, low film thickness, good formability, low solubility in the mouth, low acid stress, bond chemically to metal, dual cure-chemical or light cure, Natural or blue

650

Each

70

10_07_20_072

Band cement , kit contain (4-6)*5gm low viscosity gel, light cured resin base-glass inomer single componenet push syringes, provides longer working time, rapid setting time, colored, containe high fluoride.

90

Kit

71

10_07_30_001

Brackets, stainless steel, straight wire technique,preadgusted edgewise,low profile , Smooth facial contours, intelligent hook design for cuspids and premolar, color coded quadrent ID system, vertical scribe line, Contoured micro etch base . CNC milled or metal injection mold (MIM) (kit of 20 pc) Slot size 0.022 x 0.030" Roth prescription

13600

Kit

72

10_07_40_008

Super Elastic Nickel Titanium, Open Coil Spring ,0.012"x0.030" Delivers continous force for opening or holding spaces between teeth. ( 15"/spool) medium force, for round wire up to .018"

100

Spool

73

10_07_40_009

Super Elastic Nickel Titanium, Open Coil Spring ,0.012"x0.030" Delivers continous force for opening or holding spaces between teeth. ( 15"/spool) medium force, for rectangular wire up to .021"x.025"

80

Spool

74

10_07_40_015

Elastic Ligature-A-ties, highly resilient,non-latex , assorted color designed with ( 22-24) rings/sticks , (40-50 sticks/package).

100

Pack

75

10_07_40_022

Elastic Ligature-A-ties,highly resilient , transparent color,designed with (22-24) rings/stick, (40-50 stick/package).

100

Pack

Item No

Stock No

Stock Name

Quantity

Unit

76

10_07_40_060

Elastic Separators , non-latex , superior stretch and rebound,  radiopaque for posterior teeth (960-1000 Pieces/Package)

50

Pack

77

10_07_40_390

Elastomeric chain ,superior color stability, fade resistant, high elasticity,excellent rebound,medical grade polyurethane,non-latex,elastic force ,plastic chain, good elastic recovery,transparent or gray ,(15-17.5) feet/spool) closed

100

Spool

78

10_07_40_400

Elastomeric chain ,superior color stability, fade resistant, high elasticity,excellent rebound,medical grade polyurethane,non-latex,elastic force ,plastic chain, good elastic recovery,transparent or gray ,(15-17.5) feet/spool) short

100

Spool

79

10_07_40_490

face mask, adjustable, maximum patient comfort , consists of forehead rest chin cup with ergonomic streamlined design , vertical main frame, Face mask, la petit vertical

200

Each

80

10_07_40_510

Cheek Retractor, one size fits all that provides superior intraoral access. the unique buccal extensions retract powerful buccinator muscles for maximum access,with adjustable stainless steel bows, made of high quality medical grade material that with stand repeated sterilization (one pair/pack).

100

Pack

81

10_07_40_520

Cheek Retractor, one size fits all that provides superior intraoral access. the unique buccal extensions retract powerful buccinator muscles for maximum access . made of high quality medical grade material that with stand repeated sterilization (one pair/pack) cheek retractor with buccal extension

300

Pack

Item No

Stock No

Stock Name

Quantity

Unit

82

10_07_40_540

interproximal strips, M-D  reducer, coarse blade single sided (5-12/pack)

100

Pack

83

10_07_40_550

interproximal strips,  M-D  reducer, coarse  blade double sided (5-12/pack)

250

Pack

84

10_07_40_560

interproximal strips, Mini-stripper, kit contains: handle, stainless steel strips of single and double , used for hand stripping , key measurment gauge , autoclavable .

10

Kit

85

10_07_40_570

interproximal strips Readymade interproximal IPR separting strip (different thickness , grit , single/double side ), autoclavavable .

20

Piece

86

10_07_40_580

interproximal reduction kit of handpiece and double sided motor driven stripping, suitable for proffessional air rotor stripping, provide different thikness of strips (0.1,0.2,0.3) mm autoclavable

10

Kit

87

10_07_40_581

interproximal strips Double side motor driven strippers, suitable for proffessional air rotor stripping, provide assorted thikness of strips (0.1,0.2,0.3) mm , autoclavable to be compatable  with handpiece. (pack 3-6 strip)

50

Pack

88

10_07_40_582

measurment key gauge, used with interproximal striping

10

Each

89

10_07_40_600

plastic sleeving for covering wire, excellent streth and rebound , non- latex (5-7.5 feet/ spool) 0.018" gray

22

Spool

90

10_07_40_602

plastic sleeving for covering wire, excellent streth and rebound , non- latex (5-7.5 feet/ spool) 0.018 transparent

12

Spool

91

10_07_40_604

plastic sleeving for covering wire, excellent streth and rebound , non- latex (5-7.5 feet/ spool) 0.027 grey

9

Spool

92

10_07_40_606

plastic sleeving for covering wire, excellent streth and rebound , non- latex (5-7.5 feet/ spool) 0.027 transparent

6

Spool

Item No

Stock No

Stock Name

Quantity

Unit

93

10_07_50_026

stainless steel Screws, Heavy Duty Maxi Exp. With Double Guided Pin, coloured plastic directional arrows, built in stop to prevent screws from coming apart  for removable appliance Three dimensional screw.with activation 1 key with safety leash.

70

Each

94

10_07_50_030

Hyrax expansion screw for mid-palatal suture separation laser welding of the extension arms, laser marked arrow indicating the opening direction Hyrax expansion , size ( 7 or 8mm),with safety swivel key and handle.

200

Each

95

10_07_50_040

Hyrax expansion screw for mid-palatal suture separation laser welding of the extension arms, laser marked arrow indicating the opening direction Hyrax expansion, size (9 or 10mm),with safety swivel  key and handle.

1000

Each

96

10_07_50_050

Hyrax expansion screw for mid-palatal suture separation laser welding of the extension arms, laser marked arrow indicating the opening direction Hyrax expansion, size (11 or 12mm),with safety swivel  key and handle.

500

Each

97

10_07_60_020

Nickel Titanium super elastic, rounded, natural form, mid line marking with Dimple or permenant midline etchmarked or dot etched,each wire packed separately (10/pack) Size 0.016 upper

650

Pack

98

10_07_60_030

Nickel Titanium super elastic, rounded, natural form, mid line marking with Dimple or permenant midline etchmarked or dot etched,each wire packed separately (10/pack) Size 0.018 upper

1000

Pack

Item No

Stock No

Stock Name

Quantity

Unit

99

10_07_60_050

Nickel Titanium super elastic, rounded, natural form, mid line marking with Dimple or permenant midline etchmarked or dot etched,each wire packed separately (10/pack) Size 0.016 Lower

530

Pack

100

10_07_60_060

Nickel Titanium super elastic, rounded, natural form, mid line marking with Dimple or permenant midline etchmarked or dot etched,each wire packed separately (10/pack) Size 0.018 Lower

700

Pack

101

10_07_60_090

Nickel Titanium super elastic, rectangular, natural form, mid line marking with Dimple or permenant midline etchmarked or dot etched, each wire packed separately  (10/pack) Size 0.018 x 0.025 upper

670

Pack

102

10_07_60_100

Nickel Titanium super elastic, rectangular, natural form, mid line marking with Dimple or permenant midline etchmarked or dot etched, each wire packed separately  (10/pack) Size 0.018 x 0.025 Lower

430

Pack

103

10_07_60_136

Stainless Steel Archewire, ideal arch form, rectangular size midline marking with dimple or permeant midline etch marked or dot etched each wire packed separately (10/pack) Size 0.017 x 0.025 upper

250

Pack

104

10_07_70_100

Essix sheets Brilliantly clear and offers excellent conformity to the model for an exact fit, Durable, round (diameter 120 mm, thickness 0.04"(1.0mm) , forms  clear for a true invisible retainer, sheets are sealed with a protective peel away film on both sides.

2000

Each

105

10_07_70_130

laboratory Accessories Universal  soldring silver  in rods ready fluxed 1.2 gm cadmium free (10-12/pack )

410

Pack

Item No

Stock No

Stock Name

Quantity

Unit

106

10_07_70_135

Dental micro torch .Used for dental laboratory, instant electronic ignition ,precise adjustable flame ,use upright or on its side ,temperatures up to 2450 degree F / 1343 degree C , compact and easy to handle . minimum 2 hours burn time

20

Each

107

10_07_70_140

laboratory Accessories stone, Extra hard, rapid setting super white plaster of class (IV) for orthodontic models setting expansion: max 0.15%, compressive strength after  1 hour minimum 35N/mm square , processing time minimum 3 minutes , solidification time  maximum 30 minute ( container of 25 kg )

5

Cartoon

108

10_07_70_150

saw for stripping in lab dental lab hand saw frame steel, nickel plated finish, easy adjustment for blade fitting.

20

Each

109

10_07_80_180

intra oral photographic mirrors mirror extremly durable finish, non-scratching, withstands repeated sterilization, highly polished surfaces, no double reflections, adult and child size , occlusal and buccal

50

Kit

110

10_07_80_182

intra oral photographic mirrors, stainless steel double ended photo cheek retractors , double ended with alarge retractor on one side and small retractor on the other

50

Each

111

10_07_90_040

microimplants made of Ti alloy, biocompatible, self-drilling, provided in separate sterilized packs, to be compatable with hand drivers. Round head , diameter 1.6mm, length 7mm

100

Each

112

10_07_90_070

microimplants made of Ti alloy, biocompatible, self-drilling, provided in separate sterilized packs, to be compatable with hand drivers. Round head diameter 1.8mm, length 10mm

50

Each

Item No

Stock No

Stock Name

Quantity

Unit

113

10_07_90_080

microimplants made of Ti alloy, biocompatible, self-drilling, provided in separate sterilized packs, to be compatable with hand drivers. Round head diameter 1.8mm, length 12mm

50

Each

الشروط الخاصــــــــــــــــة

1-Original catalogs and (3) Samples of the quoted items must be submitted along with
the offers for EVALUATION and PURCHASE and RECIEPT purposes of items showing
the same serial No. Stock No. as per our tender documents specifications.
______________________________________________________________
2-Delivery/shipment in ONE consignment EXCEPT for item no.
(58,59,60,61,62,69,70,71,74,75,76,77,78,80,81,89,90,91,92,93,94,95,96,97,98,99,100,
101,102,103,104,105,107) delivery to be in TOW equal consignments (8-9) months
apart.
___________________________________________________
3-Goods must be dispatch under the same storage conditions that comply with their
nature & Storage Conditions Must Be Clearly Indicated on Packages as Well as in the
Relevant Documents.
______________________________________________________________
4-Packaging of goods should be the original manufacturers packaging, and all the
outer and inner packages to be printed with the following: description of goods, origin
of goods, batch number, item number as per tender invitation EXCEPT for item no.
(58,59,60,61,62,69,70,74,75,76,77,78,89,90,91,92,104,105,107) must be printed with
the following: description of goods, origin of goods, manufacturing date, expiry date,
batch number, item number as per tender invitation, if it’s not applicable to mention
manufacturing date then shelf life must be provided.
______________________________________________________________
5-ALL items should be engraved with manufacturer name .
______________________________________________________________
6-All parcels, packages and relative documents to be marked: -
DRMS TENDER NO. P50-2025-A GHQ JORDAN ARMED FORCES AMMAN -
JORDAN
______________________________________________________________
7- All the outer and inner packages to be printed, stamped or labelled with the following
 "SOLD TO DRMS” WITH IRREMOVABLE INK.
______________________________________________________________
8-item NO. (58,59,60,61,62,69,70,74,75,76,77,78,89,90,91,92,104,105,107) should be
freshly prepared on dispatch & should have at least 2/3 of its shelf life upon receipt.
Any item carrying lessthan 2/3 of its shelf upon receipt should be accompanied with a
confirmation that you accept to replace any remaining unused quantities at your
expenses after the expiry date. Said confirmation is subject to the approval of the
director of the Royal Medical Services and will incur a fine. which will be decided later
by DRMS according to the loss that this discrepancy with terms of the tender has

caused.
______________________________________________________________
9-The quality of items should be according to accepted international standards I.E
(FDA, CE, U.S. PHARMACOPOEIA, EUROPEAN PHARMACOPOEIA, B.P, T.U.V. OR
EQ. Standard Certificates) MUST be accompanied with the offers.
______________________________________________________________
10-certificate of origin of goods to be submitted along with items.
______________________________________________________________
11-The Supplier or his local agent must furnish the RMS with a guarantee stamped and
legalized by the notary public equals to 115% of the total value of the goods valid for
(2years) after acceptance of goods.
______________________________________________________________
12-Pricing must include services of sale, shipment, transportation, delivery from port to
Main Medical Stores.
______________________________________________________________
13-Custom clearance of goods shall be the responsibility of the Jordanian Armed
Forces (JAF), however, suppliers shall bear all costs incurred by handling charges and
any demurrage charges or extra expenses incurred by the port's corporation or QAIA
(including expenses caused by delay in presenting the necessary shipment documents
for either clearing or transporting the goods to the required location mentioned in the
final order, delivery note issuing charges, unloading charges, local shipping charges,
etc.).The supplier is also responsible for providing of all relevant shipping documents,
together with the delivery order(s).
______________________________________________________________
14-For offers submitted in Jordanian Dinars payment will be either by wire transfer or
by cheque to be paid after receiving DOCUMENTS FROM MAIN MEDICAL STORES;
Any other way of payment will be rejected by the purchasing committee.
______________________________________________________________
15-Evaluation of items is a must during purchase by (3) specialists at RMS
______________________________________________________________
16-Bidders must submit their reservations/queries regarding tender specifications
and/or special terms within the first half of the tender closing period starting from the
tender announcement date. Reservations/queries submitted after the end of this period
shall be rejected.
______________________________________________________________
17-The estimated price for any (F.O.C) goods should be stated.