Item No

Stock No

Stock Name

Quantity

Unit

1

17_1_01_052

Needle Holder, For Evacuated Blood Collection Tube System. To be compliant with Needles and Blood Collection Tubes.

10000

Each

2

17_1_01_054

Multiple Sample Needle, For Blood Collection,to be used with Evacuated Blood Collection Tube System. Double Ended with Safety Valve. Size 21G x 1.5. Compliant with Needle Holder and Blood Collection Tubes.

1520000

Each

3

17_1_01_114

Silicone Band 0.8mmx50mm thickness - 19 mm width. 1/2 m in length, to be used in Blood Drawing, reusable.

8000

Each

4

17_1_01_1142

Tourniquetes :siliccone band,for single use.

30000

Each

5

17_1_01_118

Plastic tube, evacuated blood collection tube for obtaining blood samples when used with plastic holder & needle , colour coded two part rubber stopper with an outer protective plastic cap, sterile interior, to draw proper quantities pre-labelled, Plain, no additives, capacity ~7ml

11000

Each

الملحق ب للعطاء رقم م ش ع 12/7/23/2026 شراء ( BLOOD COLLECTION )

المواصفات و الشروط الخاصة

القيادة العامه للقوات المسلحة الاردنية-الجيش العربي

مديرية المشتريات الدفاعية

Page 1 of 6

لجنة الشراء المركزية

Item No

Stock No

Stock Name

Quantity

Unit

6

17_1_01_122

Plastic tube, evacuated blood collection tube for obtaining blood samples when used with plastic holder & needle , colour coded two part rubber stopper with an outer protective plastic cap, sterile interior, to draw proper quantities pre-labelled, With K3 EDTA, capacity  1.8 - 2.4 ml.

666000

Each

7

17_1_01_124

Plastic tube, evacuated blood collection tube for obtaining blood samples when used with plastic holder & needle , colour coded two part rubber stopper with an outer protective plastic cap, sterile interior, to draw proper quantities pre-labelled,With K3 EDTA, capacity  4.0 - 4.5ml

3050000

Each

8

17_1_01_125

Plastic tube, evacuated blood collection tube for obtaining blood samples when used with plastic holder & needle , colour coded two part rubber stopper with an outer protective plastic cap, sterile interior, to draw proper quantities pre-labelled,With Sodium heparin capacity   4.0 - 5.0 ml

2000

Each

9

17_1_01_126

Plastic tube, evacuated blood collection tube for obtaining blood samples when used with plastic holder & needle , colour coded two part rubber stopper with an outer protective plastic cap, sterile interior, to draw proper quantities pre-labelled,With Lithium Heparin in liquid form, capacity 5.0 - 7.0 ml

10000

Each

10

17_1_01_128

Plastic tube, evacuated blood collection tube for obtaining blood samples when used with plastic holder & needle , colour coded two part rubber stopper with an outer protective plastic cap, sterile interior, to draw proper quantities pre-labelled,With serum separater Gel, capacity 6ml

4600000

Each

Page 2 of 6

الملحق ب للعطاء رقم م ش ع 12/7/23/2026 شراء ( BLOOD COLLECTION )

المواصفات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

11

17_1_01_131

Polypropylene tube for collection transport ,& processing for infants , children , & critical care patients. colour coded cap.paediatric tybe , equipped with inegrated spout for ease of collection With Serum Separator Gel, capacity 1ml

10000

Each

12

17_1_01_132

Plastic tube, evacuated blood collection tube for obtaining blood samples when used with plastic holder & needle, colour coded two part rubber stopper with an outer protective plastic cap , sterile interior , to draw proper quantities , pre-labelled ,With Sodium Citrate, capacity 4.0 - 4.5 ml

620000

Each

13

17_1_01_1321

Plastic tube, evacuated blood collection tube for obtaining blood samples when used with plastic holder & needle, colour coded two part rubber stopper with an outer protective plastic cap , sterile interior , to draw proper quantities , pre-labelled , With Sodium Citrate, 13x75mm tube to draw capacity ~1.8 ml

225000

Each

14

17_1_01_133

Polypropylene tube for collection , transport , & processing for infants , children & critical care patients .colour coded cap. paediatric type , equipped with integrated spout for ease of collection ,With K3 EDTA, capacity 1ml

10000

Each

Page 3 of 6

الملحق ب للعطاء رقم م ش ع 12/7/23/2026 شراء ( BLOOD COLLECTION )

المواصفات و الشروط الخاصة

شروط العطــــــــــــــاء

شروط خاصـــــــــة

1- Number of shipments will be decided by purchasing committee according to the
respective minimum guaranteed shelf life upon delivery/dispatch to be provided in the
original offers to establish delivery schedule accordingly. The DRMS with this respect
reserves the right to reject any item not in compliance with this term and impose the
correspondent fines.


2-Dispatched/Delivered good must show Description of goods , expiry date  ,Batch No., origin of goods ,manufacturing date and  any other necessary information on the inner and outer packs. Where manufacturing date is not applicable then it should be
provided on relative documents.


3-Goods should be dispatched/delivered under the same storage conditions that
comply with their nature, storage conditions must be mentioned clearly on all relative
documents and all packages.


4-All packages to be stamped or labelled with the following "Sold to RMS" Tender  P36-2026-BLOOD COLLECTIN. " by Non -removable ink.


5-For offers submitted in Jordanian dinars payment will be either by wire transfer or by
cheque to be paid after reciving DOCUMENTS FROM MAIN MEDICAL STORES ,any
other way of payment will not be accepted and the offers will be rejected by the
purchase committee.


6-Goods should be previously evaluated and approved in DRMS or purchased by
"central procurement branch " or by " directorate of defence procurement " ,for the
previously evaluated & approved items the approve certificate and the previous
legalized purchases orders sholud be provided along with the offers.


7-Bidders must submit their reservation /queries regarding tender specificareqtions
and/or special term within the first half of the tender closing period starting from the

Page 4 of 6

الملحق ب للعطاء رقم م ش ع 12/7/23/2026 شراء ( BLOOD COLLECTION )

المواصفات و الشروط الخاصة

tender announcement date . Reservation /queries submitted after the end of this period
shall be rejected.


8-All goods should retain at least2/3 of its shelf life upon receipt. Any item not
complying with this term upon receipt should be accompanied with a confirmation that
you accept to replace any remaining unused quantities at your expenses after the
expiry date. Said confirmation is subject to the approval of the director of the Royal
Medical Services and will incur a fine, which will be decided later by DRMS according
to the loss that this discrepancy with terms of the tender has caused.


9-All itemes must have FDA , TUV , or CE approval .


10- offers submitted by vendors with previously complaints or unsolved issues will be
excluded from the current tender.

11- The supplier or his local agents must furnish RMS a guarantee stamped and
legalized by the notary puplic to 115% of the goods valid for 1 year after acceptance of
each consignment.


12-Pricing must include services of sale ,shipment, transportation,delivery from port to
site or Main Medical Stores.


13- Custom clearance of goods shall be the responsibility of the Jordanian Armed
Forces (JAF), however, suppliers shall bear all costs incurred by handling charges and
any demurrage charges or extra expenses incurred by the port's corporation or QAIA
(including expenses caused by delay in presenting the necessary shipment documents
for either clearing or transporting the goods to the required location mentioned in the
final order, delivery note issuing charges, unloading charges, local shipping charges,
etc. ) .The supplier is also responsible for providing of all relevant shipping
documents ,together with the delivery order(s).


14- Any additional (Free of charge) quantities offered by the bidders will be taken into
consideration when calculating the unit price of the required item.


15-The estimated price for any (FOC) goods should be stated.

Page 5 of 6

الملحق ب للعطاء رقم م ش ع 12/7/23/2026 شراء ( BLOOD COLLECTION )

المواصفات و الشروط الخاصة

16- One samples & catalogues of  quoted items should be submitted with original
offers and presenting them to specialists .

الملحق ب للعطاء رقم م ش ع 12/7/23/2026 شراء ( BLOOD COLLECTION )

المواصفات و الشروط الخاصة

Page 6 of 6