الملحق (ب) للعطاء رقم م ش ع 12/55/7/2026 شراء (مستهلكات جهاز

carteo -3 system) المواصفات الفنية و الكميات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

1

20_10_001

Bi-directional navigation electrophysiology catheter with contact force sensing deflectable irrigated tip 3.5mm, 4 electrodes + 2 electrodes for visualization with insertion tool

130

Each

2

20_10_0010

Cable for Bi-directional navigation electrophysiology catheter with contact force sensing deflectable irrigated tip 3.5mm, 4 electrodes + 2 electrodes for visualization with insertion tool

30

Each

3

20_10_0013

External reference patches (kit) compatible with CARTO 3 SYSTEM cardiac 3D mapping

70

Each

4

20_10_0014

Bi-directional guiding sheath, compatible with CARTO 3 SYSTEM cardiac 3D mapping

20

Each

5

20_10_0015

Cable for Bi-directional guiding sheath ,compatible with CARTO 3 SYSTEM cardiac 3D mapping

6

Each

6

20_10_0016

High-density mapping catheter, compatible with CARTO 3 SYSTEM cardiac 3D mapping

60

Each

7

20_10_0017

Cable for High-density mapping catheter , compatible with CARTO 3 SYSTEM cardiac 3D mapping

15

Each

8

20_10_0051

Irrigation tubing set, compatible with CARTO 3 SYSTEM cardiac 3D mapping

50

Each

Page 1 of 4

القيادة العامه للقوات المسلحة الاردنية-الجيش العربي

مديرية المشتريات الدفاعية

لجنة الشراء المركزية

شروط العطــــــــــــاء

شروط خاصـــــــــــــة

1-Original catalogs and three (3) Samples of the quoted items must be submitted along
with the offers for EVALUATION and PURCHASE and for RECIEPT purposes of items
showing the same serial No. Stock No. as per our tender documents specifications.
______________________________________________________________
2-Delivery/shipment in two equal consignments (5-6) months apart.
______________________________________________________________
3-Goods must be dispatch under the same storage conditions that comply with their
nature, & Storage Conditions Must Be Clearly Indicated on Packages as Well as in the
Relevant Documents.
______________________________________________________________
4-Description of good , expiry date , lot number as well as manufacturing date must be
mentioned clearly on the inner & outer packs.
______________________________________________________________
5-All parcels, packages and relative documents to be marked: -DRMS TENDER NO.
P100-2026-E-CARTO GHQ JORDAN ARMED FORCES AMMAN -JORDAN.
______________________________________________________________
6- All the outer and inner packages to be printed, stamped or labelled with the following
"SOLD TO DRMS” WITH IRREMOVABLE INK.
______________________________________________________________
7-All goods should be freshly prepared on dispatch/delivered & should have at least
2/3 of its shelf life upon receipt. Any item carrying less than 2/3 of its shelf upon receipt
should be accompanied with a confirmation that you accept to replace any remaining
unused quantities at your expenses after the expiry date. Said confirmation is subject
to the approval of the director of the Royal Medical Services and will incur a fine. which
will be decided later by DRMS according to the loss that this discrepancy with terms of
the tender has caused.
______________________________________________________________
8-The quality of items should be according to accepted international standards, i.e
(FDA, CE, U.S. PHARMACOPOEIA, EUROPEAN PHARMACOPOEIA, B.P, T.U.V. OR
EQ. Standard Certificates) MUST be accompanied with the offers.
______________________________________________________________
9-The Supplier or his local agent must furnish the RMS with a guarantee stamped and
legalized by the notary public equals to 115% of the total value of the goods valid for
(2 years) after acceptance of goods.
______________________________________________________________
10-Pricing must include services of sale, shipment, transportation, delivery from port to

Page 2 of 4

الملحق (ب) للعطاء رقم م ش ع 12/55/7/2026 شراء (مستهلكات جهاز

carteo -3 system) المواصفات الفنية و الكميات و الشروط الخاصة

Main Medical Stores.
______________________________________________________________
11-Custom clearance of goods shall be the responsibility of the Jordanian Armed
Forces (JAF), however, suppliers shall bear all costs incurred by handling charges and
any demurrage charges or extra expenses incurred by the port's corporation or QAIA
(including expenses caused by delay in presenting the necessary shipment documents
for either clearing or transporting the goods to the required location mentioned in the
final order, delivery note issuing charges, unloading charges, local shipping
charges,etc.).The supplier is also responsible for providing of all relevant shipping
documents, together with the delivery order(s).
______________________________________________________________
12-For offers submitted in Jordanian Dinars, payment will be either by wire transfer or
by cheque to be paid after receiving DOCUMENTS FROM MAIN MEDICAL
STORES;Any other way of payment will not accepted and the offers will be rejected by
the purchasing committee.
______________________________________________________________
13-Bidders must submit their reservations/queries regarding tender specifications
and/or special terms within the first half of the tender closing period starting from the
tender announcement date. Reservations/queries submitted after the end of this period
shall be rejected.
______________________________________________________________
14-Offers submitted by vendors with previous complaints or unsolved issues will be
excluded from the current tender.
______________________________________________________________
15- RMS has the right to increase the awarded items by 35% with the same prices and
terms and conditions of the contract upon request & approval of awarded party .
______________________________________________________________
16- In case of any worldwide problem or recall of any awarded item OR malfunction not
related to implatation procedure or patient characterstic .the company is obliged to
replace any remaning quantities with equivalent or better materials otherwise DRMS
has the right to buy these materials from another sources and impose you the
differences of prices and any penalities according to the rules and regulations of
DRMS.
______________________________________________________________
17-After arrival to jordan DRMS is not responsible for any handling charges for goods
(like charges for issuing delivery order for incoming shipment unloading charges,local
shipping agents charges).
______________________________________________________________
18- the supplier or his local agent should provide professional  technical support
acceptable to the operators to QAHI (Queen Alia Heart Institute) Center two times per
a week .
______________________________________________________________
19-Any additional ( F.O.C ) quantities offered by the bidders will be taken into
consideration when calculating the unit price of the required item.

Page 3 of 4

الملحق (ب) للعطاء رقم م ش ع 12/55/7/2026 شراء (مستهلكات جهاز

carteo -3 system) المواصفات الفنية و الكميات و الشروط الخاصة

______________________________________________________________
20-The estimated price for any (F.O.C) goods should be stated.

الملحق (ب) للعطاء رقم م ش ع 12/55/7/2026 شراء (مستهلكات جهاز

carteo -3 system) المواصفات الفنية و الكميات و الشروط الخاصة

Page 4 of 4