بسم الله الرحمن الرحيم

### القيادة العامة للقوات المسلحة الأردنية

### مديرية المشتريات الدفاعية

هاتف:5000140

فاكس:5001166

ص0ب:926680

دعوة عطاء: شراء متطلبات مركز عمليات الشبكة (NOC) في مديرية امن الحدود

رقم العطــــــــــــاء  :  رقم م ش5/7/2022/امن سيبراني

تاريخ دعوة العطاء :  10/5/2022

- ترغب القوات المسلحة الأردنية –الجيش العربي بطرح عطاء شراء اللوازم المبينة كمياتها ومواصفاتها في الملحق (أ) المرفق0

- شروط العطاء حسب الملاحق التالية :

- الملحق  (أ) والمبين به المواصفات الفنية والكميات والشروط الخاصة.

- الملحق (ب) الشروط العامة للدخول في العطاءات والتعاقد مع المتعهدين والموجودة على الموقع الالكتروني الخاص بمديرية المشتريات الدفاعية www.jafdop.mil.jo .

- ثمن النسخة ( 75 ) خمسة وسبعون دينار أردني.

- علـى المتعهديـن تسليـم المناقصـات قبـل الساعـة (1300 ) من ظهر يوم الخميس الموافق 2/6/2022 إلى سكرتير لجان الشراء مع ضرورة عزل العرض المالي عن العرض الفني ويرفق معه كفالة دخول عطاء بنسبة (3%) خمسة بالمئة من إجمالي قيمة أعلى عرض مقدم صالحة لمدة (120) يوما من تاريخ اغلاق العطاء ولا تقبل أية مناقصات ترد بعد هذا التاريخ مطلقاً.

- ملاحظات هامة:

- على الشركة الالتزام بختم دعوة العطاء بالختم الرسمي للشركة وارفاقها  بالعرض.

- تقدم الاستفسارات خلال النصف الأول من مدة طرح العطــــــــــــــــــــــــــــــــــــــاء.

- ارفاق نسخة الكترونية عن العرض الفني والمالي اضافة للنسخة الورقيـــــــــــــــة.

اسم الشركة أو المتعهــــد:

اسم المفوض عن الشركة:                                     العنـــــوان:

التوقيـــــــــع                                                      رقم الفاكس:

التاريـــــــــخ:                                                    رقم الهاتـف:

ص0 ب   :

الملحق (أ) لدعوة العطاء رقم م ش5/7/2022/امن سيبراني

المواصفات الفنية والكميات والشروط الخاصة:

- General Overview and Introduction:

The directorate of cyber security & Information Technology is planning to establish network operation center (NOC) for a private network in a military unit at Khaw /Zarqa region.

The dimensions of the hall will be used are (8m X 4m).

Detailed technical requirements have been specified in the concerned section of this document, and the bidder must adhere at all requirements.

The Bidder has the right to do the detailed site survey.

- Scope of work of the bidder:

(3x3) Video wall system.

Infrastructure including: network cabling, HDMI cabling, electrical works, & Grid from Aluminum tube to install screens (Because there is a prominent column in the wall).

Wooden frame for the video wall screens.

Devices including: All-in-one desktop, network switches, 3-in-1 printer, screen & interactive whiteboard.

Surveillance and access control systems.

Proposed design is attached at the concerned section of this document.

- Delivery (completion time):

The delivery of the project should be within 4 months, And the receipt will be done one time at the end of the project

- Documentation:

The bidder shall provide documentation containing as built drawing.

Page 1 of 6

- Technical Specification:

All requirements shall meet the following requirements:

| QTY | specifications | Item Min. | No. |
| --- | --- | --- | --- |
| Video wall system | 1 11 1 |
| 9 | video wall screen 55" ,4K, UHD, 0.9 mm bezel-bezel width, 24/7 working hours, display colors 16.7 M | Screen * | 1.1 |
| 9 | Dynamic (push-pull type).  Must be the same brand of screens | Wall mount bracket | 1.2 |
| 1 | 4K video wall processor (9 input HDMI / 9 output HDMI) | Processor | 1.3 |
| LOT. | Wooden frame to cover the space around the video wall screen (approximately area 4m2) | Wooden frame ** | 1.4 |
| 9 | HDMI cable 20m, support 4K | HDMI cable | 1.5 |
| 10 | HDMI cable 15m, support 4K | HDMI cable | 1.6 |
| 4 | HDMI cable 3m, support 4K | HDMI cable | 1.7 |
| 5 | HDMI cable 2m, support 4K | HDMI cable | 1.8 |
| Infrastructure | 2 |
| LOT. | Behind the video wall screens to install screens on it. Vertical: aluminum tube 10cmx10cm, Qty: 24 m. Horizontal: aluminum tube 8cmx4cm, Qty: 36 m. | Aluminum grid ** | 2.1 |
| 1 | UTP Patch panel 24 ports, Cat6, fully loaded, rack mounted | Patch panel | 2.2 |
| 1 | 42U, 19 “, 600x1000, glass front door, PDU 12 output, 4 fans, 3 shelfs | Data cabinet | 2.3 |
| 5 | Complete UTP dual Face plate with connector and all accessories, with external box | UTP face plates | 2.4 |
| 5 | HDMI wall plate, dual, 4K, with external box | HDMI outlet | 2.5 |
| 12 | Plastic trunk (2.5x3.8) cm (per m) | Plastic trunk | 2.6 |
| 12 | Plastic trunk (5 x 5) cm (per m) | Plastic trunk | 2.7 |
| 12 | Plastic trunk (10 x 5) cm (per m) | Plastic trunk | 2.8 |
| 2 | UTP Cat6 cable (box 305m) (per box) | UTP Cable | 2.9 |
| 20 | UTP Patch cord, Cat 6, 3m | UTP patch cord | 2.10 |
| 13 | Dual, MK with external box | power outlet | 2.11 |
| 250 | Dual, 1.5 mm (per m) | Power cable | 2.12 |
| 20 | Dual, 2.5 mm (per m) | Power cable | 2.13 |
| 5 | 16 A, one phase | Circuit breaker | 2.14 |
| 1 | 60 A, one phase | Circuit breaker | 2.15 |
| 1 | External, for 6 circuit breakers | Circuit breakers box | 2.16 |
| 5 | desk mounted, 3 MK outlet, MK plug | Power strip | 2.17 |

Page 2 of 6

| Network, desktop & peripherals | 3 |
| --- | --- |
| 3 | 2960-CX Switch 8 GE, uplinks: 2 x 1G SFP and 2 x 1G copper LAN Base | Cisco switch WSC2960CX-8TC-L | 3.1 |
| 3 3 | 19-Inch Rack Mounting Brackets for 3560-CX and 2960- CX compact switches | RCKMNT-19-CMPCT= | 3.1.1 |
| 9 | Core i7, 16 GB RAM, 1 TB HDD, 23”, HDMI output port, original windows 10 and Microsoft office installed, power cable MK plug | All-in-one desktop | 3.2 |
| 1 | Laser printer, monochrome, 3 in 1 (print, copy, scan), Up to 30 ppm (black), media sizes supported: A4; A5; B5 (JIS); A6, power cable MK plug | Printer | 3.3 |
| 1 | 80” with movable stand | interactive whiteboard | 3.4 |
| 5 5 | Cisco IP Phone 7841 | IP phone CP-7841-K9= | 3.5 |
| Surveillance and access control systems. | 4 |
| 1 1 | 8-ch, 80 Mbps , 2 TB H.D.D | NVR | 4.1 |
| 1 | Cisco SF352-08MP 8-port 10/100 Max-POE Managed Switch | Cisco switch SF352- 08MP-K9-UK | 4.2 |
| 2 | Indoor, Dome, 6MP, Lens: 6mm, Frame rate: 25 fps @ 2MP, WDR: yes , PoE | IP Camera | 4.3 |
| 1 | Outdoor, Bullet, 6 MP, Lens: 6mm, IR distance: 30m, 25 fps @ 2MP, WDR: yes , PoE | IP camera | 4.4 |
| 1 | LED 32", Wall bracket, HDMI cable 20m | Monitor | 4.5 |
| LOT. | Complete Access control system (door Lock, access control reader, release button, bypass key switch, software for attendance) | Face recognition Access control system | 4.6 |
| Abroad training | 5 |
| 3 persons | Understanding Cisco Cybersecurity Operations Fundamentals. (Instructor-led training). | CBROPS | 5.1 |

* The brand must be from screen types are mentioned in attached acceptable brands sheet.

* * It will be more clear after site survey.

Page 3 of 6

6.  Terms and conditions

1. Tender is one lot and indivisible.

2. Tender contains Supply, installation and integration of all items according to Directorate of Cyber security & information technology requirements in Zarqa region

3. Offer must include:

A. Technical proposal containing all detailed required specifications with specified Types and models.

B. Compliance sheet containing the requested and the offered specification referring to data sheets, the bidder is responsible for all data in this sheet, not submitting this paper gives the purchasing committee the right to reject the offer.

4. Abroad training:

A. shall Include (tickets, training fee, meals, transportation, full accommodation, visa … etc).

B. should be held via certified Training Center and certified trainer.

5. The bidder should adhere of all above specifications and conditions.

Page 4 of 6

Proposed design

Page 5 of 6

Page 6 of 6