Item No

Stock No

Stock Name

Quantity

Unit

1

17_1_01_002

Bags, Transporting Specimens (Blood, Urine, etc.)

1300000

Each

2

17_1_01_004

Bottle, Wash, Polyethylene Volume  250.0ml

50

Each

3

17_1_01_006

Bottle, Wash, Polyethylene Volume  500.0ml

80

Each

4

17_1_01_016

sharp safe container,rigid propylene , autoclavable & incinerable with high resistance to perforation . swing lid desing .~1-2 L capicity

8000

Each

5

17_1_01_018

Container, Specimen,  Volume  120ml

330000

Each

6

17_1_01_020

Cover Glass Size 22mm x 22 x 0.13-0.16mm Thick.

120000

Each

7

17_1_01_022

Cover Glass Size 24mm x 40 x 0.13-0.16mm Thick.

31000

Each

8

17_1_01_024

Cover Glass Size 24mm x 60 x 0.13-0.16mm Thick.

186000

Each

9

17_1_01_025

Microscope Cover Glass:size 24x50 mm(0.16 -0.19 mm Thickness)

100000

Each

10

17_1_01_034

Filter Paper  15.0cm G 1

35000

Each

11

17_1_01_038

Filter Paper 25.0cm G 1

35000

Each

12

17_1_01_042

Lancet, Disposable Sterile, Individually Packed,

100000

Each

13

17_1_01_044

Lens Cleaner Fluid or Spray

60

Each

Page 1 of 9

الملحق (ب) للعطاء رقم م ش ع 12/47/62/2025

المواصفات الفنية و الكميات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

14

17_1_01_050

Microscope Slides With Square Corner76 X 26 X 1mm,

50000

Each

15

17_1_01_066

Pads, Disp. Sat. With 70%  Alc.

250000

Each

16

17_1_01_068

Paper For Lenses  Size 155mm x  90mm,

10000

Each

17

17_1_01_070

Parafilm Size 10cm Width x 5 Meter

50

Each

18

17_1_01_080

Pipettes, Disp. Poly.  Capacity   30-36 Drops/ml.

800000

Each

19

17_1_01_082

Pipettes, Pasteur. 150mm Long.,Glass, Disp,

10000

Each

20

17_1_01_094

Test Tube Glass, Capacity  12mm x 75mm, Rimless, Round-Bottom. Siliconized For Coagulation Purposes

20000

Each

21

17_1_01_096

Test Tube Glass, Capacity 100mm x 16mm, Rimless, Round Bottom,

120000

Each

22

17_1_01_105

Test TubesPlastic, Capacity 12mm x  75mm, Rimless, Round-Bottom.

2000000

Each

23

17_1_01_106

Tips, Disp. Colour Blue, 100 - 1000 Microlitre

10000

Each

24

17_1_01_108

Tips, Disp. Colour White,  1 - 5ml

5000

Each

25

17_1_01_112

Tips, Disp. Colour Yellow, 5 -  100 Microlitre

500000

Each

26

17_1_01_138

Microhematocrit Capillary Tubes Plain,75mm Long,

170000

Each

27

17_1_01_142

Microhematocrit Capillary Tubes With Heparin 75mm

125000

Each

28

17_1_01_146

Capacity 5.0ml Screw Cap And Fixed Label On Tube

25000

Each

29

17_1_01_1461

test tube racks(50-100)round holes to fit tube capacity 5 ml

20

Rack

30

17_1_01_148

Weighing Boats (4cm*4cm) Capacity ( 5-10) ml

2000

Each

31

17_1_01_150

WEIGHING BOATS 8.5CM*8.5CM Capacity (25-50)ml

10000

Each

32

17_1_01_152

weighing boats Capacity  (100-200) ml

16000

Each

Page 2 of 9

الملحق (ب) للعطاء رقم م ش ع 12/47/62/2025

المواصفات الفنية و الكميات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

33

17_1_01_153

Thermal paper roll for sustem k1000 width58mm length25m-56/qm

4200

Each

34

17_1_01_154

Thermal paper for diagnostic st art 4width 110mm length25m

1000

Each

35

17_1_01_159

Eppendrof tube 1500 microleter-2000 microleter U shape

30000

Each

36

17_1_01_160

Counting champer

200

Each

37

17_2_01_002

Container, Specimen, Disp. Plastic Volume 2500 ml

2500

Each

38

17_3_01_004

Applicator,Sticks,Wooden, 150mm

200000

Each

39

17_3_01_024

Container, For Plasma, Hard Carton

15000

Each

40

17_4_01_004

Bleeding Time Device, 5mm Long & 1mm Deep

250

Each

41

17_4_01_024

Pipettes,  For Sedi-Plast With Na-Citrate Plastic

10000

Each

42

17_5_01_001

Accu Edge Microtome Blades Disp. For Tissue Tek Low profile

40000

Each

43

17_5_01_010

Filter Paper Sheets,Bench Top,Size 30cm x 40cm

30000

Each

44

17_5_01_014

Microscope Slides Ground Edge,76 X 26 X 1mm, Frosted end.

50000

Each

45

17_5_01_018

Slide Folder, Heavy Carton.For  3 Slides

100

Each

46

17_5_01_020

Slide Folder, Heavy Carton.For  5 Slides

120

Each

47

17_5_01_024

Slide Labels,Self-Adhesive White Size19mmx24mm

96000

Each

48

17_5_01_028

Tissue Embedding Cassettes Tek II,Colour Blue

15000

Each

49

17_5_01_032

Tissue Embedding Cassettes Tek II,Colour Green

21000

Each

50

17_5_01_034

Tissue Embedding CassettesTek II,Colour Orange

21000

Each

51

17_5_01_036

Tissue Embedding Cassettes Tek II,Colour Pink

21000

Each

Page 3 of 9

الملحق (ب) للعطاء رقم م ش ع 12/47/62/2025

المواصفات الفنية و الكميات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

52

17_5_01_040

Tissue Embedding Cassettes Tek II,Colour White

21000

Each

53

17_5_01_042

Tissue Embedding CassettesTek II,Colour Yellow

21000

Each

54

17_5_01_052

Disposable blades ,130 mm long .

200

Each

55

17_5_01_053

Handle for disposable blades , 260 mm long

4

Each

56

17_5_01_054

Disposable blades , 260 mm long .

320

Each

57

17_5_01_058

apron ( disposable ) plastic full length bib-type apron handy  protection in acompact envelope smooth finish size 28*46 (71cm*117cm )1.25ml thick

3000

Each

58

17_5_01_059

carrugated board storage file for blocks

160

Each

59

17_5_01_060

carrugated board storage file for slides

160

Each

60

17_5_01_064

protective biopsy pads

84000

Each

61

17_5_01_066

ULtrafrosted white color clean slide Approx (76*26*1 mm)

450000

Each

62

17_5_031_002

Disposable Cytofunnels, for Cytospin 3 Cytocentrifuge.

15000

Funnel

63

17_6_01_018

Plates Microsystem, 96 Wells Standard Size, Opticaly Clear

1800

Each

64

17_7_01_002

Applicator,Cotton Tip For Culture Specimens.

50000

Each

65

17_7_01_003

Applicator,Poly Fibre-Tip for Culture Specimens

80000

Each

66

17_7_01_006

Bags, Autoclavable, Size  70cm x 30cm

8000

Each

67

17_7_01_008

Bottle, Media,Glass Screw Cap Capacity 250.ml

20

Each

68

17_7_01_010

Bottle, Media,Glass Screw Cap Capacity  500ml

20

Each

69

17_7_01_012

Bottle, Media,Glass Screw Cap Capacity1000.ml

20

Each

Page 4 of 9

الملحق (ب) للعطاء رقم م ش ع 12/47/62/2025

المواصفات الفنية و الكميات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

70

17_7_01_016

Caps Aluminum Size 16mmx160mm,100mm Width-Blue

480

Each

71

17_7_01_018

Caps Aluminum Size16mm x 160mm,100mm Width-Golden.

1700

Each

72

17_7_01_020

Caps Aluminum Size 16mm x160mm,100mmWidth-Green.

1700

Each

73

17_7_01_022

Caps Aluminum Size16mm x160mm,100mm Width - Red

1700

Each

74

17_7_01_024

Caps Aluminum Size 16mm x160mm,100mm Width-Silver

500

Each

75

17_7_01_026

Caps Aluminum Size 16mm x160mm,100mm Width - Violet

1700

Each

76

17_7_01_028

Caps Aluminum Size 16mm x160mm,100mm Width - Yellow

1700

Each

77

17_7_01_030

Loop, Plastic  For Urine Culture Sterile & Disp, To Pick Up 1/1000ml Of Urine

200000

Each

78

17_7_01_034

Petri Dishes Plastic, Disp. 90x15mm.

200000

Each

79

17_7_01_042

Conical bottom polyprolylene clear,serile tube, capacity 110x30 volume 50 ML wuth screw cap

5600

Each

80

17_7_01_043

Conical flask Glass (2L) VOLUME

10

Each

81

17_7_01_044

Conical Flask Glass (1L) volume

15

Each

82

17_7_01_045

Conical Flask Glass (500 mL ) volume

10

Each

83

17_80_01_002

Grids: 300 mesh. Copper. Vials of 100 grids.

288

Each

84

17_80_01_004

Disposable Tri-Pour Beaker, Graduated, Stackable 50ml Volume.

360

Each

85

17_80_01_018

Dust-Off For Cleaning Purposes.

24

Each

86

17_80_01_065

Beam capsule Embedding Easy Mold ,(Tray and mold in one unit , Easy orientation of the specimen  containes not less than 10 blocks mold  per tray

192

Tray

Page 5 of 9

الملحق (ب) للعطاء رقم م ش ع 12/47/62/2025

المواصفات الفنية و الكميات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

87

17_80_01_068

Diamnd Knife For Ultra-Cut Microtome To Produce Ultra Thin Reaction For Electron Microscope

2

Each

88

17_80_01_069

tweezers for electron microscope extra fin tips superior finish length 4.25 (110 mm )

5

Each

89

17_8_01_002

Container for Urine  Samples, Capacity  ~25ml

500000

Each

90

17_8_01_003

Sterile Urine Container

165000

Each

91

17_8_01_006

Centrifuge Tube Volume 12.0ml Size 17 X 110mm

8000

Each

Page 6 of 9

الملحق (ب) للعطاء رقم م ش ع 12/47/62/2025

المواصفات الفنية و الكميات و الشروط الخاصة

شروط العطــــــــــــاء

شروط خاصــــــــــــة

1- Number of shipments will be decided by purchasing committee according to the
respective minimum guaranteed shelf life upon delivery/dispatch to be provided in the
original offers to establish delivery schedule accordingly. The DRMS with this respect
reserves the right to reject any item not in compliance with this term and impose the
correspondent fines.


2-Dispatched/Delivered good must show Description of goods , expiry date  ,Batch No.,
origin of goods ,manufacturing date and  any other necessary information on the inner
and outer packs. Where manufacturing date is not applicable then it should be provided on relative documents.


3-Goods should be dispatched/delivered under the same storage conditions that
comply with their nature, storage conditions must be mentioned clearly on all relative
documents and all packages.


4-All packages to be stamped or labelled with the following "Sold to RMS" Tender  P36-2025-LAB DISP " by Non -removable ink.


5-For offers submitted in Jordanian dinars payment will be either by wire transfer or by
cheque to be paid after reciving DOCUMENTS FROM MAIN MEDICAL STORES ,any
other way of payment will not be accepted and the offers will be rejected by the
purchase committee.


6-Goods should be previously evaluated and approved in DRMS or purchased by
"central procurement branch " or by " directorate of defence procurement " ,for the
previously evaluated & approved items the approve certificate and the previous
legalized purchases orders sholud be provided along with the offers.


7-Bidders must submit their reservation /queries regarding tender specificareqtions
and/or special term within the first half of the tender closing period starting from the

Page 7 of 9

الملحق (ب) للعطاء رقم م ش ع 12/47/62/2025

المواصفات الفنية و الكميات و الشروط الخاصة

tender announcement date . Reservation /queries submitted after the end of this period
shall be rejected.


8-All goods should retain at least the MSL specified in final order. Any item not
complying with this term upon receipt should be accompanied with a confirmation that
you accept to replace any remaining unused quantities at your expenses after the
expiry date. Said confirmation is subject to the approval of the director of the Royal
Medical Services and will incur a fine, which will be decided later by DRMS according
to the loss that this discrepancy with terms of the tender has caused.


9-All itemes must have FDA , TUV , or CE approval .


10-Products derived or containing materials of human origin should be supplied with a
certificate and/ or official document from the manufacturer stating that the products are
devoid of blood borne infectious agents :HbsAg, HIV, HCV, etc . items belonging to this
category to be specified in the original offer.


11-If any of the awarded items become expired due to technical fault of the machines ,
the items must then be replaced by the supplier/local agent within the period specified
in our written request ,considering the quantity we have available .


12- offers submitted by vendors with previously complaints or unsolved issues will be
excluded from the current tender.

13- The supplier or his local agents must furnish RMS a guarantee stamped and
legalized by the notary puplic to 115% of the goods valid for 1 year after acceptance of
each consignment.


14-Pricing must include services of sale ,shipment,transportation,delivery from port to
site or Main Medical Stores.


15- Custom clearance of goods shall be the responsibility of the Jordanian Armed
Forces (JAF), however, suppliers shall bear all costs incurred by handling charges and
any demurrage charges or extra expenses incurred by the port's corporation or QAIA
(including expenses caused by delay in presenting the necessary shipment documents
for either clearing or transporting the goods to the required location mentioned in the
final order, delivery note issuing charges, unloading charges, local shipping charges,

Page 8 of 9

الملحق (ب) للعطاء رقم م ش ع 12/47/62/2025

المواصفات الفنية و الكميات و الشروط الخاصة

الملحق (ب) للعطاء رقم م ش ع 12/47/62/2025

المواصفات الفنية و الكميات و الشروط الخاصة

etc. ) .The supplier is also responsible for providing of all relevant shipping
documents ,together with the delivery order(s).


16- Any additional (Free of charge) quantities offered by the bidders will be taken into
consideration when calculating the unit price of the required item.


17-The estimated price for any (FOC) goods should be stated.

Page 9 of 9