Item No

Stock No

Stock Name

Quantity

Unit

1

09_10_011_031

BCR/ABL REAL TIME KIT QUANTITATIVE COMPLETE KIT INCLUDES RNA EXTRACTION,AMPLIFICATION,DETECTION ON REAL TIME PCR SYSTEM.USE TO MONITOR EFFICIENCY OF TREATMENT ,MRD FOLLOW UP,TO DO AT LEAST 50TEST

800

Test

2

09_10_011_041

jak-2 kit for qualitative detection of the V617F mutation of the JAK-2 gene in myeloprolifrative by a real time PCR

744

Test

3

09_10_031_048

absoalt ethanol molecular bioligy grade

1

Ltr

4

09_10_035_002

Qubit dsDNA HS Assay kit (500 assays)

1

Kit

5

09_10_042_054

Chimerism Genotype (pre-Transplant)by Real Time Quantitative PCR(1 KIT/12CASE)

4

Kit

6

09_10_042_055

Chimerism Monitoring (Post-Transplant)by Real Time Quantitative PCR(1KIT/48 CASE)

3

Kit

7

09_10_051_001

Agilent DNA high sensitivity kit (10 chips and 11 sample per chip)

8

Kit

8

09_10_063_001

Kingfisher DUO Elution strip case of 40

5

Box

9

09_10_063_002

kingfisher DUO 12-TIP CASE OF 50

3

Box

Page 1 of 5

الملحق (ب) للعطاء رقم م ش ع 12/49/63/2025

المواصفات الفنية و الكميات و الشروط الخاصة

Item No

Stock No

Stock Name

Quantity

Unit

10

09_10_063_004

magmax DNA multi-sample ultra 2.0 (1kit/100 TEST)

6

Kit

11

09_10_063_005

Deep Well  96 plate 50 pcs for king fisher duo prime

3

Box

الملحق (ب) للعطاء رقم م ش ع 12/48/64/2025

المواصفات الفنية و الكميات و الشروط الخاصة

Page 2 of 5

شروط العطــــــــــــاء

شروط خاصــــــــــــة

1- Number of shipments will be decided by purchasing committee according to the
respective minimum guaranteed shelf life upon delivery/dispatch to be provided in the original offers to establish delivery schedule accordingly. The DRMS with this respect reserves the right to reject any item not in compliance with this term and impose the correspondent fines.

2-Dispatched/Delivered good must show Description of goods , expiry date  ,Batch No.,origin of goods ,manufacturing date and  any other necessary information on the inner and outer packs. Where manufacturing date is not applicable then it should be
provided on relative documents.

3-Goods should be dispatched/delivered under the same storage conditions that
comply with their nature, storage conditions must be mentioned clearly on all relative
documents and all packages.

4-All packages to be stamped or labelled with the following "Sold to RMS" Tender  P37-2025-FO. " by Non -removable ink.

5-For offers submitted in Jordanian dinars payment will be either by wire transfer or by cheque to be paid after reciving DOCUMENTS FROM MAIN MEDICAL STORES ,any other way of payment will not be accepted and the offers will be rejected by the
purchase committee.

6-Goods should be previously evaluated and approved in DRMS or purchased by
"central procurement branch " or by " directorate of defence procurement " ,for the
previously evaluated & approved items the approve certificate and the previous
legalized purchases orders sholud be provided along with the offers.

7-Bidders must submit their reservation /queries regarding tender specificareqtions
and/or special term within the first half of the tender closing period starting from the tender announcement date . Reservation /queries submitted after the end of this period shall be rejected.

Page 3 of 5

الملحق (ب) للعطاء رقم م ش ع 12/48/64/2025

المواصفات الفنية و الكميات و الشروط الخاصة

الملحق (ب) للعطاء رقم م ش ع 12/48/64/2025

المواصفات الفنية و الكميات و الشروط الخاصة

8-All goods should retain at least the MSL specified in final order. Any item not
complying with this term upon receipt should be accompanied with a confirmation that you accept to replace any remaining unused quantities at your expenses after the expiry date. Said confirmation is subject to the approval of the director of the Royal Medical Services and will incur a fine, which will be decided later by DRMS according to the loss that this discrepancy with terms of the tender has caused.

9-All itemes must have FDA , TUV , or CE approval .

10-Products derived or containing materials of human origin should be supplied with a certificate and/ or official document from the manufacturer stating that the products are devoid of blood borne infectious agents :HbsAg, HIV, HCV, etc . items belonging to this category to be specified in the original offer.

11-If any of the awarded items become expired due to technical fault of the machines ,
the items must then be replaced by the supplier/local agent within4 weeks from our
written request ,considering the quantity we have available .

12- offers submitted by vendors with previously complaints or unsolved issues will be
excluded from the current tender.

13- The supplier or his local agents must furnish RMS a guarantee stamped and
legalized by the notary puplic to 115% of the goods valid for 1 year after acceptance of each consignment.

14- Any additional (Free of charge) quantities offered by the bidders will be taken into consideration when calculating the unit price of the required item.

15-Items 1,2,5 and 6 External quality control program must be supplied with the
original material

16- Any additional (Free of charge) quantities offered by the bidders will be taken into consideration when calculating the unit price of the required item.

Page 4 of 5

الملحق (ب) للعطاء رقم م ش ع 12/48/64/2025

المواصفات الفنية و الكميات و الشروط الخاصة

17-The estimated price for any (FOC) goods should be stated..


18-All items to be delivered to military cancer center lab


19- for item (2) including all necessery reagent for performing the test according to the manufactures recomindation which is not provided by the kit .


20- Financial cost related to research and puplication  purposes for one of the test
should be paid by the company awarded the tender

Page 5 of 5