أ. كشف المواد والكميات المطلوبة:

| A. Passive component |  |  |  |
| --- | --- | --- | --- |
| NO | Item | Description | QTY |
|  | Communication cabinet | CABINET/6U including cooling fan,1 set of 6 way PDU | 20 |
|  | Communication cabinet | CABINET/9U including cooling fan,1 set of 6 way PDU | 10 |
|  | fiber patch cord | FIBER PATCH CORD/SM 2SC-2LC 3M | 50 |
|  | fiber patch cord | FIBER PATCH CORD/SM 2SC-2LC 1M | 50 |
|  | fiber patch cord | FIBER PATCH CORD/SM 2SC-2SC 3M | 50 |
|  | fiber patch cord | FIBER PATCH CORD/SM 2SC-2SC 1M | 50 |
|  | fiber patch cord | FIBER PATCH CORD/MM 2SC-2LC 3M | 50 |
|  | Fiber optic joint | Joint fiber capacity 12 core, used for Arial installation, shall have as few parts as possible, shall be made of plastic, gasket seal | 15 |
|  | Fiber optic joint | Joint fiber capacity 24 core, used for Arial installation, shall have as few parts as possible, shall be made of plastic, gasket seal | 15 |
|  | Fiber optic joint | Joint fiber capacity 48core, used for manhole installation, shall have as few parts as possible, shall be made of plastic, gasket seal | 10 |
|  | optical distribution frames (ODF) | ODF 12 CORES/SC SM FULLY LOADED with SC adapters and pigtails, rack mounted | 24 |
|  | optical distribution frames (ODF) | ODF 24 CORES/SC SM FULLY LOADED with SC adapters and pigtails, rack mounted | 26 |
|  | UTP Patch Panel | UTP Patch panel 24 ports, Cat6, fully loaded, rack mounted | 20 |
|  | UTP Patch Panel | UTP Patch panel 48 ports, Cat6, fully loaded, rack mounted | 5 |
|  | UTP Cable | UTP Cat6 (box 305m) (per box) | 40 |
|  | UTP Patch cord | UTP Patch cord, Cat 6, 3m | 150 |
|  | Single face plates | Complete single Face plate with connector and all accessories, with external electrical box | 300 |
|  | dual face plates | Complete Dual Face plate with connector and all accessories, with external electrical box | 200 |
|  | Fiber protection sleeve | Fiber protection sleeve 40mm | 1000 |
|  | Trunk | plastic trunk, 1.6 *1.6 (per m) | 750 |
|  | Fiber optic cable SM Arial | 12 core, SM, 9/125, Arial, two steel-wire strength member (Drum 2000m) compact drum | 2 |
|  | Fiber optic cable SM Arial | 24 core, SM, 9/125, Arial, two steel-wire strength member (Drum 2000m) compact drum | 1 |
|  | Fiber optic cable MM Arial | 12 core, MM, 9/125, Arial, two steel-wire strength member (Drum 2000m) compact drum | 2 |
|  | RJ45 cat6 plug | RJ45 cat6 plug | 5000 |
| B. Active component |  |  |  |
|  | C8200L-1N-4T | Cisco Catalyst 8200L with 1-NIM slot and 4x1G WAN ports | 16 |
|  | C8200-RM-19 | Cisco C8200 1RU Edge Platform - Rack Mount kit - 19" | 16 |
|  | NIM-2MFT-T1/E1 | 2 port Multiflex Trunk Voice/Clear-channel Data T1/E1 Module | 6 |
|  | NIM-1MFT-T1/E1 | 1 port Multiflex Trunk Voice/Clear-channel Data T1/E1 Module | 16 |
|  | C1300-8T-E-2G | CATALYST 1300 8 port GE , Ext Ps , 2x1G Combo | 30 |
|  | C1300-8FP-2G | CATALYST 1300 8 port GE, Full POE, 2x1G Combo | 15 |
|  | Cisco 1GLC-SX-MMD= | 1000BASE-SX short wavelength; with DOM | 14 |
|  | Cisco GLC-LH-SMD | Cisco GLC-LH-SMD 1000BASE-LX/LH SFP transceiver module, MMF/SMF, 1310nm, DOM | 26 |
|  | C9500-Y4C-E | Cisco Catalyst 9500 Series high performance 24-port 1/10/25G | 2 |
|  | Media Converter 10/100/1000 SM | 10/100/1000BASE-T Gigabit Twisted-pair to 1000BASE-TGigabit Fiber 1310nm Single-mode Fiber (10 km) | 20 |
|  | Media Converter 10/100/1000 MM | 10/100/1000BASE-T Gigabit Twisted-pair to 1000BASE-TGigabit Fiber Multi-mode Fiber | 20 |
| C. Abroad Courses |  |  |  |
|  | ENWLSD | Designing Cisco Enterprise Wireless Networks (Instructor-led training, 5 working day). | 4 Persons |

ب الشروط الخاصة:

- على الشركات بيان مدة التسليم بشكل واضح في العرض الفني والمالي المقدم من قبلها.

- العطاء غير قابل للتجزئة.

- العطاء غير شامل التركيب والتشغيل.

- يتم تسليم المواد في مستودعات مديرية الأمن السيبراني وتكنولوجيا المعلومات.

- الدورات يجب أن تعقد حسب معايير (Cisco  standard)  من خلال مركز ومدرب معتمدين من شركة سيسكو  (Cisco  certified)

- الدورات شاملة كافة التكاليف من إقامة، تذاكر، تنقل، رسوم الدورة، التأشيرات، تأمين صحي بالدولة مكان انعقاد الدورة وكل ما يلزم.

- احضار شهادة في ما يخص مواد شركة (Cisco) تثبت أن جميع المواد التي تم شراؤها في هذا العطاء هي مواد أصلية.

- تلتزم الشركة بوضع (label) على جميع أجهزة وقطع الجزء (B) وهو جزء الــ (Active component) يحتوي على اسم الشركة ورقم قرار الاحالة وتاريخ التوريد.

- تلتزم الشركة بتزويد مديرية الأمن السيبراني وتكنولوجيا المعلومات بكشف بالأرقام المتسلسلة (Serial numbers) للمواد الواردة في الجزء (B) وهو جزء الــ (Active component).

- يجب الالتزام بكافة محتويات المواصفات والشروط.

- العرض يجب ان يشمل ورقة مطابقة على شكل جدول يحتوي المواصفات المطلوبة والمواصفات المقدمة من الشركة وبالإشارة الى الكتالوج الفني، عدم تقديم هذه الورقة يعطي الحق للجنة الشراء برفض العرض وتكون الشركة مسؤولة عن جميع المعلومات داخلها.